## Sheet2
Attachment B: Price Sheet
RFx #3000022143, Emergency PPE Items
Line Item # | Item Description | Unit of Measurement | Estimated Quantity | Unit Price | Delivery Time
GROUP 1: Lines 1-8
1 | Non-Surgical Gowns Full Back Made of polypropylene Long sleeves with Elastic Cuffs Neck and Waist Ties Unisex/Unisize Single Use Gowns not to be made with Natural Rubber Latex Shall conform to ASTM F2407 and ANSI/AAMI PB70 Level 3. This is standard due to mechanical risks. Brand Bidding: _________________________________________ Model/Item Number Bidding: __________________________________ State Packaging:____________________________________________ | Each | 1
2 | Level 2 Surgical Isolation Gowns Non Sterile Low Fluid Resistant Unisex/Unisize Full Back Long Sleeves with Elastic Cuffs Neck and Waist Ties Single Use Shall be at least a Level 2 (Level 2 is low risk, to be used,( for example), during blood draw, suturing, in the Intensive Care Unit (ICU), or a pathology lab) isolation gown, spray impact penetration <1.0g hydrostatic pressure >20cm. (moderate risk setting- Med/Surg) medium weight fabric (20-30 grams) The gowns will be in used in low to moderate risk areas for fluid exposures *Medical Staff will be providing support listed below with a low/moderate risk of exposure, with gowns providing protection for at least a Level 2: • Patients that are a risk for transmitting an infectious disease through exposure of bodily fluids; • Transporting patients; • Basic patient treatment; • Inserting IV lines Brand Bidding: _________________________________________ Model/Item Number Bidding: __________________________________ State Packaging:____________________________________________ | Each | 1
3 | Level 3 (Moderate Risk Scenarios i.e. Blood Draws) Surgical Isolation Gowns Sterile Unisex/Unisize Full Back Long Sleeves with Elastic Cuffs Neck and Waist Ties Single Use Examples of use include various medical operations during the response. The gown shall meet the highest specifications of work that will be supported by ESF-8 (Emergency Support Function that provides the mechanism for coordinated assistance for Federal, State and local resources) in a state declared emergency, and that are the medical care/procedures provided by a Tier one Hospital. (Tier one hospital is one that has an emergency room). Sterile gowns will be necessary for performing invasive procedures, such as inserting a central line. Brand Bidding: _________________________________________ Model/Item Number Bidding: __________________________________ State Packaging:____________________________________________ | Each | 1
4 | Coverall Size: Medium Ankle Style: Elastic Closure Type: Zip Front Cuff Style: Elastic Disposable Neck Style: Hooded Seam Type: Serged Color: White Brand Bidding: _________________________________________ Model/Item Number Bidding: __________________________________ State Packaging:____________________________________________ | Each | 1
5 | Coverall Size: Large Height: 5.8 to 6.2 ft Ankle Style: Elastic Closure Type: Zip Front Cuff Style: Elastic Disposable Neck Style: Hooded Seam Type: Serged Color: White Brand Bidding: _________________________________________ Model/Item Number Bidding: __________________________________ State Packaging:____________________________________________ | Each | 1
6 | Coverall Size: X-Large Height: 5.8 to 6.2 ft Ankle Style: Elastic Closure Type: Zip Front Cuff Style: Elastic Disposable Neck Style: Hooded Seam Type: Serged Color: White Brand Bidding: _________________________________________ Model/Item Number Bidding: __________________________________ State Packaging:____________________________________________ | Each | 1
7 | Coverall Size: 2X-Large Height: 5.8 to 6.2 ft Ankle Style: Elastic Closure Type: Zip Front Cuff Style: Elastic Disposable Neck Style: Hooded Seam Type: Serged Color: White Brand Bidding: _________________________________________ Model/Item Number Bidding: __________________________________ State Packaging:____________________________________________ | Each | 1
8 | Medical Booties Shoe Covers, Non Slip, Single Use, Disposable, Hygienic, Skid Resistant Protection from Germs and Contamination, Elastic One Size Fits All Brand Bidding: _________________________________________ Model/Item Number Bidding: __________________________________ State Packaging:____________________________________________ | Each | 1
GROUP 2: Lines 9-11
9 | Surgical Ear Loop Masks Melt Blown (a manufacturing process that is used for creating a type of fabric called non-woven fabric which is made from polymers such as polypropylene) Non -Woven Fabric Mask, masks with three layers of protection Latex Free, Fluid Resistant, Perfect Fitting and High Breathability The disposable masks are to include elastic ear loops and be packed in a zipper package Mask shall include metal in the nose position for a better fit. Extra Soft for maximum comfort Single Use FDA approved/certified Shall be at least a Level 2 protection (moderate risk setting- Med/Surg) Regardless of how the product is named, the product labeling shall describe the intended use with the desired level of protection based on the above risk levels. Product names shall not be standardized. The mask will be in used in low to moderate risk areas for fluid exposures. * Medical Staff will be providing support listed below with a low/moderate risk of exposure with Personal Protective Equipment Items (PPE) providing protection for at least a Level 2: o Patients that are a risk for transmitting an infectious disease through exposure of bodily fluids; o Transporting patients; o Basic patient treatment Brand Bidding: _________________________________________ Model/Item Number Bidding: __________________________________ State Packaging:____________________________________________ | Each | 1
10 | N95 Particulate Respirator Mask To include two polyurethane headbands that secure the mask to the face to help ensure a tight facial seal and prevent leakage around the mask edges. It shall be rated N95, demonstrating that it provides a minimum of 95% filtration efficiency of 0.3 micron particles (though it is not oil-resistant). Mask to be rated as ASTM Level 3-4 fluid protection (for heavy fluid protection). Provides a minimum of 95% filtration efficiency of 0.3 micron particles Made with a fluid-resistant layer and a combination of materials to resist fluid penetration. ASTM F2 101 Standard Test Method for evaluating the Bacterial Filtration Efficiency (BFE) of Medical Face Mask Materials. Large, pouch-style breathing chamber and lining for added comfort FDA approved/certified Brand Bidding: _________________________________________ Model/Item Number Bidding: __________________________________ State Packaging:____________________________________________ | Each | 1
11 | Medical Face Shields Medical Face Shield shall provide face and eye protection from splashes and sprays. It should wrap around the face to the point of the ear, which reduces the likelihood that a splash could go around the edge of the shield and reach the eyes. Face shields are to have visors treated for anti-glare, anti-static, and anti-fogging properties. For improved protection from infectious agents, face shields should be, at a minimum, full face length with outer edges of the face shield to include chin and forehead protectors, and should cover the forehead. Disposable one-piece face/neck length face shield visor assembly with foam forehead cushion and elastic strap. Vendor shall provide with bid a certificate confirming that visors are treated for anti-glare, anti-static, and anti-fogging properties. (i.e. letter from officer of the company) The forehead cushions should be of sufficient dimensions to ensure that there is adequate space between the wearer's face and the inner surface of the visor to allow for the use of ancillary equipment (medical/surgical mask, respirator, eyewear, etc.). Brand Bidding: _________________________________________ Model/Item Number Bidding: __________________________________ State Packaging:____________________________________________ | Each | 1
GROUP 3: Lines 12-16
12 | Hand Sanitizer Shall be a gel sanitizer and alcohol based minimum 60% ethanol or 70% isopropanol Size: 1 oz. Brand Bidding: _________________________________________ Model/Item Number Bidding: __________________________________ State Packaging:____________________________________________ | Each | 1
13 | Hand Sanitizer Shall be a gel sanitizer and alcohol based minimum 60% ethanol or 70% isopropanol Size: 4 oz. Brand Bidding: _________________________________________ Model/Item Number Bidding: __________________________________ State Packaging:____________________________________________ | Each | 1
14 | Hand Sanitizer Shall be a gel sanitizer and alcohol based minimum 60% ethanol or 70% isopropanol Size: 8 oz. Brand Bidding: _________________________________________ Model/Item Number Bidding: __________________________________ State Packaging:____________________________________________ | Each | 1
15 | Hand Sanitizer Shall be a gel sanitizer and alcohol based minimum 60% ethanol or 70% isopropanol Size: 12 oz. Brand Bidding: _________________________________________ Model/Item Number Bidding: __________________________________ State Packaging:____________________________________________ | Each | 1
16 | Hand Sanitizer Shall be a gel sanitizer and alcohol based minimum 60% ethanol or 70% isopropanol Size: Half Gallon Brand Bidding: _________________________________________ Model/Item Number Bidding: __________________________________ State Packaging:____________________________________________ | Each | 1
GROUP 4: Lines 17-20
17 | Disposable Nitrile Gloves - Size Small Latex Free Powder Free Beaded Cuff Ambidextrous Puncture and chemical resistant Polymer coating that shall make the gloves easy to slide on and off Glove shall form to hand with penetration of body heat FDA approved/certified ASTM D6319-19 standard specification for Nitrile examination gloves for medical application Non-sterile Single Use The gloves will be in used in high risk areas for fluid exposures. Examples of these areas are as follows: Emergency Rooms; Medical care units/areas; Intensive Care Units; COVID-19 Isolation Areas; Burn Units. *Medical Staff will be providing support listed below with a high risk of exposure at a level 3-4: • Patients that are a risk for transmitting an infectious disease through exposure of bodily fluids • Transporting patients • Basic to advanced patient treatment; (Example: Suturing) • Inserting IV lines; • Drawing arterial blood Minimum 100 gloves/box Brand Bidding: _________________________________________ Model/Item Number Bidding: __________________________________ State Packaging:____________________________________________ | Box | 2
18 | Disposable Nitrile Gloves - Size Medium Latex Free Powder Free Beaded Cuff Ambidextrous Puncture and chemical resistant Polymer coating that shall make the gloves easy to slide on and off Glove shall form to hand with penetration of body heat FDA approved/certified ASTM D6319-19 standard specification for Nitrile examination gloves for medical application Non-sterile Single Use The gloves will be in used in high risk areas for fluid exposures. Examples of these areas are as follows: Emergency Rooms; Medical care units/areas; Intensive Care Units; COVID-19 Isolation Areas; Burn Units. * Medical Staff will be providing support listed below with a high risk of exposure at a level 3-4: • Patients that are a risk for transmitting an infectious disease through exposure of bodily fluids • Transporting patients • Basic to advanced patient treatment; (Example: Suturing) • Inserting IV lines; • drawing arterial blood Minimum 100 gloves/box Brand Bidding: _________________________________________ Model/Item Number Bidding: __________________________________ State Packaging:____________________________________________ | Box | 9
19 | Disposable Nitrile Gloves - Size Large Latex Free Powder Free Beaded Cuff Ambidextrous Puncture and chemical resistant Polymer coating that shall make the gloves easy to slide on and off Glove shall form to hand with penetration of body heat FDA approved/certified ASTM D6319-19 standard specification for Nitrile examination gloves for medical application Non-sterile Single Use The gloves will be in used in high risk areas for fluid exposures. Examples of these areas are as follows: Emergency Rooms; Medical care units/areas; Intensive Care Units; COVID-19 Isolation Areas; Burn Units. * Medical Staff will be providing support listed below with a high risk of exposure at a level 3-4: • Patients that are a risk for transmitting an infectious disease through exposure of bodily fluids • Transporting patients • Basic to advanced patient treatment; (Example: Suturing) • Inserting IV lines; • Drawing arterial blood Minimum 100 gloves/box Brand Bidding: _________________________________________ Model/Item Number Bidding: __________________________________ State Packaging:____________________________________________ | Box | 26
20 | Disposable Nitrile Gloves - Size X-Large Latex Free Powder Free Beaded Cuff Ambidextrous Puncture and chemical resistant Polymer coating that shall make the gloves easy to slide on and off Glove shall form to hand with penetration of body heat FDA approved/certified ASTM D6319-19 standard specification for Nitrile examination gloves for medical application Non-sterile Single Use The gloves will be in used in high risk areas for fluid exposures. Examples of these areas are as follows: Emergency Rooms; Medical care units/areas; Intensive Care Units; COVID-19 Isolation Areas; Burn Units. * Medical Staff will be providing support listed below with a high risk of exposure at a level 3-4: • Patients that are a risk for transmitting an infectious disease through exposure of bodily fluids • Transporting patients • Basic to advanced patient treatment; (Example: Suturing) • Inserting IV lines; • Drawing arterial blood Minimum 100 gloves/box Brand Bidding: _________________________________________ Model/Item Number Bidding: __________________________________ State Packaging:____________________________________________ | Box | 32