February 26, 2024

**ADDENDUM NO. 01**

Your reference is directed to RFx Number 3000022571 for the Invitation to Bid (ITB) for the State of Louisiana – Titrator Lab Equipment & Software - LDH, which is currently scheduled to open at 10:00 AM CT on March 12, 2024.

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

**Questions from the Vendor and State’s Responses:**

**Vendor Question 1.** How are you currently running your analysis?

***State’s Response: B****y Mettler-Toledo T-70*

**Vendor Question 2.** What is your application?

***State’s Response:*** *EPA Method 150.1*

**Vendor Question 3.** What is your sample?

***State’s Response:*** *Drinking Water*

**Vendor Question 4.** What titrants will you be using?

***State’s Response:*** *Not applicable*

**Vendor Question 5.** What is your goal for this titration?

***State’s Response:*** *Not applicable*

**Vendor Question 6.** Are you using an autotitrator?

***State’s Response:*** *Not applicable*

**Vendor Question 7.** What model and what accessories are you using (solvents, pumps, dosing units, burettes, and sensors)?

***State’s Response:*** *DGi111-SC probe, Mettler Toledo Compact stirrer, and Rondo autosampler*

**Vendor Question 8.** How frequently will you be running samples?

***State’s Response:*** *Daily*

**Vendor Question 9.** Will you need an autosampler?

***State’s Response:*** *No*

**Vendor Question 10.** Will need a balance to weigh out samples?

***State’s Response:*** *No*

**Vendor Question 11.** Will you need this system to be qualified (installation, operation, and performance qualifications)?

***State’s Response:*** *Yes*

**Vendor Question 12.** Would you like preventative maintenance pricing?

***State’s Response:*** *Not at this time*

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

All else remains as on original Invitation to Bid.

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

**This addendum is hereby officially made a part of the referenced SOLICITATION.**

**ACKNOWLEDGEMENT:** If you have already submitted your bid and this Addendum does not cause you to revise your bid, you should acknowledge receipt of this Addendum by identifying your business name and by signing where indicated. You may return this Acknowledgement by mail or delivery by hand or courier to: Office of State Procurement, 1201 N. 3rd Street, Ste. 2-160, Baton Rouge, LA 70802, or by fax to: (225) 342-9756. The State reserves the right to request a completed Acknowledgement at any time. Failure to execute an Acknowledgement shall not relieve the bidder from complying with the terms of its bid.

Addendum Acknowledged/No changes:

For: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ By: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**REVISION:** If you have already submitted your bid and this Addendum requires you to revise your bid, you must indicate any change(s) below, identify your business name and sign where shown. Revisions shall be delivered prior to bid opening by mail or delivery by hand or courier to: Office of State Procurement, 1201 N. 3rd Street, Ste. 2-160, Baton Rouge, LA 70802, or by fax to: (225) 342-9756, and indicate the RFx number and the bid opening date and time on the outside of the envelope for proper identification, or by fax to: (225) 342-9756. Electronic transmissions other than by fax are not being accepted at this time

**Revisions received after bid opening shall not be considered and you shall be held to your original bid.**

Revision:

For: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ By: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

By: Clarett Blount

 Office of State Procurement

 Telephone No. 225-342-8044

 Email: Clarett.Blount@la.gov