**Scope of Work:**

Contractor shall provide all labor and materials in order to replace two broken power poles, install a new transformer and new power lines, and reconnect to main switches on main lines at corner of HWY 8 and South 10th street in Leesville, La for the Louisiana Department of Health (LDH).

**Location:**

Louisiana Department of Health (LDH)

Pinecrest Development Center

Leesville State School

451 Nolan Trace

Leesville, La. 71446

**Specifications**:

-Contractor shall supply and replace two broken power poles with new 45’ high line poles.

-Contractor shall straighten existing power poles.

-Contractor shall supply and install eight new cross arms two new poles and two current poles.

-Contractor shall supply and install approximately 400’of new one ought (1/0) conductor aluminum wire to all eight newly installed cross arms.

-Contractor shall retighten all existing wire, approximately 600’.

-Contractor shall trim all tree branches intruding on power lines at least 10’ of either side of lines.

-Contractor shall provide new and replace existing 50k VA transformer on new pole at corner of South 10th Street and West Lula Street.

-Contractor shall reconnect secondary triplex back to newly installed 50K VA transformer to feed building at corner of South 10th Street and West Lula Street.

-Contractor shall clean up and dispose of any and all debris associated with this job.

Mandatory job site visit required. Contact Facility Maintenance Manager Glennen Jones to get date and time for visit.

Glennen Jones at 318-641-2286 / 318-641-2288