3/07/2024

**ADDENDUM NO. 01**

Your reference is directed to RFx Number 3000022600 for the Invitation to Bid for the State of Louisiana – Repair Water Damage - DMA, which is currently scheduled to open at 10:00 AM CT on 3/20/2024

The following change(s) is (are) to be made to the referenced solicitation:

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

**Page 1, Specifications point 1 of Attachment C – Specifications currently reads:**

* Contractor shall remove approximately 545 square feet of existing damaged laminate wood flooring, approximately 175 linear feet of base shoe molding, and approximately 78 linear feet of 2 1/4” baseboard.

**Page 1, Specifications point 1 of Attachment C – Specifications changed to read:**

* Contractor shall remove approximately 545 square feet of existing damaged laminate wood flooring, approximately 175 linear feet of base shoe molding, and approximately 70 linear feet of 1” x 6” baseboard, approximately 17 linear feet of 1” x 4” baseboard.

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

**Page 1, Specifications point 2 of Attachment C – Specifications currently reads:**

* Contractor shall remove and replace approximately 175 square feet of ½” drywall to include hung, taped, floated, ready for paint.

**Page 1, Specifications point 2 of Attachment C – Specifications changed to read:**

* Contractor shall remove and replace approximately 200 square feet of ½” drywall to include hung, taped, floated, ready for paint.

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

**Page 1, Specifications point 7 of Attachment C – Specifications currently reads:**

* Contractor shall install approximately 78 linear feet of 2 ¼” baseboard.

**Page 1, Specifications point 7 of Attachment C – Specifications changed to read:**

* Contractor shall install approximately 70 linear feet of 1” x 6” baseboard.
* Contractor shall install approximately 17 linear feet of 1” x 4” baseboard.

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

All else remains as on original bid.

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

**This addendum is hereby officially made a part of the referenced SOLICITATION.**

**ACKNOWLEDGEMENT:** If you have already submitted your bid and this Addendum does not cause you to revise your bid, you should acknowledge receipt of this Addendum by identifying your business name and by signing where indicated. You may return this Acknowledgement by mail, by hand delivery or by courier to: Office of State Procurement, 1201 N. 3rd Street, Claiborne Building -Ste. 2-160, Baton Rouge, LA 70802, or by fax to: (225) 342-9756. The State reserves the right to request a completed Acknowledgement at any time. Failure to execute an Acknowledgement shall not relieve the bidder from complying with the terms of its bid.

Addendum Acknowledged/No changes:

For: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ By: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**REVISION:** If you have already submitted your bid and this Addendum requires you to revise your bid, you must indicate any change(s) below, identify your business name and sign where shown. Revisions shall be delivered prior to bid opening by mail, by hand delivery or by courier to: Office of State Procurement, 1201 N. 3rd Street, Claiborne Building -Ste. 2-160, Baton Rouge, LA 70802, and indicate the RFx number and the bid opening date and time on the outside of the envelope for proper identification, or by fax to: (225) 342-9756. Electronic transmissions other than by fax are not being accepted at this time

**Revisions received after bid opening shall not be considered and you shall be held to your original bid.**

Revision:

For: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ By: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

By: Adam Cox
 Office of State Procurement
 Telephone No. 225-219-4207
 Email: adam.cox@la.gov