May 8, 2024

**ADDENDUM NO. 01**

Your reference is directed to RFx Number 3000022898 for the Invitation to Bid (ITB) for the State of Louisiana – Install Drainage Pipe - DMA which is currently scheduled to open at 10:00 AM (CT) on May 15, 2024.

The following changes are to be made to the referenced solicitation:

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

**Attachment C – Specifications Page 1 I. Description of Work point 1. currently states:**

* 1. Contractor shall provide all labor, commercial grade materials, tools, and equipment necessary to install approximately 272 feet of 8” smooth flow pipe with 8 (each) 16 inch x 16 inch catch basins at the Marksville Readiness Center located at 510 West Waddil Street, Marksville, La. 71351. All measurements in this scope of work are approximate and shall be verified by the contractor. Contractor shall be responsible for providing any lifting capability to complete all new installations and repairs.

**Attachment C – Specifications Page 1 I. Description of Work point 1. changed to read:**

1. Contractor shall provide all labor, commercial grade materials, tools, and equipment necessary to install approximately 272 feet of 8” smooth flow pipe with 8 (each) 16”x 16” or 18” x 18” catch basins at the Marksville Readiness Center located at 510 West Waddil Street, Marksville, La. 71351. All measurements in this scope of work are approximate and shall be verified by the contractor. Contractor shall be responsible for providing any lifting capability to complete all new installations and repairs.

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

**Attachment C – Specifications Page 1, Specifications of material currently states:**

8 Composite Plastic Catch basins 16”x16”

**Attachment C – Specifications Page 1, Specifications of material changed to read:**

8 Composite Plastic Catch basins 16”x16” or 18”x18”

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

All else remains as on original Invitation to Bid.

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

**This addendum is hereby officially made a part of the referenced SOLICITATION.**

**ACKNOWLEDGEMENT:** If you have already submitted your bid and this Addendum does not cause you to revise your bid, you should acknowledge receipt of this Addendum by identifying your business name and by signing where indicated. You may return this Acknowledgement by mail or delivery by hand or courier to: Office of State Procurement, 1201 N. 3rd Street, Ste. 2-160, Baton Rouge, LA 70802, or by fax to: (225) 342-9756. The State reserves the right to request a completed Acknowledgement at any time. Failure to execute an Acknowledgement shall not relieve the bidder from complying with the terms of its bid.

Addendum Acknowledged/No changes:

For: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ By: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**REVISION:** If you have already submitted your bid and this Addendum requires you to revise your bid, you must indicate any change(s) below, identify your business name and sign where shown. Revisions shall be delivered prior to bid opening by mail or delivery by hand or courier to: Office of State Procurement, 1201 N. 3rd Street, Ste. 2-160, Baton Rouge, LA 70802, or by fax to: (225) 342-9756, and indicate the RFx number and the bid opening date and time on the outside of the envelope for proper identification, or by fax to: (225) 342-9756. Electronic transmissions other than by fax are not being accepted at this time

**Revisions received after bid opening shall not be considered and you shall be held to your original bid.**

Revision:

For: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ By: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

By: Adam Cox

Office of State Procurement

Telephone No. 225-219-4207

Email: adam.cox@la.gov