June 7, 2024

**ADDENDUM NO. 01**

Your reference is directed to RFx Number 3000023076 for the Invitation to Bid (ITB) for the State of Louisiana Metal Building Components – DOC-Rayburn, which is currently scheduled to open at 06/18/2024 CT on 10:00AM.

The following changes are to be made to the referenced solicitation:

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

**Line 1 of RFx currently reads:**

**Frame Details:**

**\* LEW: Half-load Rigid Frame**

**\* REW: Half-Load Rigid Frame**

**\* Coating Color: Dark Grey**

**\* Sec Coat: Pre-Galvanized**

**Specify LEW Bidding: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Specify REW Bidding: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Specify Coating Color Bidding: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Specify Bidding Pre-Galvanized Sec. Coat: Yes\_\_\_No\_\_\_**

**Roof Details:**

**\* Type: PBR-Purlin Bearing Rib**

**\* Gauge: 26 Gauge**

**\* Color: SMP - Color Choice**

**Specify Bidding PBR Roof: Yes\_\_\_ No\_\_\_**

**Specify Gauge Bidding: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Specify Color Bidding: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Trim Details:**

**\* Rake: Standard FL-15**

**\* Eave: Standard FL-214**

**\* Corners: SMP - Color Choice**

**Specify Bidding Standard FL-15 Rake: Yes\_\_ No\_\_**

**Specify Bidding Standard FL-214 Eave: Yes\_\_ No\_\_**

**Specify Corner Color Bidding: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Line 1 of RFx changed to read:**

**Frame Details:**

**\* LEW: Half-load Rigid Frame**

**\* REW: Half-Load Rigid Frame**

**\* Structural Frame: Dark Grey Color, Powder Coated Oxide Paint**

**\* Purlins and Girts: G-90 Galvanized**

**Specify LEW Bidding: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Specify REW Bidding: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Specify Bidding Dark Grey Color, Powder Coated Oxide Paint for the Structural Frame: Yes\_\_\_No\_\_\_**

**Specify Bidding G-90 Galvanized Purlins and Girts: Yes\_\_\_No\_\_\_**

**Roof Details:**

**\* Type: PBR-Purlin Bearing Rib**

**\* Gauge: 26 Gauge**

**\* Color: Brown – SMP Type Paint**

**Specify Bidding PBR-Purlin Bearing Rib Roof: Yes\_\_\_ No\_\_\_**

**Specify Gauge Bidding: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Specify Bidding Brown- SMP Type Paint: Yes\_\_\_ No\_\_\_**

**Trim Details:**

**\* Rake: Standard FL-15**

**\* Eave: Standard FL-214**

**Specify Bidding Standard FL-15 Rake: Yes\_\_ No\_\_**

**Specify Bidding Standard FL-214 Eave: Yes\_\_ No\_\_**

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

**Questions from the Vendor and State’s Responses:**

**Vendor Question 1.** Please clarify does this building need gutters and down spouts.

***State’s Response:*** *No, building does not require gutters and down spouts.*

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

All else remains as on original Invitation to Bid.

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

**This addendum is hereby officially made a part of the referenced SOLICITATION.**

**ACKNOWLEDGEMENT:** If you have already submitted your bid and this Addendum does not cause you to revise your bid, you should acknowledge receipt of this Addendum by identifying your business name and by signing where indicated. You may return this Acknowledgement by mail or delivery by hand or courier to: Office of State Procurement, 1201 N. 3rd Street, Ste. 2-160, Baton Rouge, LA 70802, or by fax to: (225) 342-9756. The State reserves the right to request a completed Acknowledgement at any time. Failure to execute an Acknowledgement shall not relieve the bidder from complying with the terms of its bid.

Addendum Acknowledged/No changes:

For: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ By: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**REVISION:** If you have already submitted your bid and this Addendum requires you to revise your bid, you must indicate any change(s) below, identify your business name and sign where shown. Revisions shall be delivered prior to bid opening by mail or delivery by hand or courier to: Office of State Procurement, 1201 N. 3rd Street, Ste. 2-160, Baton Rouge, LA 70802, or by fax to: (225) 342-9756, and indicate the RFx number and the bid opening date and time on the outside of the envelope for proper identification, or by fax to: (225) 342-9756. Electronic transmissions other than by fax are not being accepted at this time

**Revisions received after bid opening shall not be considered and you shall be held to your original bid.**

Revision:

For: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ By: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

By: Kayler Holden

 Office of State Procurement

 Telephone No. 225-219-4693

 Email: Kayler.Holden2@la.gov