**Scope of Work:**

The Contractor shall provide all labor and materials in order to remove, dispose of, and replace two Gasboy mechanical dispensers for The Louisiana Department of Public Safety (DPS).

**Location:**

Louisiana State Police, Troop B

2101 I-10 Service Road

Kenner, Louisiana 70065

**Specifications:**

• The Contractor shall remove and dispose of two Gasboy mechanical fuel dispensers.

• The Contractor shall provide and install two new Gasboy model 9153GXF dispensers (or equal).

**Specify Brand/Model of Dispenser Bidding: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

• The Contractor shall provide and install two complete sets of gasoline hanging hardware.

• The Contractor shall connect the new dispensers to the existing Fuelmaster system.

• The Contractor shall provide all needed product piping, conduit and wiring in order to install new dispensers.

• The Contractor shall perform a system startup and provide a training for the campus staff on how to use the newly installed dispensers.

**Terms and Conditions:**

• All work being performed shall be required during normal business hours, Monday through Friday 7:00A.M. to 3:30 P.M.

• All work shall be performed in a workmanlike manner according to industry standard, and meet all code requirements, federal, state and local.

• Dispensers shall come with a limited parts and labor warranty for 12 months from date of installations or 24 months from date of invoice, whichever comes first.

• The Contractor’s representatives are subject to passing a background check.

• The Contractor shall be subject to vehicle searches.

• The Contractor’s representatives shall follow all policies and procedures while performing work on facility grounds.

• The Contractor shall be subject to a conference/training with facility staff after the contract is executed and before performing any work.

• All waste/debris is removed from the site daily and disposed of properly with the exception

of any equipment that is accounted for through property control measures. All waste/debris

shall be assessed by the appropriate site staff before it is removed from the site