Scope of Work:

The Contractor shall provide all labor and materials required for the maintenance and repair of the access road at Elmer’s Island Wildlife Refuge for the Louisiana Department of Wildlife and Fisheries (LDWF).

Location:

Elmer’s Island Access Road

Grand Isle, LA, 70358

Specifications:

-The Contractor shall prepare Elmer’s Island Access Road for regrading, and regrade the road using 610 limestone (approximately 300 tons).  The access road is approximately 1.5 miles long and 20 ft. wide.

-The Contractor shall install limestone to repair the trail on the eastern side of the road, where a canal has created a cut (map included). Repairs shall provide walking access on the trail.  The trail is approximately 50 ft. by 20 ft.

-The Contractor shall install two 8 ft. pilings on the trail to prevent driving.

General Notes/Terms:

*All supplies, materials, freight and labor are the responsibility of the awarded contractor

*Contractor shall coordinate with Julia Lightner during the project, at jlightner@wlf.la.gov or (504) 286-4041.

*Contractor will perform work during the open hours of the refuge, from sunrise to sunset.

*Contractor will provide access for the public on the road during the maintenance and repair project.

*Site Visit Contact: Julia Lightner, 504-286-4041.

*Upon completion of work, awarded contractor shall be responsible for disposal of all trash from the project.

Elmer’s Island Wildlife Refuge – Location for trail repair and pilings installation: