November 26, 2024

**ADDENDUM NO. 03**

Your reference is directed to RFx Number 3000023853 for the Invitation to Bid (ITB) for the State of Louisiana – \*Site Visit\* Prefabricated Bldg – DOC-ACC, which is currently scheduled to open at 10:00 AM CT on 12/03/2024.

The following changes are to be made to the referenced solicitation:

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

**Questions from the Vendor and State’s Responses:**

**Vendor Question 1.** Will a wall-mounted HVAC unit be acceptable to the "mini-split" that is noted in the floor plan drawing??

***State’s Response:*** *No,**a wall mounted HVAC will NOT be acceptable. The project requires the 'mini-split' system for ease of maintenance and replacement of parts. Mini-split must be at least a 24,000 BTU heating/cooling system.*

**Vendor Question 2.** The drawing reflects deck dimensions of 7’3”x5’5”, but the Description in ITB has {7’x2’ 9/16” Deck}.

Is there a different building/deck layout available or should we base our proposal on the original drawing?

***State’s Response:*** *The deck dimensions should be based on the original measurements in the Schematic, 7’3”x5’5”.*

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

**Line 1 of RFx Currently Reads:**

**•To include 7' x 2' 9/16" Deck using pressure treated lumber located at Entrance.**

**Line 1 of RFx Changed to Read:**

**•To include 7’3” x 5’5” Deck using pressure treated lumber located at Entrance.**

* **To include Mini-Split with 24,000 BTU rating minimum.**

**Specify Mini-Split BTU Rating: \_\_\_\_\_\_\_\_\_\_**

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

**This addendum is hereby officially made a part of the referenced SOLICITATION.**

**ACKNOWLEDGEMENT:** If you have already submitted your bid and this Addendum does not cause you to revise your bid, you should acknowledge receipt of this Addendum by identifying your business name and by signing where indicated. You may return this Acknowledgement by mail or delivery by hand or courier to: Office of State Procurement, 1201 N. 3rd Street, Ste. 2-160, Baton Rouge, LA 70802, or by fax to: (225) 342-9756. The State reserves the right to request a completed Acknowledgement at any time. Failure to execute an Acknowledgement shall not relieve the bidder from complying with the terms of its bid.

Addendum Acknowledged/No changes:

For: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ By: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**REVISION:** If you have already submitted your bid and this Addendum requires you to revise your bid, you must indicate any change(s) below, identify your business name and sign where shown. Revisions shall be delivered prior to bid opening by mail or delivery by hand or courier to: Office of State Procurement, 1201 N. 3rd Street, Ste. 2-160, Baton Rouge, LA 70802, or by fax to: (225) 342-9756, and indicate the RFx number and the bid opening date and time on the outside of the envelope for proper identification, or by fax to: (225) 342-9756. Electronic transmissions other than by fax are not being accepted at this time

**Revisions received after bid opening shall not be considered and you shall be held to your original bid.**

Revision:

For: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ By: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

By: MICHAEL ASNES

Office of State Procurement

Telephone No. 225-342-5564

Email: Michael.asnes@la.gov