**Scope of Work:**

The Contractor shall supply and install two 3 ton mini split systems in Dental and Med. Clinic located at the Louisiana Pinecrest Support and Services Center.

 **Location:**

Building 503/504 Dental Clinic/Med clinic

140 Hurd Ave.

 Pineville, La. 71360

**Specifications**:

-The Contractor shall supply and install two Mitsubishi 3 Ton mini split units (or equal), one at end of each hallway.

**Specify Brand/Model of Unit Bidding:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

-This building is a single story building on piers. The Contractor shall have to go underneath approximately the width of an office and up through the floor into the hallway.

-The Contractor shall suspend each head unit from ceiling.

-The Contractor shall mount each condenser on the outside of each hallway. Plumbing shall go underneath the building to hallway before penetrating floor.

-The Contractor shall supply and install line hide material to cover all refrigerant piping used for installation.

-The Contractor shall bore holes in floor to allow for refrigerant lines for each unit.

-The Contractor shall clean up and dispose of any and all debris associated with this job.

-The Contractor shall Contact Facility Assistant Maintenance Manager Shannon Aymond or Electrical Foreman Dale Clark in order to set up a jobsite visit.

Ph# 318-641-2286 / 318-641-2288