**Scope of Work:**

The Contractor shall provide all labor and materials to supply and install a multi-head 3 ton mini split system in Dental and Med. Clinic hallways to aid in heating and cooling.

**Location:**

Building 503/504 Dental Clinic/Med clinic

140 Hurd Ave.

Pineville, La. 71360

**Specifications**:

-This building is a single story building on piers. The Contractor shall have to go underneath approximately the width of an office and up through the floor into the hallway.

-The Contractor shall supply and install Multi-head Mitsubishi 3 Ton mini split unit, Model# MXZ-SM36NAM2, or equivalent.

**Specify Brand/Model of Mini Split Bidding: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

-The Contractor shall suspend each head unit from ceiling at end of each hallway.

-The Contractor shall mount the condenser on the west side of building.

-The Contractor shall supply and install line hide material to cover all refrigerant piping used for installation.

-The Contractor shall bore holes in floor to allow for refrigerant lines for each head unit.

-The Contractor shall clean up and dispose of any and all debris associated with this job.

-The Contractor shall contact Facility Assistant Maintenance Manager Shannon Aymond or Electrical Foreman Dale Clark in order to setup a site visit.

Ph# 318-641-2286 / 318-641-2288