December 2, 2024

**ADDENDUM NO. 01**

Your reference is directed to RFx Number 3000023956 for the Invitation to Bid (ITB) for the State of Louisiana – Warehouse Racking - LDH, which is currently scheduled to open at 10:00 AM CT on 12/17/2024.

The following vendor questions and the State’s responses:

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

**Vendor’s Question 1:**

We have a few questions regarding the layout (mapping) for this bid.

What is the red circle in area 1?

**State’s Response 1:**

The red circle represents electrical outlet areas.

**Vendor’s Question 2:**

How many bays are in each row?

**State’s Response 2:**

A minimum of 12 bays are located in each row.

**Vendor’s Question 3:**

What are areas 1-4 used for?

**State’s Response 3:**

Areas 1-4 are used for storage and staging of bulky emergency equipment.

**Vendor’s Question 4:**

How much room is between rows 1-9 and the back wall?

**State’s Response 4:**

Rows 1-9 span 70 feet. The space between each row varies between 2-5 feet apart. The room to the back is open floor.

**Vendor’s Question 5:**

What are the red dots on the map indicating?

**State’s Response 5:**

The red dots indicate power pole locations (building was formally a Wal-Mart).

**Vendor’s Question 6:**

What are each of the zones doing, or being used for?

**State’s Response 6:**

Each zone is used to store emergency response equipment and supplies.

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

All else remains as on original Invitation to Bid.

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

**This addendum is hereby officially made a part of the referenced SOLICITATION.**

**ACKNOWLEDGEMENT:** If you have already submitted your bid and this Addendum does not cause you to revise your bid, you should acknowledge receipt of this Addendum by identifying your business name and by signing where indicated. You may return this Acknowledgement by mail or delivery by hand or courier to: Office of State Procurement, 1201 N. 3rd Street, Ste. 2-160, Baton Rouge, LA 70802, or by fax to: (225) 342-9756. The State reserves the right to request a completed Acknowledgement at any time. Failure to execute an Acknowledgement shall not relieve the bidder from complying with the terms of its bid.

Addendum Acknowledged/No changes:

For: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ By: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**REVISION:** If you have already submitted your bid and this Addendum requires you to revise your bid, you must indicate any change(s) below, identify your business name and sign where shown. Revisions shall be delivered prior to bid opening by mail or delivery by hand or courier to: Office of State Procurement, 1201 N. 3rd Street, Ste. 2-160, Baton Rouge, LA 70802, or by fax to: (225) 342-9756, and indicate the RFx number and the bid opening date and time on the outside of the envelope for proper identification, or by fax to: (225) 342-9756. Electronic transmissions other than by fax are not being accepted at this time

**Revisions received after bid opening shall not be considered and you shall be held to your original bid.**

Revision:

For: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ By: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

By: Adam Cox

 Office of State Procurement

 Telephone No. 225-219-4207

 Email: adam.cox@la.gov