January 28, 2025

**ADDENDUM NO. 01**

Your reference is directed to RFx Number 3000024144 for the Invitation to Bid (ITB) for the State of Louisiana – Security System - DVA, which is currently scheduled to open at 10:00 AM CT on 02/04/2025.

The following changes are to be made to the referenced solicitation:

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

**The following are the bidder’s written inquiries received by the inquiry deadline date of January 21, 2025 and the State’s responses:**

**Vendor Question 1. “**How long do you need the battery backup to last? Would need to know frame rate, % of motion and days of storage needed”

\*System shall be IP 67 certified, include five battery backups, and 15,000 feet of Cat6 cable\*

***State’s Response:*** *Battery backup that would last a minimum of 30 minutes, record 7 FPS (frames per second) with 75% motion, with a minimum of 7 days worth of storage*.

**Vendor Question 2. “**According to the manufacturer part number DW-BJCUBE18T has been discontinued. It has been replaced with part number DW-BJDX5120T. This NVR requires a workstation but no workstations are listed on the specifications. Which workstations do I need to quote?”

***State’s Response:*** *We are going to use PCs already at the facility.*

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

Attachment C Page 1, currently reads: System shall be IP 67 certified, include five battery backups, and 15,000 feet of Cat6 cable.

Attachment C Page 1, changed to read: System shall be IP 67 certified, include five battery backups (minimum 30 minutes of backup and minimum of 7 days of storage), and 15,000 feet of Cat6 cable.

Attachment C Page 1, currently read: Model Number: DW-BJCUBE18T or equivalent

Attachment C Page 1, changed to read: Model Number: DW-BJDX5120T or equivalent

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

All else remains as on original Invitation to Bid.

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

**This addendum is hereby officially made a part of the referenced SOLICITATION.**

**ACKNOWLEDGEMENT:** If you have already submitted your bid and this Addendum does not cause you to revise your bid, you should acknowledge receipt of this Addendum by identifying your business name and by signing where indicated. You may return this Acknowledgement by mail or delivery by hand or courier to: Office of State Procurement, 1201 N. 3rd Street, Ste. 2-160, Baton Rouge, LA 70802, or by fax to: (225) 342-9756. The State reserves the right to request a completed Acknowledgement at any time. Failure to execute an Acknowledgement shall not relieve the bidder from complying with the terms of its bid.

Addendum Acknowledged/No changes:

For: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ By: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**REVISION:** If you have already submitted your bid and this Addendum requires you to revise your bid, you must indicate any change(s) below, identify your business name and sign where shown. Revisions shall be delivered prior to bid opening by mail or delivery by hand or courier to: Office of State Procurement, 1201 N. 3rd Street, Ste. 2-160, Baton Rouge, LA 70802, or by fax to: (225) 342-9756, and indicate the RFx number and the bid opening date and time on the outside of the envelope for proper identification, or by fax to: (225) 342-9756. Electronic transmissions other than by fax are not being accepted at this time

**Revisions received after bid opening shall not be considered and you shall be held to your original bid.**

Revision:

For: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ By: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

By: Arkeith White

Office of State Procurement

Telephone No. 225-219-4207

Email: Arkeith.white@la.gov