February 20, 2025

**ADDENDUM NO. 01**

Your reference is directed to RFx Number 3000024292 for the Invitation to Bid (ITB) for the State of Louisiana – \*Rebid\* Diesel Generator - DOC, which is currently scheduled to open at 10:00 AM CT on 02/27/2025.

The following vendor questions and the State’s responses:

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

**The following are the bidder’s written inquiries received by the inquiry deadline date of February 13, 2025 and the State’s responses:**

**Vendor Question 1.** Who supplies the diesel?

***State’s Response:*** *DOC will provide the diesel.*

**Vendor Question 2.** Do we need to include commercial surge suppressant?

***State’s Response:*** *Commercial surge suppressant is not required.*

**Vendor Question 3.** Is the contractor to install new service entry?

***State’s Response:*** *The new service entry will not be installed by the Contractor.*

**Vendor Question 4.** Please clarify the size (Amperage) of the new services at each location

***State’s Response:*** *The new size will match the existing sizes at each location.*

**Vendor Question 5.** Please clarify whether the owner requires/needs temporary electrical service to maintain power to refrigeration equipment and freezers at each building when the “new services” and “ATSs” are installed and who is responsible for providing temporary power

***State’s Response:*** *The Contractor is not responsible for providing temporary power.*

**Vendor Question 5.** Please clarify if a site visit verification dated 30 Jan 2025 will suffice for the rebid requirements.

***State’s Response:*** *Because the specifications have changed, site visit verification from the previous solicitation will not suffice.*

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

All else remains as on original Invitation to Bid.

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

**This addendum is hereby officially made a part of the referenced SOLICITATION.**

**ACKNOWLEDGEMENT:** If you have already submitted your bid and this Addendum does not cause you to revise your bid, you should acknowledge receipt of this Addendum by identifying your business name and by signing where indicated. You may return this Acknowledgement by mail or delivery by hand or courier to: Office of State Procurement, 1201 N. 3rd Street, Ste. 2-160, Baton Rouge, LA 70802, or by fax to: (225) 342-9756. The State reserves the right to request a completed Acknowledgement at any time. Failure to execute an Acknowledgement shall not relieve the bidder from complying with the terms of its bid.

Addendum Acknowledged/No changes:

For: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ By: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**REVISION:** If you have already submitted your bid and this Addendum requires you to revise your bid, you must indicate any change(s) below, identify your business name and sign where shown. Revisions shall be delivered prior to bid opening by mail or delivery by hand or courier to: Office of State Procurement, 1201 N. 3rd Street, Ste. 2-160, Baton Rouge, LA 70802, or by fax to: (225) 342-9756, and indicate the RFx number and the bid opening date and time on the outside of the envelope for proper identification, or by fax to: (225) 342-9756. Electronic transmissions other than by fax are not being accepted at this time

**Revisions received after bid opening shall not be considered and you shall be held to your original bid.**

Revision:

For: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ By: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

By: Arkeith White

Office of State Procurement

Telephone No. 225-219-4207

Email: Arkeith.white@la.gov