**Scope of Work:**

The Contractor shall furnish and install all materials, labor, and equipment needed to bore gas lines at Dixon Correctional Institute for the Department of Corrections (DOC).

**Location:**

Dixon Correctional Institute

5568 Highway 68

Jackson, LA 70748

**Site Visit Contact:**

William Bunch

225-634-6101

**Specification:**

* The Contractor shall make two separate 1000 feet bores under canal.
* The Contractor shall tie each bore in with two Mueller bottom out line stoppers to install by-pass where the gas line does not need to be shut down.
* The Contractor shall pressure test pipe and fittings.
* The Contractor shall coat steel pipe and bond CP wire on each end of bore.

**Terms and Conditions:**

* The Contractor is required to have the appropriate licenses to perform the requested job.
* Work shall be performed Monday-Friday from 7:00 am – 3:30 pm.
* The Contractor representatives are subject to a search of their vehicles, possessions and persons. This is necessary to preclude the introduction of weapons, ammunition, explosives, cell phones, alcohol, escape devices, drugs and drug paraphernalia or other forbidden items or contraband into the prison environment. All searches of visitors will be conducted in accordance with Department Regulation No. C-02-005 and Penitentiary Directive No. 09.004 and 09.004A.
* The Contractor representatives are subject to a background check.
* The Contractor representatives must follow all institutional policies and procedures while performing work on facility grounds.
* The Contractor is subject to a conference/training with facility staff after the contract is executed and before performing any work.