**Scope of Work**

The Contractor shall provide all labor, materials, equipment, and tools needed to install a suspended ceiling in dining facility for the Department of Corrections (DOC).

**Location:**

Rayburn Correctional Center

27268 Highway 21

Angie, LA 70426

**Site Visit Contact:**

Hugh Magee

985-661-6414

**Specifications:**

* The ceiling shall be approximately 12,968 sq. ft.
* Drop ceiling shall be fastened to existing ceiling by the Contractor.
* 2’ x 2’ grid and tiles shall be installed by the Contractor.
* Tiles “Genesis” smooth pro white with PVC backing or equal

**Specify Brand/Model Bidding**: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

* Five HVAC vents will be required to be ducted down to new ceiling.
  + New grills shall be provided by the Contractor
* Grills will allow for 2’ x 4’ lighting fixtures
* Lighting fixtures are not the responsibility of the Contractor
* Original ceiling will not be removed.
* No insulation will be required.

**General Terms:**

* Disposal of all materials and debris will be the responsibility of the Contractor.
* The Contractor shall coordinate all work with facility staffing. This includes delivery, storage, and work.
* The Contractor shall be responsible for delivery and pickup of materials, supplies needed to complete the job.
* Lay down site will be provided by facility.