**Scope of work:**

The Contractor shall provide all labor, materials, equipment, and tools required to construct a metal building as described which will be used for storage purposes for the Louisiana Department of Corrections (DOC).

**Site Visit Contact:**

Hugh Magee: (985)-614-0654

Adam Wilson: (985)-661-6413

**Location:**

Rayburn Correctional Center

27268 Hwy 21 North

Angie, Louisiana 70426

**Specifications:**

* The Contractor shall engineer 20’ W x 40’ L x 10’H steel framed enclosed building with one 36” door accessing interior on South side.
* The Contractor shall provide engineered foundation plans.
* The length of the south side which will be 40’ shall be guttered by the Contractor.
* The building shall be constructed using all metal frame by the Contractor.
* Metal siding and roofing 26 gauge in brown color shall be provided by the Contractor.
* Metal trims, required fasteners, screws, bolts, and anchor bolts shall be provided by the Contractor.
* Exterior metal fasteners will be provided in color on metal siding by the Contractor.
* Color of siding and roofing shall be dark brown.

**General Terms:**

* The Contractor shall be responsible for delivery and pickup of materials/supplies needed to complete project.
* The Contractor will be responsible for all dirt work and or fill required.
* Disposal of all materials, and debris shall be the responsibility of the Contractor.
* Engineered drawings and engineered foundation plans will be required and provided to agency by the Contractor.
* The Contractor shall coordinate all work with the agency. This include delivery of materials.