**\*\*If bidding other than specified, please provide manufacturer’s specs for “or equal” items. \*\***

**Scope of Work:**

The Contractor shall furnish all labor, materials, tools, equipment, and supplies necessary for installation of warehouse rack systems to optimize storage capacity and organization within the facility for the Louisiana Department of Homeland Security & Emergency Preparedness (GOHSEP).

**Location:**

Camp Villere

34845 Grantham College Dr

Slidell, LA 70460

**Site Visit Contact:**

David Teague

(504) 258-2814

**Specifications:**

The racks shall contain 24 Bays capable of deep reach forklift pallet stacking.

The rack shall contain 3 levels (including floor level). There shall be approx. 832 pallet positions.

The Contractor shall provide the following:

Brand: **Crown** or Equivalent

**Specify Brand Bidding:** \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

* + - 116 rolled Formed Frame 42”x120 Uprights.
    - 416 rolled Formed Step Beam 5”x16 GA x 96”
    - 116 formed Row Spacer 16 GA Galvanized x 10”

Wire Mesh Deck

Model: **416 ND4246S4SA2540 46S00P** or Equivalent

**Specify Model Bidding:** \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

The wire decking shall be 42” deep x 46” wide. The wire decking shall be at least 6 gauge with a 2.5” x 4” mesh pattern with 4 step channels 1.5” waterfall. The wire decking shall have a capacity rating of at least 3,500 lbs and be powder coat gray.

* Quantity 116 - Shim 16 GA3.5”x4.75” Cap Screw 3/8-16x3/4 Hex Cap Screw Grade 5 Zinc
* Quantity 464 - Flange Nut 3/8-16 Serrated Flange Nut, Case Hardened, Zinc
* Quantity 232 Concrete Anchors Hilti-TZ2-1/2x5-1/2

Any damages to existing property from the Contractor’s activities shall be restored to pre-work conditions by the Contractor at no additional cost to the Louisiana Department of Homeland Security & Emergency Preparedness

**General Terms and Conditions:**

* The Contractor shall dispose of all trash.
* The Contractor shall coordinate with the warehouse manager.
* All work being performed is required during normal business hours: Monday through Friday 8:00 A.M. to 4:00 P.M.