**Scope of Work:**

The Contractor shall remove five current poles and install five new poles and lighting matching existing poles and lighting for the Louisiana Department of Health (LDH).

**Location:**

Central Louisiana State Hospital

6250 Esler Field Road

Pineville, LA 71361

**Jobsite Visit Contact:**

Derrick Sarver

318-484-6213

Derrick.sarver@la.gov

**Specifications:**

* The Contractor shall supply all materials and labor to complete removal and installation of new poles and lighting.
* The Contractor shall remove old light poles and install footings and anchors to a desired diameter and depth recommended by manufacturer of new light poles.
* Current wiring shall be preserved and utilized for the new installation of lights.
* Installation of a photo cell or timer shall be installed to operate lighting at optimal times of poor outdoor lighting by the Contractor.
* The Contractor shall install new poles with LED lighting that match existing poles and lighting of new facility.

**General Terms:**

* The Contractor shall maintain a clean, hazard free work environment while work is in progress.
* The Contractor is responsible for disposal of all excess trash from implied scope of work.