## LSA Types
Attachment C - Price Sheet - Revised per Addendum #4 (Dated 05/23/2025)
| LSA Responses by Type |  | LSA TYPE I |  |  |  | LSA TYPE II |  |  |  | LSA TYPE III |  |  |  | Additional Items by Unit
Line Item # | Description | Unit | QTY Range | PAX (Personnel) (Max Potential) | Price per Unit per Day (24hrs) | Price per Unit per Week (24hrs/7 days) | QTY Range | PAX (Personnel) (Max Potential) | Price per Unit per Day (24hrs) | Price per Unit per Week (24hrs/7 days) | QTY Range | PAX (Personnel) (Max Potential) | Price per Unit per Day (24hrs) | Price per Unit per Week (24hrs/7 days) | QTY Range | PAX (Personnel) (Max Potential) | Price per Unit per Day (24hrs) | Price per Unit per Week (24hrs/7 days)
Generators & Accessories:
1 | *20 kW Generator | EA | 65-90+ |  |  |  | 45-64 |  |  |  | 1-44 |  |  |  | 1
2 | *36 kW Generator | EA | 31-40+ |  |  |  | 16-30 |  |  |  | 1-15 |  |  |  | 1
3 | *56 kW Generator | EA | 21-25+ |  |  |  | 16-20 |  |  |  | 1-15 |  |  |  | 1
4 | *100 kW Generator | EA | 16-20+ |  |  |  | 12-15 |  |  |  | 1-11 |  |  |  | 1
5 | *120 kW Generator | EA | 9-10+ |  |  |  | 4-8 |  |  |  | 1-3 |  |  |  | 1
6 | *150 kW Generator | EA | 7-10+ |  |  |  | 5-6 |  |  |  | 1-4 |  |  |  | 1
7 | *175 kW Generator | EA | 9-10+ |  |  |  | 6-8 |  |  |  | 1-5 |  |  |  | 1
8 | *250 kW Generator | EA | 5-6+ |  |  |  | 3-4 |  |  |  | 1-2 |  |  |  | 1
9 | *320 kW Generator | EA | 5-7+ |  |  |  | 3-4 |  |  |  | 1-2 |  |  |  | 1
10 | *500 kW Generator | EA | 5-7+ |  |  |  | 3-4 |  |  |  | 1-2 |  |  |  | 1
11 | *750 kW Generator | EA | 5-7+ |  |  |  | 3-4 |  |  |  | 1-2 |  |  |  | 1
12 | *1000 kW Generator | EA | 5-7+ |  |  |  | 3-4 |  |  |  | 1-2 |  |  |  | 1
13 | #2 Banded 5-wire and Fittings | EA | 401-500+ |  |  |  | 151-400 |  |  |  | 1-150 |  |  |  | 1
14 | 4/0 Camlock Cable 50' | EA | 601-700+ |  |  |  | 121-600 |  |  |  | 1-120 |  |  |  | 1
15 | 600 Amp Line Panel | EA | 6-7+ |  |  |  | 4-5 |  |  |  | 1-3 |  |  |  | 1
16 | 800 Amp Line Panel | EA | 6-7+ |  |  |  | 4-5 |  |  |  | 1-3 |  |  |  | 1
17 | 200 Amp Feeder Panel | EA | 6-7+ |  |  |  | 4-5 |  |  |  | 1-3 |  |  |  | 1
18 | 400 Amp Feeder Panel | EA | 6-7+ |  |  |  | 4-5 |  |  |  | 1-3 |  |  |  | 1
19 | *4000W Narrow Verticle Mast Light Tower | EA | 66-75+ |  |  |  | 51-65 |  |  |  | 1-50 |  |  |  | 1
20 | Power Distribution Box (Spider Boxes) | EA | 31-50+ |  |  |  | 21-30 |  |  |  | 1-20 |  |  |  | 1
21 | Spider Box Cable | EA | 121-150+ |  |  |  | 101-120 |  |  |  | 1-100 |  |  |  | 1
22 | *Variable Message Boards 83″ x 145″ Solar Powered | EA | 31-35+ |  |  |  | 21-30 |  |  |  | 1-20 |  |  |  | 1
One-Time Costs:
23 | Mobilization | EA | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1
24 | Demobilization | EA | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1
Pumps, Hoses, & Fittings:
25 | *4" Diesel pump | EA | 9-12+ |  |  |  | 7-8 |  |  |  | 1-6 |  |  |  | 1
26 | *6" Diesel pump | EA | 11-14+ |  |  |  | 9-10 |  |  |  | 1-8 |  |  |  | 1
27 | *8" Diesel pump | EA | 7-10+ |  |  |  | 5-6 |  |  |  | 1-4 |  |  |  | 1
28 | *12" Diesel pump | EA | 5-6+ |  |  |  | 3-4 |  |  |  | 1-2 |  |  |  | 1
29 | 4" suction 20' including basket/strainer | EA | 25-40+ |  |  |  | 19-24 |  |  |  | 1-18 |  |  |  | 1
30 | 4" discharge 50' | EA | 31-55+ |  |  |  | 25-30 |  |  |  | 1-24 |  |  |  | 1
31 | 6" suction 20' including basket/strainer | EA | 29-55+ |  |  |  | 25-28 |  |  |  | 1-24 |  |  |  | 1
32 | 6" discharge 50' | EA | 41-50+ |  |  |  | 33-40 |  |  |  | 1-32 |  |  |  | 1
33 | 8" suction 20' including basket/strainer | EA | 21-40+ |  |  |  | 13-20 |  |  |  | 1-12 |  |  |  | 1
34 | 8" discharge 50' | EA | 23-40+ |  |  |  | 17-22 |  |  |  | 1-16 |  |  |  | 1
35 | 12" suction 10' including basket/strainer | EA | 13-15+ |  |  |  | 5-12 |  |  |  | 1-4 |  |  |  | 1
36 | 12" discharge 50' | EA | 17-20+ |  |  |  | 9-16 |  |  |  | 1-8 |  |  |  | 1
One-Time Costs:
37 | Mobilization | EA | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1
38 | Demobilization | EA | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1
Ancillary Equipment:
39 | 10" x 10" Popup Tents w/ weight bags | EA | 51-60+ |  |  |  | 21-50 |  |  |  | 1-20 |  |  |  | 1
40 | Foldable Plastic Chairs | EA | 251-400+ |  |  |  | 101-250 |  |  |  | 1-100 |  |  |  | 1
41 | 8' Foldable Banquet Tables | EA | 101-150+ |  |  |  | 51-100 |  |  |  | 1-50 |  |  |  | 1
42 | 16-24" Box Fans | EA | 101-150+ |  |  |  | 51-100 |  |  |  | 1-50 |  |  |  | 1
43 | *53' Dry Van | EA | 16-20+ |  |  |  | 6-15 |  |  |  | 1-5 |  |  |  | 1
44 | 100' 12/3 Extension Cords | EA | 101-150+ |  |  |  | 51-100 |  |  |  | 1-50 |  |  |  | 1
One-Time Costs:
45 | Mobilization | EA | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1
46 | Demobilization | EA | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1
Heavy Equipment:
47 | *5k Warehouse Forklift | EA | 16-20+ |  |  |  | 11-15 |  |  |  | 1-10 |  |  |  | 1
48 | *5k Rough Terrain Forklift | EA | 16-20+ |  |  |  | 11-15 |  |  |  | 1-10 |  |  |  | 1
49 | *6k Extended Reach Forklift | EA | 11-15+ |  |  |  | 6-10 |  |  |  | 1-5 |  |  |  | 1
50 | *7K Extended Reach Forklift | EA | 11-15+ |  |  |  | 6-10 |  |  |  | 1-5 |  |  |  | 1
51 | *10K Extended Reach Forklift | EA | 7-10+ |  |  |  | 4-6 |  |  |  | 1-3 |  |  |  | 1
One-Time Costs:
52 | Mobilization | EA | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1
53 | Demobilization | EA | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1
Environmental Control:
54 | *25 Ton AC W/ Heat | EA | 11-15+ |  |  |  | 4-10 |  |  |  | 1-3 |  |  |  | 1
55 | 20" X 25' DUCT | EA | 26-50+ |  |  |  | 21-25 |  |  |  | 1-20 |  |  |  | 1
56 | *145 Pint Rollable Dehumidifier | EA | 11-15+ |  |  |  | 9-10 |  |  |  | 1-8 |  |  |  | 1
One-Time Costs:
57 | Mobilization | EA | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1
58 | Demobilization | EA | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1
Support Equipment:
59 | GPS Satellite Tracking Unit - Only Units deployed will be billed | EA | 601-750+ |  |  |  | 401-600 |  |  |  | 1-400 |  |  |  | 1
One-Time Costs:
60 | Mobilization | EA | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1
61 | Demobilization | EA | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1
Transportation:
62 | *Company Vehicle (Per Vehicle) | EA | 21-25+ |  |  |  | 16-20 |  |  |  | 1-15 |  |  |  | 1
63 | *Mechanics Trucks | EA | 7-10+ |  |  |  | 5-6 |  |  |  | 1-4 |  |  |  | 1
64 | *Fuel Transport | EA | 5-6+ |  |  |  | 3-4 |  |  |  | 1-2 |  |  |  | 1
65 | *Bobtail Fuel Truck | EA | 3+ |  |  |  | 1-2 |  |  |  | 1-2 |  |  |  | 1
66 | *Roll-Back Unit | EA | 31-40+ |  |  |  | 21-30 |  |  |  | 1-20 |  |  |  | 1
67 | *Rotator (12 hour shift) | EA | 5-6+ |  |  |  | 3-4 |  |  |  | 1-2 |  |  |  | 1
68 | *Landoll | EA | 9-10+ |  |  |  | 7-8 |  |  |  | 1-6 |  |  |  | 1
69 | *Box Truck | EA | 11-15+ |  |  |  | 6-10 |  |  |  | 1-5 |  |  |  | 1
70 | *Refrigerated Box Truck | EA | 11-15+ |  |  |  | 6-10 |  |  |  | 1-5 |  |  |  | 1
One-Time Costs:
71 | Mobilization | EA | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1
72 | Demobilization | EA | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1
Personnel:
73 | Project / Operations Managers ST | HR | 40 | 9-10+ |  |  | 40 | 7-8 |  |  | 40 | 1-6 |  |  | 40 | 1
74 | Project / Operations Managers OT | HR | 72 | 9-10+ |  |  | 72 | 7-8 |  |  | 72 | 1-6 |  |  | 72 | 1
75 | Resource Supervisors ST | HR | 40 | 7-10+ |  |  | 40 | 5-6 |  |  | 40 | 1-4 |  |  | 40 | 1
76 | Resource Supervisor OT | HR | 72 | 7-10+ |  |  | 72 | 5-6 |  |  | 72 | 1-4 |  |  | 72 | 1
77 | Resource Technicians ST | HR | 40 | 21-30+ |  |  | 40 | 16-20 |  |  | 40 | 1-15 |  |  | 40 | 1
78 | Resource Technicians OT | HR | 72 | 21-30+ |  |  | 72 | 16-20 |  |  | 72 | 1-15 |  |  | 72 | 1
79 | Electrical Technicians ST | HR | 40 | 11-14+ |  |  | 40 | 9-10 |  |  | 40 | 1-8 |  |  | 40 | 1
80 | Electrical Technicians OT | HR | 72 | 11-14+ |  |  | 72 | 9-10 |  |  | 72 | 1-8 |  |  | 72 | 1
81 | Maintenance Technicians ST | HR | 40 | 11-14+ |  |  | 40 | 9-10 |  |  | 40 | 1-8 |  |  | 40 | 1
82 | Maintenance Technicians OT | HR | 72 | 11-14+ |  |  | 72 | 9-10 |  |  | 72 | 1-8 |  |  | 72 | 1
83 | Equipment Operators ST | HR | 40 | 26-30+ |  |  | 40 | 21-25 |  |  | 40 | 1-20 |  |  | 40 | 1
84 | Equipment Operators OT | HR | 72 | 26-30+ |  |  | 72 | 21-25 |  |  | 72 | 1-20 |  |  | 72 | 1
85 | Rollback - Equipment Operators ST | HR | 40 | 31-40+ |  |  | 40 | 21-30 |  |  | 40 | 1-20 |  |  | 40 | 1
86 | Rollback - Equipment Operators OT | HR | 72 | 31-40+ |  |  | 72 | 21-30 |  |  | 72 | 1-20 |  |  | 72 | 1
87 | Rotator - Equipment Operators ST | HR | 40 | 5-6+ |  |  | 40 | 3-4 |  |  | 40 | 1-2 |  |  | 40 | 1
88 | Rotator - Equipment Operators OT | HR | 72 | 5-6+ |  |  | 72 | 3-4 |  |  | 72 | 1-2 |  |  | 72 | 1
89 | Landoll - Equipment Operators ST | HR | 40 | 9-10+ |  |  | 40 | 7-8 |  |  | 40 | 1-6 |  |  | 40 | 1
90 | Landoll - Equipment Operators OT | HR | 72 | 9-10+ |  |  | 72 | 7-8 |  |  | 72 | 1-6 |  |  | 72 | 1
91 | Riggers, Box, CDL Drivers ST | HR | 40 | 5-6+ |  |  | 40 | 3-4 |  |  | 40 | 1-2 |  |  | 40 | 1
92 | Riggers, Box, CDL Drivers OT | HR | 72 | 5-6+ |  |  | 72 | 3-4 |  |  | 72 | 1-2 |  |  | 72 | 1
93
LSA Support:
94 | Communications satellite, modem, wireless router | EA | 6+ |  |  |  | 1-5 |  |  |  | 1-5 |  |  |  | 1
95 | Electrical strips | EA | 21+ |  |  |  | 1-20 |  |  |  | 1-20 |  |  |  | 1
96 | KA band satellite data unit | EA | 2+ |  |  |  | 1 |  |  |  | 1 |  |  |  | 1
97 | Cradlepoint | EA | 2+ |  |  |  | 1 |  |  |  | 1 |  |  |  | 1
98 | VOIP Lines | EA | 5+ |  |  |  | 1-4 |  |  |  | 1-4 |  |  |  | 1
99 | Verizon network extender | EA | 2+ |  |  |  | 1 |  |  |  | 1 |  |  |  | 1
100 | AT&T network extender | EA | 2+ |  |  |  | 1 |  |  |  | 1 |  |  |  | 1
101 | Mobile Command Center | EA | 3+ |  |  |  | 1-2 |  |  |  | 1-2 |  |  |  | 1
102 | Restroom Trailer (8-10 Stalls) *see living and sanitation for specs | EA | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1
103 | Shower Trailer (8-10 Stalls) *see living and sanitation for specs | EA | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1
One-Time Costs:
104 | Mobilization | EA | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1
105 | Demobilization | EA | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1
Living and Sanitation:
106 | *RESTROOM TRAILER: - TOILET STATIONS: 8-10 STALLS - WASH BASINS/SINKS: 1-2 - FRESH WATER TANK, AS REQUIRED: 800-1000 US GAL - WASTE WATER TANK(S), AS REQUIRED: 800-1000 US GAL - WATER HEATER: ELEC OR LPG, ON-DEMAND - POWER: 35 AND/OR 50 AMP GENSET CONNECTION(S) - LIGHTING: CEILING-MOUNT FLUORESCENT THROUGHOUT - A/C UNIT: 13.5-15 AMP - INCLUDES DAILY SERVICE/MAINTENANCE - GENERATOR WILL BE PULLED FROM 20KW STOCKPILE IN LSA - INCLUDES CONSUMABLES (EX: HAND SOAP, TOILET PAPER, HAND TOWELS) - INCLUDES WASTE RECEPTACLE(S) | EA | 16-20+ |  |  |  | 11-15 |  |  |  | 1-10 |  |  |  | 1
107 | *SHOWER TRAILER, FULLY ENCLOSED: - SHOWER STATIONS: 8-10 STALLS - FRESH WATER TANK, AS REQUIRED: 800-1000 US GAL - WASTE WATER TANK(S), AS REQUIRED: 800-1000 US GAL - WATER HEATER: ELEC OR LPG, ON-DEMAND - POWER: 35 AND/OR 50 AMP GENSET CONNECTION(S) - LIGHTING: CEILING-MOUNT FLUORESCENT THROUGHOUT - A/C UNIT: 13.5-15 AMP - INCLUDES DAILY SERVICE/MAINTENANCE - GENERATOR WILL BE PULLED FROM 20KW STOCKPILE IN LSA - INCLUDES CONSUMABLES (EX: BODY WASH/SOAP) - INCLUDES WASTE RECEPTACLE(S) | EA | 16-20+ |  |  |  | 11-15 |  |  |  | 1-10 |  |  |  | 1
108 | *MOBILE SLEEPING UNIT: - DIMENSIONS: 28' x 14' - BEDS: 8-12 - GENERATOR: GENERATOR WILL BE PULLED FROM 20KW STOCKPILE IN LSA - FIRE SAFETY: LA FIRE MARSHAL COMPLIANT - HEATING/COOLING: SINGLE HVAC UNIT; TEMPERATURE CONTROLLED | EA | 11-15+ |  |  |  | 6-10 |  |  |  | 1-5 |  |  |  | 1
109 | *ADA RESTROOM TRAILER: - ADA COMPLIANT - WASH BASINS/SINKS: 1-2 - FRESH WATER TANK, AS REQUIRED: 800-1000 US GAL - WASTE WATER TANK(S), AS REQUIRED: 800-1000 US GAL - WATER HEATER: ELEC OR LPG, ON-DEMAND - POWER: 35 AND/OR 50 AMP GENSET CONNECTION(S) - LIGHTING: CEILING-MOUNT FLUORESCENT THROUGHOUT - A/C UNIT: 13.5-15 AMP - INCLUDES DAILY SERVICE/MAINTENANCE - GENERATOR WILL BE PULLED FROM 20KW STOCKPILE IN LSA - INCLUDES CONSUMABLES (EX: HAND SOAP, TOILET PAPER, HAND TOWELS) - INCLUDES WASTE RECEPTACLE(S) | EA | 16-20+ |  |  |  | 11-15 |  |  |  | 1-10 |  |  |  | 1
110 | *LAUNDRY TRAILER: - WASHER AND DRYER STATIONS: 4-6 - FRESH WATER TANK, AS REQUIRED: 400-600 US GAL CAPACITY - WASTE WATER TANK, AS REQUIRED: 400-600 US GAL CAPACITY - WATER HEATER: ELEC OR LPG, ON-DEMAND - POWER: 35 AND/OR 50 AMP GENSET CONNECTION(S) - LIGHTING: CEILING-MOUNT FLUORESCENT THROUGHOUT - A/C UNIT: 13.5-15 AMP - INCLUDES DAILY SERVICE/MAINTENANCE - GENERATOR WILL BE PULLED FROM 36KW STOCKPILE IN LSA - INCLUDES CONSUMABLES (EX: LAUNDRY DETERGENT) - INCLUDES WASTE RECEPTACLE(S) | EA | 16-20+ |  |  |  | 11-15 |  |  |  | 1-10 |  |  |  | 1
111 | *PORTALET UNITS: - TOILET CAPACITY: 60 GALLONS - INCLUDES DAILY SERVICE/MAINTENANCE - INCLUDES ANY PORTABLE POWER REQUIREMENTS - INCLUDES CONSUMABLES (EX: HAND SOAP, TOILET PAPER, HAND TOWELS) - INCLUDES WASTE RECEPTACLE(S) | EA | 41-50+ |  |  |  | 31-40 |  |  |  | 1-30 |  |  |  | 1
112 | *ADA PORTALETS: - TOILET CAPACITY: 60 GALLONS - ADA COMPLIANT - INCLUDES DAILY SERVICE/MAINTENANCE - INCLUDES ANY PORTABLE POWER REQUIREMENTS - INCLUDES CONSUMABLES (EX: HAND SOAP, TOILET PAPER, HAND TOWELS) - INCLUDES WASTE RECEPTACLE(S) | EA | 31-40+ |  |  |  | 21-30 |  |  |  | 1-20 |  |  |  | 1
113 | *HAND WASH STATIONS | EA | 51-60+ |  |  |  | 41-50 |  |  |  | 1-40 |  |  |  | 1
114 | *30 CU. YD. DUMPSTER | EA | 16-25+ |  |  |  | 11-15 |  |  |  | 1-10 |  |  |  | 1
One-Time Costs:
115 | Mobilization | EA | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1
116 | Demobilization | EA | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1
Please note: Assume all equipment requires full wrap around services, including daily fueling, service, and maintenance as required, as well as all consumables.
All items with an asterisk (*) must be GPS tagged and tracked.
All items marked with a plus (+) may have its listed quantity exceeded by the State, if so, the State will only be charged for the listed unit price in the Type I LSA Package.
Mobilization and demobilization fees are inclusive of the entire cost to mobilize the full package of requested items by section. i.e. It will cost x amount to mobilize the entire section of generators and accessories being requested.
Absolutely no additional PAX/Personnel should be added to this spreadsheet aside from what is already listed under the personnel section. Prices are the only thing to be added to this sheet.
Any additional items past the greatest number in the Type I column indicated by a plus sign will be subject to the per unit cost under the Additional Items by Unit section