May 13, 2025

**ADDENDUM NO. 01**

Your reference is directed to RFx Number 3000024576 for the Invitation to Bid (ITB) for the State of Louisiana – Roof Replacement - DOC, which is currently scheduled to open at 10:00 AM CT on 05/20/2025.

The following change is to be made to the referenced solicitation:

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

**The following are the vendor’s written inquiries received by the inquiry deadline date of May 06, 2025 and the State’s responses:**

**Vendor Inquiry 1.** Is it correct in asking for nails to be hand driven only?

**State’s Response:** Yes, the nails are to be hand driven only.

**Vendor Inquiry 2.** Is there a certain shingle type/mfg and color requested?

**State’s Response:** The Contractor shall match the shingle colors on the cover walk around building one.

**Vendor Inquiry 3.** Are the gutters staying as is and not being replaced?

**State’s Response:** The gutters are staying as they are.

**Vendor Inquiry 4.** Are the dormer's staying as is and not being replaced?

**State’s Response:** The dormers are staying as they are.

**Vendor Inquiry 5.** The vents seem to be in good shape. Are we keeping what we have or replacing those?

**State’s Response:** The vents are staying as they are.

**Vendor Inquiry 6.** Right now you have metal valleys, are we wanting to go back with ice/water "as well as" metal - or just ice/water in the valleys?

**State’s Response:** We will continue using metal valleys.

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

All else remains as on the original Invitation to Bid.

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

**This addendum is hereby officially made a part of the referenced SOLICITATION.**

**ACKNOWLEDGEMENT:** If you have already submitted your bid and this Addendum does not cause you to revise your bid, you should acknowledge receipt of this Addendum by identifying your business name and by signing where indicated. You may return this Acknowledgement by mail or delivery by hand or courier to: Office of State Procurement, 1201 N. 3rd Street, Ste. 2-160, Baton Rouge, LA 70802, or by fax to: (225) 342-9756. The State reserves the right to request a completed Acknowledgement at any time. Failure to execute an Acknowledgement shall not relieve the bidder from complying with the terms of its bid.

Addendum Acknowledged/No changes:

For: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ By: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**REVISION:** If you have already submitted your bid and this Addendum requires you to revise your bid, you must indicate any change(s) below, identify your business name and sign where shown. Revisions shall be delivered prior to bid opening by mail or delivery by hand or courier to: Office of State Procurement, 1201 N. 3rd Street, Ste. 2-160, Baton Rouge, LA 70802, or by fax to: (225) 342-9756, and indicate the RFx number and the bid opening date and time on the outside of the envelope for proper identification, or by fax to: (225) 342-9756. Electronic transmissions other than by fax are not being accepted at this time

**Revisions received after bid opening shall not be considered and you shall be held to your original bid.**

Revision:

For: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ By: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

By: Arkeith White

Office of State Procurement

Telephone No. 225-219-4207

Email: Arkeith.white@la.gov