**Scope of Work**

The Contractor shall furnish all necessary labor, materials, tools, equipment, and supervision to provide and install plumbing services for the following locations at the Louisiana Department of Veterans Affairs (DVA).

**Location:**

Louisiana War Veterans’ Home

4739 Hwy 10

Jackson, LA 70748

**Site Visit Contact:**

Shannon Sutton

225-634-4420

**Kitchen Area Specifications:**

The Contractor shall be responsible for the following:

* The removal of sink/fixtures
* Jackhammering the concrete to the point of the pipe that would need to be replaced.
* Hand digging the dirt from under the foundation
* Replacing the old pipe with new piping
* Repairing the concrete inside of the building by hand/machine mixing
* Repair any wall(s) that were damaged, and paint work
* Reset new plumbing fixtures and back to previous floor plan

**General Terms:**

* The Contractor shall be responsible for delivery and pickup of materials/supplies needed to complete project.
* Disposal of all materials, and debris shall be the responsibility of the Contractor.
* The Contractor shall comply with all safety standards, especially those pertaining to dust control inside of a food preparation/health care facility.