**Scope of Work:**

The Contractor shall provide all labor, materials, tools, and equipment necessary to pick up, pump oil, and tear down transformers containing PCB oil for the Louisiana Department of Health (LDH).

**Location:**

Central Louisiana State Hospital

242 W Shamrock Ave

Pineville, LA 71360

**Site Visit Contact**

Yosha Goudeau

(318) 644-1533

Yosha.goudeau@la.gov

**Specifications:**

The Contractor shall pick up, pump oil, and tear down transformers containing PCB oil.

There are a total of 15 transformers.

 11 of the transformers contain PCB oil.

3 – 167 KVA, McGraw

 2 – 100 KVA, ESCO

 1 – 100 KVA, GE

 2 -- 75 KVA, GE

 1 – 50 KVA, Westinghouse

 1 – 25 KVA, ATSCO

 1 – 15 KVA, Allis-Chalmers

The remaining four transformers are empty and shall by removed by the Contractor.

**General Notes/Terms:**

* The Contractor shall coordinate all work with the Agency.
* The Contractor shall be responsible for delivery and pickup of material/ supplies needed to complete project.