**Lafayette OMV A/C Repair**

**Location:**

Lafayette Office of Motor Vehicles

3241 NW Evangeline Thruway

Lafayette, LA 70507

**Scope of Work:**

To furnish all labor, materials, tools, equipment, and supplies necessary to remove and replace one A/C unit from the Lafayette Office of Motor Vehicles.

**Requirements:**

1. The Contractor shall remove existing 6-ton system, and dispose of in accordance with all Federal, State and local Codes.
2. The Contractor shall furnish and install one new Daikin 7.5 ton, A/C system, or equal.

If not bidding as spec, please indicate Make Bidding: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

1. The A/C system shall include one new Daikin Model #DX14XA0903AA air handler, or equal.

If not bidding as spec, please indicate Make/Model Bidding: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

1. The A/C system shall include one new Daikin Model #DX14XA0903AA, or equal, 7.5 ton straight cool condenser.

If not bidding as spec, please indicate Make/Model Bidding: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

1. The Contractor shall furnish and install all needed sheet metal transitions to adapt to existing returns.
2. The Contractor shall furnish and install one new thermostat to control area temperature.
3. The Contractor shall remove all debris resulting from project. A dumpster will not be provided.
4. Minimum 1 Year Warranty on all parts, compressor, and labor.