**Install Rooftop Exhaust Fans and Rooftop Intake Vents**

**Location:**

Louisiana Universities Marine Consortium

Marine Center Building

8124 Highway 56

Chauvin, LA 70344

**Scope of Work:**

To furnish all labor, materials, tools, equipment, and supplies necessary to install eight exhaust fans and six rooftop intake vents.

**Requirements:**

1. All equipment shall be replaced with same or equivalent to the listed equipment below.

If bidding other than the Make/Model shown below, please state Make/Model bidding:

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

1. The contractor shall remove existing equipment, eight exhaust fans and six rooftop fans, and dispose of in accordance with all Federal, State and local Codes.
2. The contractor shall install new equipment in accordance with all Federal, State, and local codes.
3. Installation to include electrical, plumbing, flashing, cowls, hoods, and duct work for the new equipment and ensuring proper functionality and compliance with all safety codes.
4. All electrical need for installation shall be replaced /repaired in accordance with the current National Electric Codes (NEC).
5. A Site visit is required by all potential bidders.
6. Turning off electricity prior to installation shall be coordinated with the Facility Maintenance Superintendent, Tim Alsobrooks.

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| EF# | Wing | Location | Model | Type | Brand |
| 11 | B Wing | Lady's Room | AE12433B6X | Exhaust Fan | Green Heck |
| 13 | B Wing | Men's Room | 4YC876 | Exhaust Fan | Green Heck |
| 17 | C Wing | Kevin's Lab | CUE-121-V6-4-X | Exhaust Fan | Green Heck |
| 19 | C Wing | Stephanie's Lab | R3F11205 | Intake | Green Heck |
| 20 | C Wing | Guilliam's Lab | DMUA14 | Intake | FloAire |
| 23 | B Wing | Serving Line | CUE-085-D | Hood Vent/exhaust fan | Green Heck |
| 28 | D Wing | Vermillion 1 | FGR-14X14-A-BS | Fresh Air Intake | Green Heck |
| 31 | D Wing | Vermillion 3 Bath | AIS-12-28-B | Exhaust Fan | Green Heck |
| 32 | D Wing | Vermillion 3 Shower | AS-12-420-A4-X | Exhaust Fan | Green Heck |
| 33 | D Wing | Cal 2 | FGR-14X14-A-BS | Fresh Air Intake | Green Heck |
| 42 | E Wing | Student Lounge | FGR-14X14-A-BS | Fresh Air Intake | Green Heck |
| 45 | E Wing | Pont 3 & 5 | FGR-14X14-A-BS | Fresh Air Intake | Green Heck |
| 47 | D Wing | Cal 7 & 9 | FGR-14X14-A-BS | Fresh Air Intake | Green Heck |
| 48 | D Wing | Pont 8 & 10 | FGR-14X14-A-BS | Fresh Air Intake | Green Heck |