Unit price shall include all labor, materials, equipment and associated fees to furnish and install evidence lockers.

**Brand:** Asset Tracer Intelligent Lockers or equal

**Dimensions:**

* Overall Dimensions: 74” H x 62” W x 18” D
* Floor Standing on 8” Base
* 18 total lockers
* Internal Locker Dimensions (+/-0.5”)
  + 2 lockers: 7.6” x 14” x 57.9”
  + 2 lockers: 7.6” x 14” x 38.2”
  + 4 lockers: 7.6” x 14” x 8.8”
  + 2 lockers: 7.6” x 14” x 18.6”
  + 8 lockers: 7.6” x 14” x 3.9”
* **Doors will correlate with the locker measurements above:**
  + Small 8 door – steel
  + Tall 2 door – steel
  + Medium 4 door – steel
  + Triple tall 2 door – steel
  + Double tall 2 door – steel

Specify Overall Dimensions Bidding: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Specify Bidding Floor Standing on 8” Base: Yes \_\_\_\_\_ No \_\_\_\_\_

Specify Internal Locker Dimensions Bidding:

* 2 lockers: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_
* 2 lockers: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_
* 4 lockers: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_
* 2 lockers: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_
* 8 lockers: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Color**: (Navy Blue, Tan/Grey)

Specify Locker Color Bidding: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Items to include the following:**

* **Power requirements** 
  + Terminal compartment
  + Draw @ peak: 3:3A
  + Expected Draw: 0.36A
  + Suggested # 110v 15a circuit
* Terminal for card readers and biometric read: (HID Badges)
* Prox. Card readers for HID badges
* Vendor will not need to supply badges
* Multi-biometric reader combining palm and face recognition
* Biometric reader software package
* Asset Tracer
  + RFID & Content Surveillance Technology
  + Monitor access with Advanced Analytics
  + Audit Capabilities
* Top, Slope, 3 full wide, assembly approximately: 60W x 18D x 07H
* Base, closed, full wide, assembly approximately: 20W x 15D x 08H

Specify Power Requirements Bidding: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Specify Bidding Terminal for Card Readers and Biometric Read: Yes: \_\_\_\_\_ No: \_\_\_\_\_\_

Specify Bidding Proxy Card Readers for HID Badges: Yes: \_\_\_\_\_\_ No: \_\_\_\_\_\_\_\_

Specify Bidding Palm and Face Recognition: Yes: \_\_\_\_\_\_ No: \_\_\_\_\_\_\_\_

Specify Biometric Reader Software Package Bidding: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Specify Asset Tracer Bidding: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Specify Top, Slope, 3 full wide assembly Bidding: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Specify Base, Closed, full wide assembly Bidding: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Software and Licenses:**

Yearly software license for asset tracer per terminal. Awarded vendor will provide software license for having access to the badge reader system on locker. Integration with Mark 43 is preferred but not required. System will need to be compatible with DPS’s existing HID badges.

Specify Bidding Integration with Mark 43: Yes: \_\_\_\_\_\_\_\_\_ No: \_\_\_\_\_\_\_\_\_

Specify Bidding Compatible with Existing HID Badges: Yes: \_\_\_\_\_\_ No: \_\_\_\_\_\_\_\_

Specify Software and Licensing Bidding: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Warranty:**

The awarded vendor must include standard warranty.

Specify Warranty Bidding: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Installation:**

Awarded vendor shall be responsible for fully assembling, putting in place, plugging in, connecting to terminal/software and confirming fully correct functionality of the locker system.

Specify Installation Bidding: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**On-Site Training:**

Training is onsite with the delivery and installation (one-time) then trouble shooting will be remote within 24 hours. Awarded vendor would need to train between 4-10 employees.

Specify On-Site Training Bidding: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Site Location:**

Address for delivery: Troop B:

2101 I-10 Service Rd, Kenner, LA 70065



