**\*\*If bidding other than specified, please provide manufacturer’s specs for “or equal” items. \*\***

**Scope of Work:**

The Contractor shall furnish all labor, tools, equipment, & materials to remove current fuel pump units & replace with new single side load dispensers with electronic displays for the Louisiana Department of Corrections (DOC).

**Location:**

Raymond LaBorde Correctional Center

1630 Prison Road

Cottonport, LA 71327

**Site Contacts:**

James Desjardine – 318-876-4245, Email- [james.desjardine@la.gov](mailto:james.desjardine@la.gov)

Josh Dauzat – 318-876-4246, Email – [joshua.dauzat@la.gov](mailto:joshua.dauzat@la.gov)

**Specifications:**

* The Contractor shall remove three existing Gilbarco #6253540006 fuel pumps located at the AS&R building. Agency shall be responsible for disposing of existing pumps once moved.
* The Contractor shall provide and install three new **Atlas X #9853GX DF Single Side Load** or equivalent fuel pumps.

**Specify Fuel Pumps Bidding**: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**General Terms:**

* Before entering the facility grounds to commence work, the Contractor shall check in with the maintenance department every day.
* Work hours are to be 7:30 AM to 3:30 PM, Monday – Friday, unless approved by the Maintenance Manager, James Desjardine.
* All work shall be performed in a workmanlike manner according to industry standard, and meet all code requirements, federal, state and local by the Contractor.
* The Contractor’s representatives shall follow all policies and procedures while performing work on facility grounds.
* All waste/debris is removed from the site daily and disposed of properly with the exception of any equipment that is accounted for through property control measures by the Contractor.
* All waste/debris shall be assessed by the appropriate site staff before it is removed from the site by the Contractor.