**Scope of Work**

The Contractor shall provide all labor and materials to furnish and install two rolling sheet doors for the Louisiana Division of Administration (DOA).

**Location:**

Default STG LOC

1635 Foss Street

Baton Rouge, LA 70802

**Site Visit Contact:**

Adrien Gill

(225) 342-7860

**Specifications:**

* Doors shall be approximately 12’w x 12’h with electric operators and chains as a backup.
* Color: white or off-white
* Face mount to existing steel.
* Doors will not have headers.
* Doors shall be minimum of 90 mph wind loaded quality.
* All materials and framing charges shall be included in the Contractor’s bid.
* All electrical and control wiring will not be required to be done by the Contractor.

**General Terms/Conditions:**

* The Contractor shall provide a detailed estimate, including labor, materials, and estimated completion time.
* Work will be inspected upon completion to ensure it meets the required standards.
* The Contractor shall schedule work to minimize disruptions to facility operations.
* The Contractor shall maintain a clean and safe work environment during the project.