**Scope of Work:**

The Contractor shall provide all labor, materials, tools, and equipment necessary to construct a 25 x 102 x 15 galvanized single slope building for the Louisiana Department of Military Affairs (DMA).

**Location:**

DMA Lang Gillis Long Center

Building 225

5445 Point Clair RD

Carville, LA 70721-2119

**Site Visit Contact**

MAJ Scott Mucci

(504) 278-8618

**Specifications:**

The Contractor shall perform the following:

* + Verify all dimensions in the plan set and provide shop drawings for approval by owner prior to fabrication.
  + Take all precautions necessary to prevent damages when delivering materials to site and provide covering to prevent rusting.
  + The Contractor shall provide a storage location for all materials stored on site during the term length of the contract. The location will be approved by the Project Manager prior to delivery.
  + The awning shall be fabricated in accordance with the attached plans. Overall dimensions are 100’ wide, 24’ deep, and 17’ tall at the highest point.
  + The roof shall have a 1 on 12 slope and consists of 26ga galvalume roofing panels to be pre-cut and sized to the structure.

**General Notes/Terms:**

* The work shall be completed within 60 days.
* Hours of operation for deliveries are Monday-Sunday 7:00 AM-5:30 PM. The Contractor shall deliver to the freight gate #2.
* The Contractor shall confirm a storage location for all materials stored on site during the term length of the contract. The location will be approved by the Project Manager prior to delivering.
* The Contractor shall inform the Project Manager any potential delays in the fabrication and delivery of the materials.
* The owner has completed all necessary concrete work in preparation for installation of the parking cover.