September 24, 2025

ADDENDUM NO. 01

Your reference is directed to RFx Number 3000025432 for the Invitation to Bid (ITB) for the State of Louisiana – Classroom Repairs – DMA, which is currently scheduled to open at 10:00 AM CT on 10/07/2025.

The following changes are to be made to the referenced solicitation:

******************************************************************************

Attachment C – Specifications currently reads:

Wall De-Construction and Construction:

- Hardware. See images 5, 6, & 7.

- Paint door jams and new doors Sherman Williams 6868 Real Red.

Attachment C – Specifications changed to read:

Wall De-Construction and Construction:

- Remove and dispose of temporary wall seen in image 8.

- Rebuild 2x4 Wall, Finished with ½ inch Floated, taped, and textured sheetrock.

- The Wall will be painted in Sherman Williams Repose Gray.

Attachment C – Specifications changed to include:

Door Replacement

- Remove existing door cores (Door Frame Remains) and replace them with new fire rated metal doors and new hardware. See images 5, 6, 7.

- Paint door jams and new doors Sherman Williams 6868 Real Red.

******************************************************************************

All else remains as on original Invitation to Bid.

******************************************************************************

This addendum is hereby officially made a part of the referenced SOLICITATION.

ACKNOWLEDGEMENT:  If you have already submitted your bid and this Addendum does not cause you to revise your bid, you should acknowledge receipt of this Addendum by identifying your business name and by signing where indicated.  You may return this Acknowledgement by mail or delivery by hand or courier to:  Office of State Procurement, 1201 N. 3rd Street, Ste. 2-160, Baton Rouge, LA  70802, or by fax to:  (225) 342-9756.  The State reserves the right to request a completed Acknowledgement at any time.  Failure to execute an Acknowledgement shall not relieve the bidder from complying with the terms of its bid.

Addendum Acknowledged/No changes:

For:  ________________________  By:  __________________________

REVISION:  If you have already submitted your bid and this Addendum requires you to revise your bid, you must indicate any change(s) below, identify your business name and sign where shown.  Revisions shall be delivered prior to bid opening by mail or delivery by hand or courier to:  Office of State Procurement, 1201 N. 3rd Street, Ste. 2-160, Baton Rouge, LA  70802, or by fax to:  (225) 342-9756, and indicate the RFx number and the bid opening date and time on the outside of the envelope for proper identification, or by fax to:  (225) 342-9756.  Electronic transmissions other than by fax are not being accepted at this time

Revisions received after bid opening shall not be considered and you shall be held to your original bid.

Revision:

For:  ________________________  By:  __________________________

By:	Arkeith White

Office of State Procurement

Telephone No. 225-219-4207

Email:  Arkeith.white@la.gov