Scope of Work

The Contractor shall furnish labor and materials to install 14 Motorized Roller Shades for the LA University Marine Consortium (LUMCON).

Site Location

LUMCON Blue Works Houma

335 Dickson Rd

Houma, La 70363

Lumcon Contact:

Dee-Dee St. Clergy

(985) 876-8997 or (985) 860-7604

dstclergy@lumcon.edu

Specifications

The Contractor shall be responsible for the following:

Draper Motorized RTS Single Roller Shades

- 14 roller shades of approximate size 125” X 144” (each) – some sections being smaller.

- The shades shall raise/lower electronically and be controllable from the reception desk in the atrium.

- The shades shall have the option to all raise/lower as a group (14 sections) and also have the option to raise/lower in two separate sections (4 section & 10 section groups) if needed.

- The shade material shall be Draper E screen 1% or equal to match existing shades in room 107 and 221. Fascia color shall match existing color as well.

Specify Brand/Model Bidding: ________________

- The shades shall be attached to the building by clamping or drilling holes into the existing I – beams not the window walls. A Mag-drill shall be used & holes shall be at least 1 – 1 ½” away from the column edges.

- All measurements shall be verified by the Contractor.

General Terms and Conditions

• 	All work shall be performed Monday through Friday from 7:00 AM to 4:00 PM.  After hours upon request.

• The Contractor shall provide their own scissor lift and protect floors from any damage.

• The Contractor's representatives shall follow all agency policy and procedures while performing work on facility grounds.

- All waste and debris shall be removed from the site daily and disposed of properly by the Contractor.

- The Contractor shall touch up paint where needed. Paint shall be provided by Agency.

- The Contractor shall restore all areas disturbed by their work activity to pre-work Contractor conditions.