**Scope of Work:**

The Contractor shall furnish all labor, commercial grade materials, tools, and equipment necessary to remove and replace the concrete pavement at the Hammond Readiness Center for the Department of Military Affairs (DMA).

**Location:**

Hammond Airport Readiness Center

1501 Industrial Park Road

Hammond, LA 70401

**DMA Contact:**

Chuck Finch

(985)-205-7256

charles.g.finch.nfg@army.mil

**Specifications:**

The Contractor shall be responsible for the following:

* Provide a safety fence around the area to be demolished and replaced.
* Demo and remove the existing terrazzo and concrete. Remove debris from the site.
* Provide additional fill if needed. Compact fill and install or lay moisture barrier.
* Install concrete forms, 6” x 6” 6-gauge wire mesh, and dowls where needed to secure the new slab to the existing curb at the lighting bollards.
* Place or pour new concrete, 6” in thickness, 2,500 – 3,00 PSI, place expansion joints every 10’. Slope concrete away from the front entrance and toward the grassy area. Concrete shall be broom finished.

**General Information:**

* Hours of operation Tuesday- Friday, 7:00 AM to 5:30 PM and closed on all recognized state and federal holidays.
* The Contractor shall be responsible to provide storage containers. If an onsite storage area is required, the Contractor must confirm a storage location for any materials, fixtures, equipment, trailers, etc. stored on site during the term length of the contract. The location shall be approved by the Project Manager during the pre- construction meeting.
* The Contractor shall contact, prior to mobilization and demobilization, the Project Manager for staging and for satisfactory completion.
* The Contractor shall be responsible for disposal and storage of all materials being removed or installed throughout the project.
* The Contractor shall provide warranty information for the materials used in completing this project.
* The Contractor shall provide a construction work schedule (Gnant like) 48 hours prior to start of work detailing each task of work.
* All specification sheets and submittals must be pre-approved by the Project Manager prior to ordering.
* The Contractor shall warranty their workmanship and the completed project for a one year period. One year period starts the date of the filing of the certificate of completion.
* The Contractor shall provide all associated warranty documents to the Project Manager upon completion and final payment.