Scope of Work:

The Contractor shall provide all labor, materials, equipment, and tools to repair four basketball courts for the Department of Corrections (DOC).

Location:

Rayburn Correction Center

27268 Hwy 21 North

Angie, Louisiana 70426

DOC Contact:

Hugh Magee

(985) 661-6414

Specifications:

The Contractor shall be responsible for the following:

- 2” Asphalt Hotmix overlay on four basketball court areas, also including SS-1 Tack coat

- 50’ x 95’ approximately 4750 SF. X three courts

- 50’ x 100’ approximately 5000 SF X one courts

General Terms:

- The Contractor shall be responsible for delivery and pickup of all material and supplies for job.

- Lay down site will be provided by Rayburn Correction Center.

- Disposal of all materials, and debris shall be the responsibility of the Contractor.

- The Contractor shall coordinate all work with the agency. This includes delivery and storage.