**If bidding other than specified, please provide manufacturer’s specs for “or equal” items. **

Scope of Work:

The Contractor shall furnish all labor, tools, equipment, & materials to remove current fuel pump units & replace with new single side load dispensers with electronic displays for the Louisiana Department of Corrections (DOC).

Location:

Raymond LaBorde Correctional Center

1630 Prison Road

Cottonport, LA 71327

Site Contacts:

James Desjardine – 318-876-4245, Email- james.desjardine@la.gov

Josh Dauzat – 318-876-4246, Email – joshua.dauzat@la.gov

Specifications:

- The Contractor shall remove three existing Gilbarco #6253540006 fuel pumps located at the AS&R building. Agency shall be responsible for disposing of existing pumps once moved.

- The Contractor shall provide and install three new Atlas X #9853GX DF Single Side Load or equivalent fuel pumps.

Specify Brand/Model Bidding: ____________________________

General Terms:

- Before entering the facility grounds to commence work, the Contractor shall check in with the maintenance department every day.

- Work hours are to be 7:30 AM to 3:30 PM, Monday – Friday, unless approved by the Maintenance Manager, James Desjardine.

- All work shall be performed in a workmanlike manner according to industry standard, and meet all code requirements, federal, state and local by the Contractor.

- The Contractor’s representatives shall follow all policies and procedures while performing work on facility grounds.

- All waste/debris is removed from the site daily and disposed of properly with the exception of any equipment that is accounted for through property control measures by the Contractor.

- All waste/debris shall be assessed by the appropriate site staff before it is removed from the site by the Contractor.