November 24, 2025

ADDENDUM NO. 01

Your reference is directed to RFx Number 3000025609 for the Invitation to Bid (ITB) for the State of Louisiana – Storage Tank Repair – DMA, which is currently scheduled to open at 10:00 AM CT on 11/25/2025.

The following changes are to be made to the referenced solicitation:

******************************************************************************

The following are the bidder’s written inquiries received by the inquiry deadline date of November 11, 2025, and the State’s responses:

Vendor Question 1. Will you please provide any available as-builts or any other drawings that you might have related to the tanks/piping that have been identified to receive new coatings?

State’s Response: There are no drawings available.

Vendor Question 2. Will you please provide model information for the interstice monitoring gauges to be installed?

State’s Response: Krueger Sentry Leak Gauge – Type K or Equal

Vendor Question 3. Will you also provide descriptions for D6, D9, D19, D20, D22 – Deficiency codes?

State’s Response: Please see revised Attachment C – Specifications

******************************************************************************

Attachment C – Specifications changed to include:

- The Contractor shall install collusion barriers to protect from vehicle impact damage. Deficient tanks are identified in the ATIR Table 3 as D6.

- The Contractor shall provide cathodic protection for components of tank system that are in direct contact with soil. Deficient tanks are identified in the ATIR Table 3 as D19.

- The Contractor shall repair standard electrical system and discontinue use of batteries sitting on the ground adjacent to the tank system. Deficient tanks are identified in the ATIR Table 3 as D20.

- The Contractor shall provide overhead lighting to assist operators in identifying spills occurring overnight. Deficient tanks are identified in the ATIR Table 3 as D22.

******************************************************************************

RFx Currently Reads: Scheduled to open at 10:00 AM on November 25, 2025.

RFx Changed to Read: Scheduled to open at 10:00 AM on December 2, 2025.

******************************************************************************

All else remains as is on original Invitation to Bid.

******************************************************************************

This addendum is hereby officially made a part of the referenced SOLICITATION.

ACKNOWLEDGEMENT: If you have already submitted your bid and this Addendum does not cause you to revise your bid, you should acknowledge receipt of this Addendum by identifying your business name and by signing where indicated.  You may return this Acknowledgement by mail or delivery by hand or courier to: Office of State Procurement, 1201 N. 3rd Street, Ste. 2-160, Baton Rouge, LA  70802, or by fax to: (225) 342-9756.  The State reserves the right to request a completed Acknowledgement at any time. Failure to execute an Acknowledgement shall not relieve the bidder from complying with the terms of its bid.

Addendum Acknowledged/No changes:

For:  ________________________  By:  __________________________

REVISION:  If you have already submitted your bid and this Addendum requires you to revise your bid, you must indicate any change(s) below, identify your business name and sign where shown.  Revisions shall be delivered prior to bid opening by mail or delivery by hand or courier to:  Office of State Procurement, 1201 N. 3rd Street, Ste. 2-160, Baton Rouge, LA  70802, or by fax to:  (225) 342-9756, and indicate the RFx number and the bid opening date and time on the outside of the envelope for proper identification, or by fax to:  (225) 342-9756.  Electronic transmissions other than by fax are not being accepted at this time

Revisions received after bid opening shall not be considered and you shall be held to your original bid.

Revision:

For: ________________________  By:  __________________________

By:	Arkeith White

Office of State Procurement

Telephone No. 225-219-4207

Email:  Arkeith.white@la.gov