State of Louisiana

Office of State Procurement

Jeff Landry

Governor

Taylor F. Barras

Commissioner of Administration

Division of Administration

1201 N. Third Street, Suite 2-160

Baton Rouge, Louisiana 70802-5243

Phone (225) 342-8010

Fax (225) 342-975

December 1, 2025

ADDENDUM NO. 02

Your reference is directed to RFx Number 3000025609 for the Invitation to Bid (ITB) for the State of Louisiana – Storage Tank Repair – DMA, which is currently scheduled to open at 10:00 AM CT on 12/02/2025.

The following changes are to be made to the referenced solicitation:

******************************************************************************

Attachment C – Specifications changed to include:

- Spill containers shall hold at least 5 gallons and be free of combustible materials. The Contractor shall retrofit spill containers to meet requirements and/or remove combustible material. Deficient tanks are identified in the ATIR Table 3 as D12.

******************************************************************************

RFx Currently Reads: Scheduled to open at 10:00 AM on December 2, 2025.

RFx Changed to Read: Scheduled to open at 10:00 AM on December 9, 2025.

******************************************************************************

All else remains as is on original Invitation to Bid.

******************************************************************************

This addendum is hereby officially made a part of the referenced SOLICITATION.

ACKNOWLEDGEMENT: If you have already submitted your bid and this Addendum does not cause you to revise your bid, you should acknowledge receipt of this Addendum by identifying your business name and by signing where indicated.  You may return this Acknowledgement by mail or delivery by hand or courier to: Office of State Procurement, 1201 N. 3rd Street, Ste. 2-160, Baton Rouge, LA  70802, or by fax to: (225) 342-9756.  The State reserves the right to request a completed Acknowledgement at any time. Failure to execute an Acknowledgement shall not relieve the bidder from complying with the terms of its bid.

Addendum Acknowledged/No changes:

For:  ________________________  By:  __________________________

REVISION:  If you have already submitted your bid and this Addendum requires you to revise your bid, you must indicate any change(s) below, identify your business name and sign where shown.  Revisions shall be delivered prior to bid opening by mail or delivery by hand or courier to:  Office of State Procurement, 1201 N. 3rd Street, Ste. 2-160, Baton Rouge, LA  70802, or by fax to:  (225) 342-9756, and indicate the RFx number and the bid opening date and time on the outside of the envelope for proper identification, or by fax to:  (225) 342-9756.  Electronic transmissions other than by fax are not being accepted at this time

Revisions received after bid opening shall not be considered and you shall be held to your original bid.

Revision:

For: ________________________  By:  __________________________

By:	Arkeith White

Office of State Procurement

Telephone No. 225-219-4207

Email:  Arkeith.white@la.gov