Attachment B - Specifications

High Pressure Analytical Gases

Louisiana Department of Environmental Quality (LDEQ)

RFx #3000025563

All gases must meet the purity requirements listed in Attachment C - Price Sheet. LDEQ personnel will determine if the gas meets these standards.

The Vendor will be responsible for cluster change-out, including connecting and disconnecting to high-pressure manifold systems.

The Vendor shall make delivery within 5 days after receipt of order (ARO).

Each gas cluster shall require a Certificate of Analysis.

Due to limited space, all clusters and individual tanks shall be delivered and picked up by a vehicle no larger than a tandem-axel truck (No Semi-Tractor Trailers will be allowed).

Deliveries to be made to the following address:

LDEQ Air Field Services/Air Lab

5825 Florida Blvd.

Baton Rouge, LA 70806