**If bidding other than specified, please provide manufacturer’s specs for “or equal” items. **

Scope of Work:

The Contractor shall furnish all labor, materials, tools, and equipment necessary to remove and fabricate standing seam metal panels and corner post for the New Orleans Center for Creative Arts (NOCCA).

Location:

New Orleans Center for Creative Arts (NOCCA)

2800 Chartres St.

New Orleans, LA 70117

Agency Contact

Joseph Johnson

(504) 940-2813

Specifications:

The Contractor shall be responsible for the following:

- Detach and reset surveillance camera & conduit.

- Remove and replace metal outside corner post.

- Remove and replace steel rake/gable trim-color finish.

- Fabricate and install Cee-Lock or Equal siding for the surface area approximately 90’.

Specify Brand/Model Bidding: ____________________

Any defects found during the removal are installation of the damaged wall shall not be replaced or repaired without prior approval from the Office of State Purchasing.

General Terms/Conditions:

- All work being performed is required during normal business hours. Monday through Friday 7:30 A.M. - 4:00 P.M. excluding agency holidays.

- Building to be left in a secure manner at the end of each workday by the Contractor.

- Work to be performed in a workman like manner according to standard, and meet all code requirements, federal, state, and local.

- Workmanship shall be covered by a one-year warranty for installation work.

- The Contractor representatives must follow all the Agency policy and procedures while performing work on facility grounds.

- All waste and debris are to be removed from the site daily and disposed of properly. All waste/debris must be assessed by the appropriate site staff before it is removed from the site by the Contractor.

- NOCCA’s bathroom facilities are not available for contractor use and the Contractor shall provide appropriate facilities for their staff.