State of Louisiana

Office of State Procurement

Jeff Landry

Governor

Taylor F. Barras

Commissioner of Administration

Division of Administration

1201 N. Third Street, Suite 2-160

Baton Rouge, Louisiana 70802-5243

Phone (225) 342-8010

Fax (225) 342-9756

February 23, 2026

ADDENDUM NO. 02

Your reference is directed to RFx Number 3000025847 for the Invitation to Bid (ITB) for the State of Louisiana – Pumps and Drives - DOC-LSP, which is currently scheduled to open at 10:00 AM CT on February 24, 2026.

******************************************************************************

Questions from the Vendor and State’s Responses:

Vendor Question 1. We need to know about the Crown pump size with flowrate (GPM) and head (feet).

State’s Response: The flowrate is 320 GPM and the head is 150 feet. The specifications have been revised to include this information.

Vendor Question 2. Is this for a new application or replacing existing equipment?

State’s Response: The agency will be using these items to replace existing equipment.

Vendor Question 3. Is the owner/operator open to alternates?

State’s Response: Yes, alternate brands and models that meet the requirements specified in the solicitation will be considered. Regardless of the brand and model being bid, Lines 1 and 2 must be compatible and function together.

******************************************************************************

The following changes are to be made to the referenced solicitation:

******************************************************************************

RFx Currently Reads: Scheduled to open at 10:00 AM on February 24,2026.

RFx Changed to Read: Scheduled to open at 10:00 AM on March 3, 2026.

******************************************************************************

Line 1 of RFx changed to include:   Flowrate: 320 GPM

Head: 150 feet

******************************************************************************

This addendum is hereby officially made a part of the referenced SOLICITATION.

ACKNOWLEDGEMENT:  If you have already submitted your bid and this Addendum does not cause you to revise your bid, you should acknowledge receipt of this Addendum by identifying your business name and by signing where indicated.  You may return this Acknowledgement by mail or delivery by hand or courier to:  Office of State Procurement, 1201 N. 3rd Street, Ste. 2-160, Baton Rouge, LA  70802, or by fax to:  (225) 342-9756.  The State reserves the right to request a completed Acknowledgement at any time.  Failure to execute an Acknowledgement shall not relieve the bidder from complying with the terms of its bid.

Addendum Acknowledged/No changes:

For:  ________________________  By:  __________________________

REVISION:  If you have already submitted your bid and this Addendum requires you to revise your bid, you must indicate any change(s) below, identify your business name and sign where shown.  Revisions shall be delivered prior to bid opening by mail or delivery by hand or courier to:  Office of State Procurement, 1201 N. 3rd Street, Ste. 2-160, Baton Rouge, LA  70802, or by fax to:  (225) 342-9756, and indicate the RFx number and the bid opening date and time on the outside of the envelope for proper identification, or by fax to:  (225) 342-9756.  Electronic transmissions other than by fax are not being accepted at this time.

Revisions received after bid opening shall not be considered and you shall be held to your original bid.

Revision:

For:  ________________________  By:  __________________________

By:	Damone Duncan

Office of State Procurement

Telephone No. 225-342-8066

Email:  Damone.Duncan2@la.gov