State of Louisiana

Office of State Procurement

Jeff Landry

Governor

Taylor F. Barras

Commissioner of Administration

Division of Administration

1201 N. Third Street, Suite 2-160

Baton Rouge, Louisiana 70802-5243

Phone (225) 342-8010

Fax (225) 342-9756

March 2, 2026

ADDENDUM NO. 03

Your reference is directed to RFx Number 3000025847 for the Invitation to Bid (ITB) for the State of Louisiana – Pumps and Drives – DOC-LSP which is currently scheduled to open at 10:00 AM CT on 03/03/2026.

*****************************************************************************:

Questions from the Vendor and State’s Responses:

Vendor Question 1. Is the specified frame size for the 40 HP motor - 326T- correct, or should the required configuration be a 324T frame?

State’s Response: The end user has confirmed that the correct frame size for the 40 HP motor is 326T.

******************************************************************************

The following changes are to be made to the referenced solicitation:

******************************************************************************

RFx currently reads: Scheduled to open at 10:00 am on March 03, 2026.

RFx changed to read: Scheduled to open at 10:00 am on March 10,2026.

******************************************************************************

Line 1 of RFx currently reads: Part: 6C08D-0013B-0013B-031 or equal.

Line 1 of RFx changed to read: Part: 6C08D-0013B-031 or equal.

******************************************************************************

Line 2 of RFx currently reads: 3HP speed drive

Line 2 of RFx changed to read: 3 phase VFD - 40 HP motor

This addendum is hereby officially made a part of the referenced SOLICITATION.

ACKNOWLEDGEMENT:  If you have already submitted your bid and this Addendum does not cause you to revise your bid, you should acknowledge receipt of this Addendum by identifying your business name and by signing where indicated.  You may return this Acknowledgement by mail or delivery by hand or courier to:  Office of State Procurement, 1201 N. 3rd Street, Ste. 2-160, Baton Rouge, LA  70802, or by fax to:  (225) 342-9756.  The State reserves the right to request a completed Acknowledgement at any time.  Failure to execute an Acknowledgement shall not relieve the bidder from complying with the terms of its bid.

Addendum Acknowledged/No changes:

For:  ________________________  By:  __________________________

REVISION:  If you have already submitted your bid and this Addendum requires you to revise your bid, you must indicate any change(s) below, identify your business name and sign where shown.  Revisions shall be delivered prior to bid opening by mail or delivery by hand or courier to:  Office of State Procurement, 1201 N. 3rd Street, Ste. 2-160, Baton Rouge, LA  70802, or by fax to:  (225) 342-9756, and indicate the RFx number and the bid opening date and time on the outside of the envelope for proper identification.  Electronic transmissions other than by fax are not being accepted at this time

Revisions received after bid opening shall not be considered and you shall be held to your original bid.

Revision:

For:  ________________________  By:  __________________________

By:	Damone Duncan

Office of State Procurement

Telephone No. 225-342-8066

Email:  Damone.Duncan2@La.gov