Scope of Work

Location: 100 Pinecrest Dr.

Pineville, LA. 71360

Description: Design and create hydraulic placards for each sprinkler system on grounds. Perform a 5-year internal inspection and flush of each sprinkler system on the grounds. There are 42 systems covering 46 buildings. Six of these systems also have an exterior loop that is charged with antifreeze that will need to be recharged after flushing and inspection.

Contractor shall:

- Design and install hydraulic placards for each sprinkler system at facility to provide all information required by NFPA.

- Perform internal flush and internal inspection of each system at facility as required by NFPA 25.

- Recharge six exterior loops with antifreeze to specifications.

- Coordinate with fire alarm administrator (Johnson Controls) and facility maintenance daily for system shutdown while work is being performed.

- Provide and replace any outdated gauges on the sprinkler system as needed.

- Not leave a building in fire watch status more than 24 hrs at a time.

- Must retag each system after inspection and installation of placard is complete.

Mandatory site visit required. Call the Facility Assistant Maintenance Manager Shannon Todd Aymond at 318-641-2236 to schedule.