Scope of Work:

The Contractor shall supply all labor, equipment, and materials to remove and install flooring for the Department of Public Safety (DPS).

Location:

290 E. Airport Ave, Building A

Baton Rouge, LA 70806

Agency Contact:

Sgt. Kirk Thibodeaux

(225) 268-4799

Specifications:

The Contractor shall be responsible for the following:

Flooring System Requirements

• Double broadcast quartz system with chemical-resistant epoxy or polyaspartic coating

• Slip-resistant surface

• Resistant to chemical reactions from vehicle fluids

• No peeling or chipping

• Must withstand oil, dirt, heavy foot and vehicle traffic

• Easy to clean and low maintenance

Surface Preparation

• Complete removal of the existing floor coating to expose the original concrete

• Removal of existing joint filler and replacement with polyurethane joint filler

General Terms:

- All corrections for work that is unsatisfactory shall be corrected at the vendor’s expense and must be completed satisfactorily before approval and final payment is made.

- All work shall conform to the requirements of all laws and ordinances in force in the locality in which the work is performed.

- The Contractor shall be fully qualified under any state or local licensing law for contractors in effect at the time and at the location of the work. All work shall be undertaken by experienced workers with proper personal protective equipment using necessary procedures to maintain workplace safety.