State of Louisiana

Office of State Procurement

Jeff Landry

Governor

Taylor F. Barras

Commissioner of Administration

Division of Administration

1201 N. Third Street, Suite 2-160

Baton Rouge, Louisiana 70802-5243

Phone (225) 342-8010

Fax (225) 342-9756

March 23, 2026

Addendum No. 02

Your reference is directed to RFx Number 3000025965 for the Invitation to Bid (ITB) for the State of Louisiana – Emergency Generators and KVA Transformers, which is currently scheduled to open at 10:00 AM CT on 03/31/2026.

The following are the Vendors’ Inquiries received by the deadline date of 03/24/2026 and the State’s Responses:

Vendor’s Inquiry #1: For pricing purposes, should generator rentals be assumed as single-shift (8 hours per day) or continuous operation (24 hours per day)? Please confirm whether the daily, weekly, and monthly rental rates are expected to cover 24/7 usage.

State’s Response #1: Continuous operation 24 hours per day.

Vendor’s Inquiry #2: Attachment C includes a line item for diesel fuel priced per gallon. Should bidders also include pricing for fuel delivery resources such as bobtail trucks and fuel truck drivers, or is the State expecting fuel pricing only, exclusive of delivery labor and equipment?

State’s Response #2: Whatever the cost is to provide wrap around service to the generator for fuel, all inclusive

Vendor’s Inquiry #3: For Item 27, “Rental of Power Cords, High Voltage,” can the State clarify the expected standard length (e.g., 50 ft, 100 ft, or other) and voltage/amperage ratings to be assumed for pricing?

State’s Response #3: 100FT and expect the highest need to be filled so all the way up to a 2MW Power Station

Vendor’s Inquiry #4: When extended runtime is required, should vendors assume the provision of external fuel tanks as part of the generator rental, or should additional fuel tanks be priced separately under ancillary equipment?

State’s Response #4: Included in the rental.

Vendor’s Inquiry #5: Attachment 8958800-03 Price List (Lines 4-25): The bid price list includes a line for daily/weekly/monthly rental rates for each generator size. Generator rental rates can be structured based on hours of usage (Single shift 40 hour per week/Double shift 80 hours per week/Triple shift Over 80 hours per week). Would you like the rental rates to based on unlimited usages (Triple Shift)? Or should they be broken down into shift rate categories as offered by the bidder?

State’s Response #5: See State’s Response #1.

Vendor’s Inquiry #6: Attachment 895880-03 Price List (Line 28 & 29): Lines 28 & 29 on the bid price list do not specify cable size requested for bid. Can you please specify the size of cable to price on the bid (IE 4/0)?

State’s Response #6: See State’s Response #3.

All else remains as on original Invitation to Bid.

This addendum is hereby officially made a part of the referenced solicitation.

Acknowledgement: If you have already submitted your bid and this Addendum does not cause you to revise your bid, you should acknowledge receipt of this Addendum by identifying your business name and by signing where indicated.  You may return this Acknowledgement by mail or delivery by hand or courier to: Office of State Procurement, 1201 N. 3rd Street, Ste. 2-160, Baton Rouge, LA  70802, or by fax to: (225) 342-9756.  The State reserves the right to request a completed Acknowledgement at any time.  Failure to execute an Acknowledgement shall not relieve the bidder from complying with the terms of its bid.

Addendum Acknowledged/No changes:

For:                                               By:

Revision: If you have already submitted your bid and this Addendum requires you to revise your bid, you must indicate any change(s) below, identify your business name and sign where shown.  Revisions shall be delivered prior to bid opening by mail or delivery by hand or courier to: Office of State Procurement, 1201 N. 3rd Street, Ste. 2-160, Baton Rouge, LA  70802, or by fax to: (225) 342-9756, and indicate the RFx number and the bid opening date and time on the outside of the envelope for proper identification.  Electronic transmissions other than by fax are not being accepted at this time.

Revisions received after bid opening shall not be considered and you shall be held to your original bid.

Revision:

For:                                              By:

By:	Tedrus Paul

Office of State Procurement

Telephone No. 225-342-8047

Email:  Tedrus.Paul@la.gov