Attachment B – Specifications

RFx: 3000026048

Remediation and Emergency Services

Objectives, Overview, and General Information

Objectives & Goals

- The Office of Risk Management (ORM) administers the risk management program for the State of Louisiana (the State). The State of Louisiana intends to establish contract(s) with one or more qualified Contractors to provide remediation and emergency services on an as-needed basis, per the terms, conditions, and specifications in this Invitation to Bid (ITB).

- The State insures approximately 8,000 buildings and has Agencies with business personal property (aka contents) in about 2,300 leased spaces. The Self-Insurance Program encompasses a diverse range of structures, construction types, and occupancy categories. For example, buildings may include single-story offices, storefront properties, multi-story commercial office buildings, large sports arenas, university facilities, prisons, and medical facilities.

- The State seeks a responsive, responsible, qualified, knowledgeable, and experienced Contractor(s) to provide remediation services to all its Departments, Agencies, Boards, Higher Education Facilities, and Commissions. These services shall be provided throughout the entire State of Louisiana.

  - The Contractor shall have the staff, equipment, and material resources to respond to remediation service requests from all State entities.

- The contents of this ITB and all provisions of the awarded Contractor’s submittal shall be considered the contract.

- The goals and objectives of this ITB will be to:

  - Provide consistency for remediation services used by the State.

  - Provide pre-positioned remediation contracts when services are related to a claim under the Self-Insurance Program.

  - Provide pre-positioned remediation contracts available to Agencies for remediation work that is not claim-related, should they wish to use the services.

  - Provide pre-positioned remediation contracts for both Disaster Events and Non-Disaster Events.

  - Obtain remediation services:

    - to stabilize affected buildings and/or contents.

    - to prevent additional secondary damage from occurring.

    - for fire, smoke, flood, sewer back-ups, water damage, etc., 24 hours, 7 days a week, 365 days a year for the State.

    - provided by the Contractor that is knowledgeable and experienced about the science of water remediation, such as understanding how to calculate the number of air scrubbers or negative air machines needed based on the size of the affected area and the required air changes per hour; trained staff that is experienced in applied structural drying (ASD); and

    - to resume normal facility operations promptly.

Definitions

The terms below are defined as follows for this ITB.

- Disaster Event – This is a presidentially declared disaster at the time of the services.  Examples provided include, but are not limited to, hurricanes, floods, or tornadoes.

- Non-Disaster Event – This can be a local or regional occurrence, which may affect one building or multiple buildings/facilities. Non-disaster event examples include, but are not limited to, windstorms, flooding, freezes, fires, tornadoes, broken water lines, hazardous material cleanup, and explosions.

- Project – The work to be performed due to a specific request for remediation and/or emergency services arising from a Disaster or Non-Disaster Event at a specific site, which involves one or more buildings.

- Agency – When used independently, this term refers to all Departments, Agencies, Boards, Higher Education Facilities, and Commissions of the State and their specific role with the affected property.

- Third-Party Administrator (TPA) – This is the Office of Risk Management’s (ORM) Third-Party Administrator.  The TPA handles property damage claims for the State Self-Insurance Program.  ORM’s current TPA is Sedgwick Claims Management.

- Applied Structural Drying (ASD) - A scientific approach based on psychrometry to efficiently remove excessive moisture from structural and non-structural building materials. This technique aims to dry materials in place, reducing the need for extensive demolition and accelerating the drying process.

- Psychrometry - The study of the relationship between air, humidity, and temperature, and their effect on materials. This science enables professionals to determine the optimal equipment and duration required for effective drying.

- Mitigation/Remediation – Mitigation/Remediation encompasses:

  - Inspection of the damaged area for severity and type of water damage.

  - Removing the water and drying the property.

  - Cleaning, drying, deodorizing and/or sanitizing salvageable materials.

  - Removing items that cannot be dried or are not salvageable.

  - The terms mitigation and remediation are interchangeable for this ITB.

Method of Award

- The Office of State Procurement intends to establish contracts with vendors who can provide statewide remediation services to Agencies during disaster and non-disaster situations. However, the State anticipates that no single vendor will have sufficient inventory and/or personnel to meet the requirements of all projects as outlined in this solicitation. In addition, because no one knows where the next disaster may strike, it is impossible to predict which vendors may be inaccessible during a storm or other emergency. Therefore, the State reserves the right to make multiple awards to respond promptly and effectively with the necessary services.

The Contractors may bid on any combination of regions and choose whether to include services for disaster events, non-disaster events, or both. Awards will be made by region and per event type and shall be ranked in order of the lowest responsive, responsible contractor meeting all requirements, qualifications, and specifications. The region map is located under Exhibit 3.

A sealed cost model for both disaster and non-disaster events utilizing the pricing provided in Exhibit 1 (1A-1D) and/or Exhibit 2 (2A-2D) for mandatory items will be used to determine the lowest bidders. The sealed cost models will be available to contractors at the bid opening. If you cannot attend the bid opening, contact Arkeith White at Arkeith.white@la.gov to obtain copies after the bid has opened.

Services

- The Contractor will work closely with the Office of Risk Management or its designees on all projects that involve the Self-Insurance Program.

- The Contractor will also work closely with the Agency.

- The Contractor can expect to perform various types of remediation services. Section 18 includes the most commonly needed services. The services may be due to a disaster or a non-disaster event. The services provided will be available to all Agencies.

- The minimum remediation services that a Contractor must provide include the following:

  - Remediation activities required because of fire, smoke, water, hurricanes, flood, mold, and sewer backup

  - 24 hours per day, 7 days per week, 365 days per year accessibility and onsite response

  - Ability to competently respond to multiple building losses on Non-Disaster Events and/or Disaster Events

  - Structural drying

  - Wood floor drying and preservation

  - Water/Wastewater extraction

  - Sewage cleanup and remediation

  - Removal, haul off, and disposal of building materials that cannot be dried or salvaged

  - Floor/Carpet/Rug drying and cleaning

  - Structural dehumidification

  - Soot/Smoke removal

  - Temporary climate control

  - Temporary power

  - Mitigation/Remediation of buildings and business personal property (aka contents)

  - Business Personal Property manipulation, including moving; disassembly/reassembly; removal; inventory; pack-out and temporary on-site or offsite storage; haul off and disposal

  - Upholstery cleaning

  - Emergency board-up (temporary securing of windows/doors), if requested

    - The Contractor shall utilize personnel who have knowledge and experience in the trade associated with the temporary/emergency repair.

    - The work must be accomplished and completed in a manner that does not cause undue additional damage to the building.

    - Temporary/Emergency repairs must be discussed with the Agency. This discussion should include the extent and method of repairs. Payment for temporary/emergency repairs is the responsibility of the Agency until such time as the field adjuster and examiner have determined coverage is available.

A written, detailed scope of work with cost must be prepared and provided to the Agency and to ORM (if involved). Approval must be extended by the Agency before the work commences.

      - Any emergency board-up/temporary repair that is not covered by insurance is the responsibility of the Agency.

      - Failure of the Contractor to provide a written SOW with cost and receive approval could result in a denial or reduction of payment.

- This ITB does not include document restoration services. Therefore, no services will be paid for document restoration activities under the contract.

- This ITB does not include reconstruction or permanent work. No reconstruction or permanent work services will be paid for under the contract.

Additional Remediation/Mitigation Services:

- Check Yes or No below to confirm whether the Contractor is qualified/certified to perform the following services. If yes, the Contractor will provide copies of all applicable licenses, certifications, and training with the proposal submission or within 5 days of request by the Office of State Procurement (OSP), to be considered for these additional remediation services.

The Contractor shall also provide copies of applicable licenses, certifications, and training within 5 business days of a written request by the Office of State Procurement, the Office of Risk Management, or the using agency, at any future date, while holding a contract for this ITB.

  - Lead abatement projects       ☐Y      ☐N

  - Hazardous material remediation, including disposal	☐Y	☐N

  - Bio-hazard material remediation, including disposal	    ☐Y      ☐N

  - Decontamination services for infectious diseases in accordance with Federal, State, and local guidelines.  ☐Y	  ☐N

  - Asbestos Remediation  ☐Y	☐N

  - Other: if additional space is needed, provide the information as a separate enclosure:

__________________________________________________________

__________________________________________________________

ITB Forms

- The Contractor must use the forms in Exhibits 1 (1A-1D), Exhibits 2 (2A-2D), Exhibit 6, and Exhibit 7 to provide rate/fee schedules, company data, project references, and customer references. No forms created by the Contractor will be used for this ITB.

QUALIFICATIONS AND REQUIREMENTS

Qualifications

- Only responsible contractors who have the knowledge and experience of and are currently engaged in the services described herein will be considered for an award of this ITB. Qualified contractors shall have adequate organization, facilities, equipment, personnel, and other resources necessary to ensure prompt, efficient, and satisfactory service to the State.

  - Submission of a bid by the Contractor acknowledges and affirms 23.0.

- The Contractor (as a company, not as any individual within the company) shall have at least 5 years of experience with water, fire, and mold remediation services with projects involving multiple commercial buildings and large commercial facilities.

  - Submission of a bid by the Contractor acknowledges and affirms 24.0.

- The Contractor must be able to provide and shall provide all services listed under Sections

15-18.

  - Submission of a bid by the Contractor acknowledges and affirms that the Contractor can and will provide these services.

- The Contractor shall be in a sound financial position, qualified to perform the work as specified, and must be primarily engaged in the business of services listed herein and have been in business for the last 5 consecutive years, under the same name, as a licensed vendor or have related equivalent work experience with the State.

  - Submission of a bid by the Contractor further acknowledges and affirms that the Contractor has the wherewithal, resources, and experience to fulfill this ITB and affirms 26.0.

Organization Description

- The Contractor shall supply a description of its organization in the bid submission by completing Exhibit 6 - Company Data Sheet. The description shall include, but not be limited to, a brief history of the organization, services provided, and the number of current employees. Failure to submit an organization description may result in the rejection of the bid.

Inspection of Organization and/or Contractor Compliance

- The State reserves the right, before recommending an award, to inspect the facilities and organization or to take any other action necessary to determine the legitimacy of the Contractor’s submittal and its ability to perform all services under this ITB at or above a satisfactory level. The State further reserves the right to reject bids where inspection, evaluation, or other evidence submitted indicates an inability of the Contractor to meet any requirements or to perform the services of this ITB. The decision of ability or inability to meet all requirements and services for the State under this ITB will be at the discretion of the State.

  - Section 28 shall not mean or imply that it is obligatory upon the State to make an inspection or inquiry either before or after the award of the contract, but should it elect to do so, the Contractor is not relieved from fulfilling all contract requirements or documents.

- The State reserves the right to remove a contractor from a project, due to poor work performance, failure of a contractor to properly monitor staff or subcontractors for professional conduct, timeliness of service and/or work performed, or failure to comply with requirements under this ITB.

- The Contractor shall, at all times during the contract, remain responsive and responsible.  Should the State determine that the conditions of the ITB are not being complied with during the term of the contract or that the services to be furnished do not meet the specified requirements or qualifications, or that performance is untimely, the State may terminate the contract at its discretion.

References

- The Contractor shall complete Exhibit 7 – Remediation Project References and provide at least three commercial remediation projects between 01/01/2021 and the present day that demonstrate the Contractor’s ability to provide services similar to those requested under this ITB. Exhibit 7 – Remediation Project References should be provided as part of the ITB submission. The Contractor shall have 5 days to provide this documentation upon request.

  - Although the Contractor may have performed or is currently performing work under the State’s current remediation contract, the Contractor may only use one State project as a reference.

  - If submitting a bid for Disaster work, one reference should be for a project of $500,000 or greater.

- All references shall be for services similar in nature and scope to those of the items listed under this ITB.

- The State reserves the right to contact known prior or existing customers of the Contractor regarding the Contractor’s quality of work and responsiveness.

- Failure to submit references may result in the rejection of the bid.

Licenses/Certifications

- The Contractor shall possess all applicable professional and business licenses required to perform services under this ITB. Licenses must be valid at the time of submittal and shall be maintained through the term of the contract and submitted to the State as necessary.  Furthermore, for the duration of the contract, the Contractor shall comply with all Federal, State, and Local rules, regulations, and licensing requirements necessary to perform the services and work required under this ITB.

- At a minimum, the Contractor shall provide the following licenses/certifications with the ITB submission by completing Appendix A:

  - Mold Remediation License as issued by the Louisiana State Licensing Board for Contractors (LSLBC)

  - Ground Owner Operator License issued by LDAF

  - Pesticide Applicator Certification issued by the Louisiana Department of Agriculture and Forestry (LDAF).  Copies of the certification may be requested by the agency and must be received within 5 business days.

- The Contractor may submit copies of additional licenses or certifications to demonstrate its capabilities further.

Contractor’s Point of Contact Information

- The Contractor shall provide contact information to the State and/or its representatives for the following areas within 5 calendar days of receiving the Office of State Procurement notification of contract award.

  - A single contact number to request service.  However, if the Contractor has a different after-hours number, it may also be provided.

  - A client services contact to address service issues, contract compliance, or similar.

  - A billing or account contact to address billing issues.

  - Should any of the Contractor’s contact information change during the term of the contract, the Contractor shall provide the updated information immediately to:

    - Office of State Procurement – Arkeith White

    - Office of Risk Management – State Risk Administrator, Property

    - Once a contract(s) is awarded, ORM and ORM’s TPA contact information will be provided. Updates will be provided to the Contractor(s) throughout the contract period if the information changes.

Contractor Requirements

- It shall be the Contractor’s responsibility to be knowledgeable and familiar with all applicable Federal and State laws, ordinances, rules, and regulations that affect the services provided under this ITB, which may apply.

- The Contractor is responsible for completing the work scope in compliance with all applicable Federal and State laws, ordinances, rules, and regulations. Any fines levied due to failure to comply with any requirements shall be the Contractor's sole responsibility. Lack of knowledge by the Contractor will in no way be a cause for relief from responsibility.

- When the remediation scope of work is prepared by or directed by the State, the State’s designee, or a Certified Industrial Hygienist or other expert hired by the State, the Contractor shall perform the scope of work as provided by the entity(ies) listed above. This does not relieve the Contractor of its responsibility to complete the work professionally and responsibly.

- The Contractor shall have safety policies and guidelines in place for the work being performed.  The Agency will inform the Contractor accordingly when a project occurs at a state building, facility, or location with unique safety protocols or procedures (e.g., a prison, youth center, medical/research facility).

- The Contractor is responsible for providing a safety officer if the situation requires it.

- In performing any services, the Contractor shall observe all safety precautions so that the Project will not damage or endanger visitors, employees, property, or the public.

- In performing any services, the Contractor shall provide adequate protection to adjacent areas to avoid damage to unaffected components.

- The Contractor shall be responsible for any damage or injury due to any act or negligence attributable to any persons, agents, or subcontractors working under the direction of and/or hired by the Contractor and/or invited by the Contractor to the work site.

Staffing Requirements and Expectations

- The Contractor shall employ sufficient staff that is capable and licensed/certified (as necessary and required) to complete projects and perform the services listed herein.

- The Contractor shall supply a Project Manager (PM) with 5 years or more experience, of which 3 must be as a Project Manager for all projects, to ensure a proper scope has been prepared with appropriate support documentation and to oversee the implementation and completion of remediation activities.

  - All projects over $200,000 shall have a Project Manager on-site for the duration of the project.

- Projects under $200,000 will have a Project Manager assigned who will ensure the scope is correctly established and documents are promptly submitted to the State, per the contract.  However, the Project Manager may not need to be on-site for all hours of the remediation activities when:

  - An Assistant Project Manager (APM) is assigned to oversee the project. Use of an APM is acceptable IF the APM has 5 years of experience as a supervisor in water/fire remediation, and 1 year of that experience was as an APM or PM.

  - An Assistant Project Manager has the required skills and ability to ensure the work progresses per the approved scope and the experience to oversee staff members, ensuring productivity and professional conduct.

  - Small projects may not require a Project Manager or Assistant Project Manager to be on-site for every hour of the project; however, it is still the Contractor’s responsibility to:

    - Ensure there is a designated supervisor/lead in charge of the project who is qualified, experienced, and can ensure the work is progressing per the approved scope.

    - Ensure the designated supervisor/lead has the experience to oversee staff members' work, productivity, and ensure the professional conduct of staff members.

    - Ensure the designated supervisor/lead has knowledge of the contract and complies with it.

- The Project Manager, Assistant Project Manager, and/or the Supervisor must be available to the State and/or its representatives during the accomplishment of all work phases.

- The Contractor shall provide a resumé of all currently employed Project Manager(s), validating the necessary 5 years of experience.  At a minimum, the resumé shall include the length of employment with the Contractor, other jobs in industry or industry-related fields, dates of employment, licenses/certifications, etc.

  - If the Contractor does not have a qualifying Project Manager when making a submittal, include letter-size paper with "No Current Qualifying Project Manager” written on it in lieu of a resumé.

- The Contractor shall provide a resumé of all currently employed Assistant Project Manager(s), validating the necessary 5 years of experience. At a minimum, the resumé shall include the length of employment with the Contractor, other jobs in industry or industry-related fields, dates of employment, licenses/certifications, etc.

  - If the Contractor does not have a qualifying Assistant Project Manager when making a submittal, include letter-size paper with "No Current Qualifying Assistant Project Manager” written on it in lieu of a resumé.

  - Legible copies of all applicable certification(s), registration(s), and/or license(s) of the Project Manager, which demonstrate their qualifications directly related to services under this ITB, shall be attached to the resumé.

  - Failure to provide the Project Manager(s) information will be grounds for rejection of the bid.

- Supervisors (remediation or tech supervisors, etc.) shall not exceed a ratio of 1 to 10 without written consent from ORM or its designee.

- The Contractor’s staff performing work that is at a lower rate/position than their normal position must be billed based upon the work performed. For example, if a restoration supervisor or technician performs general labor, they must be billed at the rate for a general laborer.

- Work that falls under general laborer/entry-level technician must be billed as such.

- Unnecessary or over-excessive use of administrative- or clerical-type personnel shall not be considered for billing and invoices.

- It is the Contractor’s responsibility to ensure the appropriate personnel are used to staff the project in the appropriate position and that the project has proper supervision.

Contractor Employee Conduct & Dress Code

- The Contractor shall be responsible for the acts and omissions of its employees, its agents, agents’ employees, and other persons performing any of the work under the contract.

- The Contractor’s employees, its agents, and its agents’ employees will be expected to conduct themselves in an orderly fashion and follow all rules/regulations in place at the project location, such as smoking rules, identification procedures, etc.

- The Contractor’s employees will refrain from using foul, abusive, or profane language on State property.

- The Contractor shall prohibit its employees from disturbing State property not within the employee’s scope of responsibility.

- The State reserves the right to require reassignment of any person or persons employed by or is an agent of the Contractor that fails to conduct themselves in an orderly manner, proves to be incompetent or negligent in the proper performance of their duties, or neglects or refuses to comply with the State entity’s rules/regulations, or fails to comply with directions of the State or its designee. Such people shall not be employed on a State remediation project again without written consent from the Office of Risk Management. The State shall not unreasonably exercise such rights.

- Employees of the Contractor shall be dressed in a manner that identifies them as the Contractor’s employees. The attire worn should not impede the employee’s or others’ safety while working on the Project.

Background & Identification Badges

- The Contractors are encouraged to provide their employees with identification badges.

- Some State locations, such as prison facilities, may require a background check to be performed on all the Contractor personnel who are part of the remediation project. Failure to pass the background check will prohibit an individual from working on the Project.

- The Contractor’s workers will wear/carry on their person an identification badge if required by the facility where the Project is located. At no time should the Contractor employee, agent, or subcontractor be in a restricted area or unsupervised on the property without the Agency personnel present or on the job site. Examples include, but are not limited to, projects at a prison, medical facility, or research facility.

Equipment Requirements

- All equipment and vehicles used shall always be in good repair and operating condition and comply with all Federal, State, and local regulations. All equipment and vehicles shall meet all safety standards established for that piece of equipment. All equipment and vehicles shall be operated and maintained per the manufacturer’s recommendations.

- The Contractor shall provide all supplies and industry-standard equipment sufficient to perform the services herein.

- If the Contractor rents equipment from a rental company for non-disaster or disaster projects, the State WILL NOT REIMBURSE the Contractor for the rental charges. Equipment charges will be based on the rates included in [Exhibit 1B - Equipment Rate Schedule – Disaster] and [Exhibit 2B – Equipment Rate Schedule – Non-Disaster].

  - Exception: An exception is for equipment that is not standard or not regularly needed.  Some examples of non-standard or not regularly utilized equipment are large desiccants, DX package units, and large generators. The reimbursement for such equipment will be based on an itemized invoice from a rental company plus the scheduled markup once approved by the Office of Risk Management or its designated representative. The State reserves the right to withhold payments until such documentation is provided.

    - Any rental discount, rebate, refunds received or earned by the Contractor on the equipment rental shall be passed along to the State.

  - The Contractor’s use of equipment, machinery, or vehicles from another remediation company will not be considered renting equipment. This equipment shall be paid based on the rates included in [Exhibit 1B - Equipment Rate Schedule – Disaster] and [Exhibit 2B – Equipment Rate Schedule – Non-Disaster].

Remediation Response Requirements

- The State is divided into three regions, as shown on Exhibit 3 - Region Map. The Contractor may bid on any single or combination of regions and/or event types (Non-Disaster Events and Disaster Events).

- It is expected that the Contractor will have the resources in place to respond quickly to any region or event being bid on by the Contractor.

- Most calls for service will come directly from the Agency. However, sometimes, the Office of Risk Management or its designee may call for service if the Agency cannot do so.

- Due to emergencies and the need to mitigate damages, response delays will not be acceptable.  Therefore, the Contractor must promptly receive and return calls and be capable of arriving on site with the needed personnel and/or equipment in a timely manner.

  - If the initial call for service goes to voicemail or to an answering service, the reply should occur as soon as possible, but not longer than 10 minutes (i.e., make direct contact with the state entity requesting service) and provide an estimated onsite arrival time and work commencement. The return call time is extended to 20 minutes if request is due to a Disaster event.

  - If the timeframe for arrival and commencement of work does not meet the Agency’s needs, the Agency may call the next vendor for services.

- When responding to a service call, once the Contractor has viewed the site, the Contractor shall notify ORM’s Third Party Administrator (TPA) and/or ORM while still on site. The current TPA is Sedgwick Claims Management Services. Notification should include the Agency name and location, the Agency representative’s name, the building name where services will occur, a brief description of the incident, and current remediation activities. The TPA may provide additional instructions or request information.

  - If the service call occurs Monday-Friday between 7:00 AM CT and 5:00 PM CT, the Contractor shall contact the Sedgwick office at 225-368-3500, while still on site.

  - If responding to a call after 5:00 PM CT on Monday-Friday, a holiday, or the weekend AND the remediation activities will not exceed $100,000, the Contractor shall contact the TPA no later than 8:30 AM CT the next business day.

  - If responding to a call after 5:00 PM CT on Monday-Friday, a holiday, or the weekend AND the remediation activities will be greater than $100,000, contact Andrew Dumond with Sedgwick at 337-849-9000.

  - If unable to contact the State’s TPA on after-hours service, contact Sherry Price with the Office of Risk Management at 225-342-8466 (office) or 580-574-9594 (mobile).

  - Failure to make the notification may result in removal from the Project and/or reduction in payment; repeated failure to make notification may result in termination of the contract.

Overview: Assessment / Scope of Work / Estimating

- The Contractor shall provide employee(s) qualified to assess the remediation needs that arose from the loss event which triggered the call for service. Upon arrival at the loss location, the Contractor shall meet with the Agency representative, discuss the loss event, and view the damaged areas.

- The Contractor shall follow the instructions provided in Section 74 and notify ORM’s TPA.

  - If insurance will be or might be involved, the State’s TPA will advise when the Contractor makes contact.

  - If insurance is involved, the Contractor may need to meet with ORM’s TPA or other designee to view damages.

- When preparing an assessment, scope of work, and/or discussing the Project, it is crucial to correctly identify the building(s) being inspected and remediated. The responsible Agency reports every state-insured building or leased property with contents to the Office of Risk Management. Each building is provided with a State Identification Number.

  - Agencies may reference a building differently or change a building name without reporting the change to ORM. When this happens, the building name on file with ORM must be shown on the Contractor’s paperwork. Including an “aka name” is permissible to ensure all parties are referencing the same building should the Contractor wish to do so. For example, the building name may be displayed as Name on File w/ORM (aka name); John Smith Hall (aka School of Behavioral Health).

  - The TPA will work with the Contractor to confirm proper building identification.

    - GPS coordinates are available and can be provided by the TPA.

- The Contractor shall provide an initial assessment with photos, moisture mapping, and readings to document and support the recommended scope of work, including moisture mapping and readings, measurements of the affected area, a diagram, etc.

- Subsequent daily reports with photographs documenting the Contractor’s work, personnel, equipment use, moisture readings, etc., are required for all Projects.

  - Reporting frequency may be reduced by ORM or its designee

- Activity codes involving CAT 3 water must be discussed with and approved by ORM and/or its designee since CAT 3 water may have special requirements for disposal, water capture, and disposal location.

  - The Contractor shall provide the method for capturing CAT 3 water and the location of disposal for all Projects arising from a disaster event, as this information is required by FEMA.

  - The Contractor shall provide the method of capturing CAT 3 water and/or the location of disposal on any project if requested.

- If the Contractor cannot provide or fails to provide any services or documentation or is non-compliant with any items listed within the contract, the State may immediately terminate the contract.

- For most Non-Disaster Events, the Contractor must provide a detailed scope of work within 24 hours after arrival at the loss location for projects equal to or less than $100,000.

  - If the Project calls for the use of Xactimate, the Contractor shall provide a Xactimate estimate, which establishes the scope of work to be performed. Remediation work that is based on the Xactimate unit of measurement should be established directly after the Contractor’s initial walk-through/assessment. Examples of this type of work include, but is not limited to, water extraction, cleaning walls, floor cover cleaning or removal, ceiling tile removal. The scope should also include the anticipated equipment usage (days and number of units); e.g., fans, dehumidifiers, air scrubbers. The Xactimate pricing should be included on the scope-estimate, and it should be set up in the same format as outlined in Sections 96.2 - 96.10.3.

  - The scope is part of the initial assessment and requires the support documents as listed in Section 78. A completion date for the remediation services must be provided with the Xactimate estimate.

  - Anything outside of the established scope will need to be addressed with ORM’s TPA and/or the designee for approval.

    - If equipment usage tracks to exceed the anticipated usage scope by number of units or by days used, this is a scope change that must be addressed with ORM’s TPA and/or the designee. The reason why drying cannot be accomplished within the anticipated usage scope will be needed.

  - When the project is completed, the Xactimate estimate will be updated to reflect the actual equipment usage and/or any agreed-upon changes to the scope.

  - If the initial assessment indicates the project will exceed the Xactimate threshold, a written, detailed scope of work (SOW), a Not-To-Exceed (NTE) amount, and a date of completion/project timeline shall be provided within 48 hours of inspection. Reference Exhibit 5 for the NTE form.

- For Disaster Events, the Contractor will provide the same information as for a Non-Disaster Event. However, if the Project involves multiple buildings or a loss exceeding $200,000, a preliminary, verbal SOW can be agreed upon by the Contractor, the Agency, and ORM’s designee to ensure that immediate remediation activities are not delayed. The preliminary SOW should cover the initial phase of remediation activities (e.g., water extraction, furniture blocking, removal and disposal of carpet with sewage, etc.), and a brief email between the parties involved will be issued to memorialize the discussion. A deadline for the written scope of work and a NTE amount shall be established at this time.

  - The written scope of work shall follow within the agreed-upon timeframe and must be presented before a SOW beyond what was verbally agreed upon begins.

- When the request for services involves an insurance claim, the Contractor will be provided with a Project Agreement form by ORM’s TPA, reference Exhibit 4. This form will be completed by TPA and provided to the Contractor and the Agency for signature.

  - The Project Agreement will be accompanied by the Contractor’s Xactimate Estimate if the Project is $100,000 or less.

  - The Project Agreement will be accompanied by a written Scope of Work and a NTE amount if the Project is over $100,000. If the project value exceeds $250,000 and the written scope and approval cannot be completed within 48 hours of the Contractor’s involvement, the Project Agreement can be finalized with deadlines for completing the scope and the NTE amount.

  - Exception for the Project Agreement form occurs when the loss event occurs over a weekend or holiday, the cost is $75,000 or less, and the work is started and completed before the next business day. All three of the above criteria must be met. When this occurs, the notification to the TPA accompanied by the Xactimate estimate takes the place of the Project Agreement form.

- All SOWs must be discussed with and agreed to by the Office of Risk Management or its designee when the Project involves an insurance claim.

- All Projects shall be addressed in the following manner:

  - Inspect the damaged area for the severity and type of water damage.

  - Remediation should be governed by Applied Structural Drying methods/techniques.

  - Immediately begin removing standing water (wet vacs, pumps, etc.), if applicable.

  - Immediately provide recommendations to ORM’s TPA or designee and the Agency about the condition of carpeting, if present and impacted by the loss event. Provide recommendations as to whether the carpet can be dried; the carpet can be dried; but the pad needs to be removed; or the carpet is not salvageable.

    - The Contractor and its personnel are expected to have the expertise and knowledge to know how to dry carpet (whether loose-laid or glued-down).

  - Promptly begin drying and removal of non-salvageable carpet as approved by ORM’s TPA or designee and the Agency.

  - Complete scope of work and reporting documents and submit to ORM’s TPA and/or designee for approval.

      - Time is of the essence to reduce the impact of the loss event on the State’s property, and Agency operations can continue. The Contractor must complete the scope of work promptly, so that approval or changes can be made and other non-salvageable building components can be removed.

- Any work that is not covered by insurance must be agreed upon with the Agency because it will be the Agency’s responsibility to pay for uninsurable remediation work. If a deductible applies to the Project, the Agency will be responsible for that portion. The TPA desk examiner can confirm if a deductible is applicable and the amount.

  - When the Agency participates in payment for the remediation services, the Contractor will need to obtain the Agency’s PO Number for inclusion on the invoice.

- The State and/or its designee must approve all SOW, Not-to-Exceed amounts, and Project timelines. Failure of the Contractor to provide a written Scope of Work, Not-To-Exceed amount, and a timeline and obtain approval from ORM and/or its designee may result in a payment reduction or removal from a Project. In addition, repeated non-compliance may result in contract termination.

- Additional SOW and cost must also be approved. Failure of the Contractor to obtain approval before starting the additional SOW with ORM’s designee may result in the cost for the additional work being disallowed in whole or part.

- A Contractor that utilizes a third-party entity to provide moisture mapping and readings will NOT BE REIMBURSED for any charges/billing/cost by the third-party to provide the service or associated expenses (e.g., service fees, travel, per diems, equipment, Subcontractor’s O&P, Contractor’s markup, etc.). The Contractors for this ITB shall be fully qualified and have personnel available to perform moisture readings and mapping, which are integral to remediation work. Work performed shall be billed based on the appropriate position rate on the Contractor’s rate schedule and with the proper labor support documentation.

- When a large value Project occurs, the Contractor may also need to provide Critical Path Projects along with the other items previously listed. The State or its designee will review the Contractor’s Critical Path projection and/or projected completion schedule. Together, the State and/or its designee, the Agency, and the Contractor will mutually agree on a completion date for each building/area affected by a covered event.

- Based on the size of the loss and its complexity, the State may retain the services of a consultant to oversee the remediation work. The TPA and/or ORM will inform the Contractor of the consultant’s name, contact information, and designated representative status. The consultant’s activities may include, but are not limited to:

  - Providing oversight, both onsite and offsite, of remediation activities on behalf of the State.

  - Reaching agreement on the Scope of Work with the Contractor or providing the Scope of Work for the Contractor to implement, or in some cases, setting the Scope of Work for the Contractor to implement. The Agency will also be a party to the Scope of Work details.

  - Ensuring remediation activities are in line with the State-approved Scope of Work.

  - Ensuring billing aligns with the approved SOW and complies with the contract.

  - Providing direction to the Contractor regarding the State’s expectations and setting up schedules to receive needed documentation.

  - Obtaining and reviewing daily/weekly documentation of work performed, reviewing and auditing invoices/billing.

Projects Valued above $100,000 - Scope of Work, Rate Schedules

- Projects valued above $100,000 will be handled and billed by using the Contractor’s Rate Schedules, see Exhibit 1B and Exhibit 2B.

- Previous sections detailed the establishment of the Scope of Work, which applies to projects over $100,000.

- Cost data shall be provided daily to the State or its designee for projects above $100,000.00.  Cost data shall be provided on all projects unless the State or its designee extends written permission that the daily cost data submissions may cease or change the submission intervals.  The cost data shall be provided in the following form:

  - Beginning inventory counts on consumables, materials, and equipment.

  - Daily sign-in/sign-out timesheets.

  - Daily material usage reports.

  - Daily equipment usage reports.

  - Ending inventory counts on consumables, materials, and equipment.

Projects valued at $100,000 or Less – Scope of Work, Xactimate Estimates

- Projects valued at $100,000 or less will require a detailed Xactimate estimate. The Xactimate estimate submitted for the initial assessment is used to establish the anticipated scope and cost as discussed in Section 82. Once the SOW is accepted, no additional SOW will be considered unless approved by the ORM’s TPA and/or the designee. This section provides specific estimate set up details required within Xactimate.

  - Previous sections detailed the establishment of the Scope of Work for projects utilizing Xactimate. The Xactimate estimate used to establish the scope will be updated at the end of the project to reflect the actual equipment usage (number of days and units).  If a scope change or a completion date extension was approved, the Xactimate estimate should be updated to reflect those changes. This document will be included with the final invoices and further detailed in the Project Invoicing section.

  - When the Project is $100,000 or less the Contractor shall provide a Xactimate estimate for each building.

    - The Xactimate estimate shall include the Building Name, State ID number, and claim number.

  - When a Project includes contents/business personal property activities, such as cleaning, disposal, and/or pack-out and storage, the Xactimate estimate should be printed out based on coverage. This provides a separate estimate for contents and designates the building housing the contents.

    - If the remediation services were only for contents, the Xactimate estimate shall include the Building Name, State ID number, and claim number as provided by the TPA.

  - A diagram with clear, readable measurements and labels is required.

  - The Xactimate estimate should be set up and printed with the following columns:  Quantity, Unit price, Tax, O&P (Overhead & Profit), RCV (Replace Cost Value), DEPR (Depreciation), and ACV (Actual Cash Value).

    - The columns must always be shown on the estimate, even though some will have a $0.00 value.

  - The activity description should be printed on the estimate for each line entry.

  - The Contractor shall include the Xactimate TAM (Time and Material) report with recap by Category Only.

  - The Contractor shall include the Xactimate Recap by Room report.

  - The Contractor will provide the Xactimate documents in a PDF format.

    - If requested by the State or its designee, an exported copy of the Xactimate estimate in an Excel format shall be provided by the Contractor.

    - The Contractor shall provide a copy of the Xactimate esx file when requested by the State or its designee.

  - Xactimate unit cost prices include all labor, labor burdens, materials, and equipment to perform the work. Therefore, there are very few reasons for labor-only entries being made.

    - Should a reason for a labor-only entry occur, the Contractor must include a detailed F9 note.

    - Labor-only entries will be reviewed for validity, and if they are duplicative of a unit cost price entry or should not have been used, they will be disallowed.

    - Duplicative entries for activities and/or overlapping entries are not allowed. It is the Contractor’s responsibility to have knowledge and understanding of the components used in the calculation of the Xactimate unit cost. Failure to use the proper entries or to enter overlapping/duplicative entries will result in removal of the item(s) or a request for corrections by the State or its designee.

- This ITB encompasses services provided 24/7, 365 days per year:

  - However, for projects using Xactimate, the Contractor may include a one-time after-hours call-out entry for on-site responses to calls received on the weekends, holidays, or after 5:00PM CT. The Xactimate entry, as of this ITB, is WTR ESRV.

  - However, for projects using Xactimate, the Contractor may utilize “after-hours” activity items for work that occurs outside of 7:00AM to 5:00PM CT. It is the Contractor’s responsibility to document and validate that services charged as after-hours were performed outside of 7:00AM to 5:00PM CT and be able to provide such documentation upon request by ORM for consideration of after-hours activity codes usage.

- Remediation services are a single trade.

- Moisture mapping and readings should be performed with documentation provided to validate the Scope of Work.

Subcontractors

- Services of other remediation companies to augment or supply labor, equipment, or materials or companies supplying temporary labor used by the Contractor are not considered subcontractors. The Contractor is responsible for having the capacity to perform remediation work under the contract.

  - Labor force, materials, or equipment that the Contractor utilizes from other remediation companies shall be billed based on the Rate Schedules awarded under this ITB or if the project is $100,000 or less based on Xactimate unit cost pricing.

    - In addition, the person must be qualified for the position billed and have the necessary licenses or certification (if applicable), e.g., Project Manager, Certified Mold Technician, Remediation Technician, etc.

  - If the Contractor partners with or utilizes the service of another remediation company, it is the Contractor’s responsibility to ensure all work is performed per the awarded contract. All labor, equipment, and materials will be billed in accordance with the awarded contract.

  - Should the Contractor partner with or utilize the services of another remediation company, the Contractor shall have the appropriate management member from the Contractor’s organization ensure the Project is being handled per the contract. The State will not pay for duplicative management of the Project.

  - In no way does the Contractor’s use of another remediation company’s services obligate the State to the other remediation company in any form whatsoever, including but not limited to expenses the other company may incur or for service charges outside of the awarded contract.

  - All invoicing and billing should come through the Contractor, and it is the Contractor’s responsibility to ensure all charges are in line with all terms and conditions of this ITB.

  - Any compensation the other remediation company receives is between the Contractor and the other remediation company.

- The use of subcontractors should be extremely limited under the contract. The Contractor shall identify each required or anticipated subcontractor who will perform services on a Project.

  - Example of when a subcontractor might be allowed: agency asked the Contractor to make temporary roof repair; the Contractor requires an electrician to wire-in a generator.

  - The Contractor employees/staff performing the work for the above examples are not subcontractors.

- The Contractor shall inform the State and its designee of the use of a subcontractor on a Project.

- The subcontractor’s scope of work and cost must be provided in writing and include the completion date. The State and/or its designee must agree to the SOW and cost.

- The Contractor will provide the qualifications and references of each subcontractor, as needed or requested by the State and/or its designee.

- The Contractor is responsible for the oversight of the subcontractor, which includes but is not limited to ensuring the subcontractor’s work is aligned with the approved SOW, the work is professionally completed, and invoicing and billing complies with the contract.

- The Contractor is responsible for ensuring the subcontractor is adhering to and complying with the terms and conditions of the awarded contract. Adherence includes but is not limited to a breakdown of subcontractor’s charges per building (if applicable), a detailed invoice with appropriate support documents, etc.

  - Invoices that only provide a lump sum amount without details or detailed support documentation will not be accepted.

    - An invoice that states, “Make temporary repairs” or “Made temporary roof repairs” with a dollar amount is not sufficient.

However, an invoice that states, “Made temporary roof repairs,” with a dollar amount shown and supported by a detailed scope of work (size, quantities, materials, roof location) would be acceptable.

- The subcontractor’s detailed invoice(s) and support documentation must be submitted with the Contractor’s invoices. Failure to provide the documentation will result in payment delay and/or reduction in payment.

- Subcontracted services and/or subcontracted rates for services, materials, and equipment must fall within the parameters of current industry-standard price rates.

SERVICE PRICING SECTION / FEE PROPOSAL

ITB Pricing Section

- The Contractor shall provide pricing for the services requested within this ITB as outlined below and/or based on information supplied in all applicable exhibits or attachments. If awarded, the pricing/cost/fees will remain constant throughout the contract term and will be used to determine total project costs. Bids that fail to include cost information will be rejected as incomplete and deemed non-responsive.

- Costs associated with software, subscription services, equipment, materials, etc., that the Contractor must have, needs, or wants to use to inspect, determine scope of work, evaluate/assess property, prepare estimate, calculate/compute invoices, account for payroll and inventories, etc. are not billable items under the contract.

  - Examples of these items include but are not limited to:  moisture meters, infrared cameras, ice chests, accounting equipment, first aid kits, cell phones, two-way radios, cost for professional licenses, and similar items.

- Amenities the Contractor provides to staff/laborers for working on the Project are not billable under the contract.

  - Examples of these items include, but are not limited to: ice, water, cold beverages, ice chests, etc.

Rate Schedules – Labor, Materials, Equipment – Losses / Projects over $100,000.00

- The Contractor shall submit Rate Schedules for personnel (labor), material, and equipment that the Contractor anticipates may be required to provide a complete response to a request for service. The forms to submit this information are provided in an Excel workbook with multiple spreadsheets. Reference Exhibits 1A-1D and/or Exhibit 2A-2D, depending on whether the Contractor will bid on Disaster Event and Non-Disaster Event work. Only the provided forms may be used; no other forms or formats will be considered for this ITB.

- When bidding on Disaster Events and Non-Disaster Events in a region, the Contractor shall complete the Rate Schedules forms for both Disaster Events (Exhibit 1A-1D) and Non-Disaster Events (Exhibit 2A-2D).

  - If the Contractor only wishes to bid on one event type, complete the Rate Schedules for that single event type.

  - If the Contractor’s pricing differs between regions, the Rate Schedules (Exhibits 1A- 1D & Exhibit 2A-2D) must be completed for each region AND for each event type the Contractor is bidding, i.e. Disaster and Non-Disaster.

- The Contractor’s Rate Schedules must include the mandatory items, which have been pre-filled on the appropriate Schedules.

  - The mandatory items are listed in bold red on the appropriate Rate Schedule and should remain in bold red font when submitted. All other entries added to the rate schedules should be in BLACK FONT.

- The Contractor is responsible for ensuring that the mandatory items AND all other personnel positions, materials, and equipment needed to allow for a complete response to Projects arising from this ITB are represented on the Rate Schedules.

  - If additional lines/rows are needed to list all the items, the Contractor may add/insert as many rows as necessary to accommodate the needed entries.

  - Any unit, hourly, piece, rate, or other charge not provided on the Rate Schedules but required and approved by the State for the work must fall within the industry standard or price indexes or be modified to meet the industry standard price index.

- The Contractor shall, to the extent of his ability, procure materials and/or services at the most advantageous prices available with due regard to securing prompt delivery of satisfactory materials, and take all cash and trade discounts, rebates, allowances, credits, salvage options, commissions, and other benefits. The Contractor further agrees that it shall not accept any discounts, refunds, rebates, credits or other gratuities involved with the procurement of such materials and/or services which are not fully disclosed to the State prior to the purchase/procurement of such materials or services.

- The Contractors shall submit the Labor Rate Schedules for the event type being bid. All entries must be fully completed.

  - Individuals identified and/or billed for rates related to supervisors, project managers, various skilled technicians/tradesmen, etc. must have the experience and certifications (if applicable) to support the personnel classification.

    - The support documentation/credentials must be available at the request of the State and/or its designee.

    - Failure to provide documentation to support the labor classification will result in the re-classification of the crew members.

  - Premium rates, holiday rates, and after-hours rates are not allowed. This ITB encompasses services that are to be available 24 hours per day, 7 days per week, 365 days per year.

  - Overtime labor and charges cannot be performed or charged on a Project without preapproval and written consent of the State. If insurance is involved, the preapproval and written consent must come from ORM. Overtime labor charges, if approved, are based on actual, direct labor hours performed for the Project.

    - The Contractor personnel on State Projects are expected to remain dedicated to that Project, as the goal is to complete the work expeditiously.

    - A work week is Monday through Sunday; overtime is based on hours over 40 hours within the work week while working the State Project.

      - Overtime accrued by the Contractor’s employee due to working on other projects is the responsibility of the Contractor. As noted above, assigned personnel are expected to remain dedicated to the State’s Project to ensure prompt and timely conclusion of the work.

    - If the Contractor is utilizing personnel at multiple job sites/projects, it is the Contractor’s responsibility to ensure it is compliant with Federal and State labor laws.

  - The Contractor will substantiate invoices for labor by individual daily labor logs, or similar substantiation as requested by the State.

    - Daily logs shall include the staff/laborer’s name, date work performed, time in, time out, time allowed for lunch/dinner breaks, and staff/laborer’s signature.  Logs must be legible.

  - Contracted labor (temporary labor) shall be invoiced based on the Rate Schedule submitted under the awarded ITB.

  - Notwithstanding the rates set forth on the Rate Schedule, labor rates must fall within the parameters of local industry standards and the current price indexes.

  - Neither the Contractor nor any subcontractor shall charge Non-Standard Rates or any premium rates under the contract (except as provided for projects under $100,000 involving Xactimate).

- The Contractor shall be responsible for the compliance of any subcontractor with the entirety of Section 117.

- The Contractor shall submit the Material Rate Schedule for the event type being bid.

  - The specified unit of measurement (UoM) provided with any mandatory items must be used.

  - For all other entries, use the standard/customary units of measurement (UoM), e.g., gallon, bottle, box, can, linear foot, each, etc. UoM used must be clearly specified.

  - If using a measurement such as box, roll, pad, or package, include the quantity in the box, roll or package, etc. in the Specify Packaging Count / Size column.

  - The Contractor shall support all material costs claimed for those items listed on the Rate Schedule. Materials, as referenced by this clause, are defined as materials that are on site and consumed during the completion of the Scope of Work and are substantiated by Daily Materials Usage Reports submitted and verified daily.

    - The costs for any Material not listed on the Material Rate Schedule are reimbursable, provided that the Material costs fall within the parameters of the industry standard price index.  The Contractor shall be reimbursed for items purchased directly to complete the Scope of Work but not listed within the Rate Schedule only when cash, checks, or other forms of actual payment have been made for such purchased items, documentation for actual payment made is provided, and it was approved by the State or its designee.

    - Increased pricing due to the Contractor using materials that are contractor-firm branded will not be considered when similar products are available. The lower-cost item price point should be used.

- The Contractors shall submit the Equipment Rate Schedule for the event type being bid.

  - Rates for rental equipment must allow for a weekly and a monthly rate. The weekly and monthly rates will be based on the Contractor's daily rates. The maximum weekly and monthly rates will be calculated as follows.

  - Weekly (7 days) rates will be based upon 4 daily rental charges. Example of rate calculations:

    - One piece of equipment used for 7 days; daily rate $35, weekly rental rate is $140 ($35 x 4 days).

    - One piece of equipment used for 10 days; daily rate is $35, rental charge is $245 (weekly rate of $140 plus $35 x 3 days).

  - Monthly rates will be based upon three weekly rental charges. One month is 30 days.  Example of rate calculations:

    - One piece of equipment used for 30 days, weekly rental rate is $140 (as calculated above), monthly rental rate is $420 ($140 x 3 weeks)

    - One piece of equipment used for 40 days (based on the above daily, weekly, and monthly rates); rental charge is $665 ($420 monthly, $140 weekly, plus $35 x 3 days).

  - The calculation methods shown above will be the basis for all weekly and monthly equipment rates unless the Contractor chooses to provide a lesser weekly or monthly rate.  The Equipment Schedule includes a column for the Contractor to enter a weekly or monthly rate that is lower than the corresponding weekly or monthly rate.

  - Weekly and monthly rates that exceed the above calculation methods (based on the submitted daily rates) will not be accepted, and equipment charges will be limited to the above calculation methods.

- Additional fees or separate costs related to small tool charges are not allowed under this ITB. If the Contractor has a fee/cost associated with small tools, this amount shall be incorporated within the general labor hourly rate.

  - A list of example items that fall within the Small Tools category is attached as Exhibit 8 this is not an all-inclusive list. Additional itemized fees for Small Tools will not be allowed.

Unit Cost Pricing – Xactimate Estimate – Losses / Project $100,000 or less

- The Contractor shall use Xactimate to prepare the Scope of Work and determine the cost for Losses/Projects that are $100,000 or less.

- No document is required for the ITB submission to show Xactimate estimate pricing.

Additional Fees & Xactimate Discount Schedule

- The Contractor shall submit the Additional Fees & Xactimate Discount Schedule for each event type being bid.

  - The Xactimate Discount field must be completed; if the Contractor is not providing a discount, a zero must be entered. Failure to make an entry will result in a default of zero.

  - The Contractor must complete the Billable Expense and Subcontractor Markup fields. If no markup will be charged, enter zero. Failure to make an entry will result in a default of zero.

- Non-Disaster Events: Additional travel costs/expenses are not allowed on Non-Disaster Events.  Qualified Bidders should choose the regions they have the capacity and resources to service.

- Disaster Events: Travel costs/expenses during a disaster will be considered on a project-by-project basis, with consideration given to the Project’s location and size and the impact of the disaster on the area. Approval for travel cost/expense must be obtained from the Office of Risk Management.

  - The Contractor is responsible for informing ORM’s TPA at the onset of the Project if there are concerns regarding travel costs/expenses. Failure to notify the State may jeopardize any available reimbursement. Failure to obtain approval for travel costs/expenses may result in a reduction, in whole or in part, of any billed amounts.

  - Any approved travel costs/expenses must comply with the State’s travel guidelines as per Administration Policy and Procedure Memorandum 49 (PPM 49), LAC 4, Part V. The travel guidelines that were in effect when the disaster event occurred are utilized.

  - Travel costs are paid based on the actual or daily rate (if applicable), whichever is less.

  - Documentation and receipts of travel costs/expenses will be required.

  - Travel expenses will not be paid for personnel who are local or live within an acceptable driving distance of the project or as allowed under the Fair Standard Labor Act (FSLA) or the Portal-to-Portal Act of 1947.

INVOICES

Project Invoicing

- All costs must be validated by documentation of charges appearing on the project invoice. No unauthorized changes or charges that cannot be validated or do not comply with the contract will be paid. No cost allocations are allowed based on area-wide disaster circumstances.

- The State may request certified payroll information if additional labor validation is needed.

- All invoices must summarize the charges and discounts.

- When invoicing is based on the Xactimate estimate (Projects $100,000 or less):

  - A copy of the Xactimate estimate shall be included with the invoice.

  - If there is an Xactimate discount, it should not be added to the estimate as a “write-in” entry. The discount should be shown on the invoice as a line item that includes the Xactimate estimate amount, the discount percentage, and the corresponding dollar value.

  - If a subcontractor is used or there is a reimbursable expense on a project under $100,000, the additional charge/fee shall be a separate line entry on the invoice. A copy of the Subcontractor’s detailed invoice or the reimbursable expense invoice and any applicable support documents shall be attached to the Contractor’s invoice.

    - A separate line entry should be made for the oversight or administrative cost associated with the additional charge/fee calculation shown, e.g. Roger’s Roofing, $1,000 x 10% = $100 or Pot-O-Gold, $400 x 3% = $12.00.

    - Failure to provide the Subcontractor’s or reimbursable expense invoice and support documents (if applicable) will result in a payment reduction of the Contractor’s invoice for the charges.

  - The invoice total shall be the sum of the allowable charges less than the Xactimate discount amount.

  - The invoice must include the claim number(s), contract number, and Agency PO number, if applicable.

- When the invoice is based on the Rate Schedules (Projects over $100,000), the Contractor shall provide a breakdown of each category of rates and charges. The invoice should summarize those charges by providing a line item for:

  - The total billable labor amount.

  - The total billable material amount.

  - The total amount of billable equipment.

  - The total billable reimbursable expenses.

  - The total billable reimbursable expense admin fee (on allowed items only).

  - The total subcontractor’s charges.

  - The total subcontractor oversight fee.

  - The total charges associated with approved travel costs/expenses.

  - The amount of any applicable discount; if multiple list each separately.

  - Total invoice amount.

- If the Project includes multiple buildings, the Contractor shall provide a single invoice for the entire project and include a per-building allocation breakdown on a separate page. The per-building allocation will be based either on the exact cost or on a percentage of the damaged area (not the building's overall square footage). This information shall be provided in Excel format, including the Claim Number, Building Name, Building ID, and the allocated amount, and submitted with the invoice package.

- All invoices must include the appropriate identifying information.

  - When insurance is involved, the invoice must include claim number, Agency Name (e.g. DOC Allen Correctional, Southern University-Shreveport), building name and building ID number.

  - If multiple buildings are involved, the inclusion of the per-building allocation list discussed under Section 132 will provide the individual building identifying information.

  - The contract number issued by the Office of State Procurement (OSP) must be included on the invoice.

  - Include the Agency PO number, if applicable.

    - The Contractor can check with the TPA’s assigned examiner to find out if the Agency will be responsible for part of the invoice, i.e. deductible or uninsurable items.

- If the State or its designee requests, the Contractor will submit a signed and notarized Certification of Charges for each invoice.

- Support documents for invoicing shall include:

  - Original or certified copy of personnel daily sign-in/sign-out timesheets.

  - Original or certified copy of the material supplier invoice/cost, if applicable.

  - Original or certified copy of equipment supplier invoice/cost, if applicable.

  - Original or certified copy of freight invoice/cost, if applicable.

  - Beginning/Ending inventory.

  - Daily material usage reports.

  - Daily equipment usage reports.

  - Receipts and documentation for billable expenses and approved travel expenses.

  - Receipts and documentation for Subcontractors.

- Invoices for all Projects involving insurance proceeds from the Office of Risk Management (ORM) will be submitted to the specified email for remediation invoices:

ORM-Remediation@la.gov.

  - The Contractor may also include the assigned TPA examiner in the email.

  - ORM-Remediation@la.gov is only for invoice submissions; no other emails sent to this email address will be responded to or reviewed.

  - Email size restriction for ORM is 30mb; therefore, sender’s email attachments must not exceed 26mb.

    - If the Contractor’s email exceeds size restrictions, the Contractor may set up a shared folder and email link to ORM-Remediation@la.gov for ORM downloading.

- Invoices for projects without ORM involvement will be submitted directly to the Agency per the Agency’s instructions.

- Payments on invoice(s) are due within 45 business days following the State’s receipt of an invoice with all necessary support documentation and correctly billed.

  - Incomplete or incorrectly billed invoices will be returned to the Contractor. The Contractor is responsible for submitting a correct and/or corrected invoice for payment consideration.

  - ORM, at its discretion, may issue partial payment during the audit process on invoices involving insurance proceeds.

- The State may, at its sole option, reserve 10% of any payment for retainage on a project over $250,000 until completion of the Project at its discretion.

- As a condition precedent to final payment under the contract, the Contractor and each subcontractor shall release and discharge the Customer from all liabilities, obligations, and claims arising out of or under the contract.

- Payment by the Customer shall not prejudice the Customer’s right to audit the Contractor’s records about the Project as allowed by the Contract Documents or to seek compensation for any overpayment or any other damages arising from the Project. In the event payment has been made by the Customer more than the amount determined as being the entitlement of the Contractor under the provisions of the contract, the Contractor shall repay such excess amounts within 45 business days of request or dispute payment as provided herein.

Disaster Event Debris Removal

- All disaster event projects require a copy of a load ticket and the name of the landfill. This information must be submitted with the invoice.

  - If debris was taken to a city/parish disaster debris pick up site, the site’s location must be provided.

  - Failure to provide the debris disposal information may result in a reduction of the Contractor’s invoice for the associated debris disposal cost.

Headings

- The headings assigned to the sections of this ITB are solely for the convenience of the parties and shall not limit the scope or be considered to interpret it.