**If bidding other than specified, please provide manufacturer’s specs for “or equal” items. **

Scope of Work:

The Contractor shall furnish all labor, materials, equipment, tools, supervision, and services necessary to remove and install seven existing HVAC systems for the Department of Military Affairs (DMA).

Location:

Lafayette Readiness Center

1806 Surrey Street

Lafayette, LA 70508

DMA Contact:

Thomas Breaux, (337) 678-9597, thomas.l.breaux.nfg@army.mil

Specification:

The Contractor shall perform the following:

- The Contractor shall remove and install new HVAC equipment equal to the brand/model of the unit being replaced.

- Brand: Carrier, Model #: NXA642GKA100

Specify Brand/Model Bidding: _______________

- Brand: Lennox, Model: 13ACD-036-230-02

Specify Brand/Model Bidding: _______________

- Brand: Lennox, Model: 13ACD-030-230-11

Specify Brand/Model Bidding: _______________

- Brand: Lennox; Model: 13ACC-048-230-02

Specify Brand/Model Bidding: _______________

- Brand: Lennox, Model: 13ACX-024-230-13

Specify Brand/Model Bidding: _______________

- Brand: Trane, Model: 2TTB3048A1000AA

Specify Brand/Model Bidding: _______________

- Brand: Trane, Model: 4TTR4048L1000AA

Specify Brand/Model Bidding: _______________

- The Contractor shall remove all existing HVAC units identified in the scope of work and prepare them for turnover to the Agency. The Agency shall retain and dispose of all removed HVAC equipment. The Contractor shall not discard, salvage, or repurpose any units. The Contractor is responsible for safe disconnection, handling, and staging of the equipment at the location designated by the Agency.

- The replacement units must be of a single manufacturer to ensure system uniformity, maintainability, and long‑term service consistency.

- The Contractor shall replace all existing thermostats with new devices fully compatible with the replacement HVAC units. Installation shall include all wiring, mounting, programming, and system integration necessary to ensure proper operation. All new thermostats must meet or exceed the functional requirements of the new systems and shall be installed in accordance with the manufacturer’s recommendations and applicable codes.

- The Contractor shall utilize the existing electrical infrastructure to the greatest extent practicable when connecting the new HVAC equipment. All existing wiring, breakers, and associated components shall be inspected and verified for compatibility, capacity, and safety prior to reuse. Any deficiencies, incompatibilities, or code-related issues identified during inspection shall be reported to the Agency for direction before proceeding.

- The Contractor shall reuse the existing ductwork associated with the HVAC systems. All duct lines, connections, and distribution components shall be inspected for structural integrity, cleanliness, and suitability to support proper airflow and system performance. Any sections found to be damaged, obstructed, or inadequate for required airflow shall be documented and brought to the Agency’s attention for review and disposition.

- The Contractor shall perform system integration and calibration to ensure seamless operation between the new thermostats and AC equipment. The Contractor shall test each zone or system after installation to confirm satisfactory operation and occupant comfort. The Contractor shall provide end-user training on thermostat features and basic troubleshooting procedures.

- The Contractor shall perform all system integration and calibration necessary to ensure seamless communication and proper operation between the new thermostats and the replacement HVAC equipment. All control settings, sequences, and operational parameters shall be configured in accordance with manufacturer recommendations and applicable codes.

- The Contractor shall test each zone or system after installation to verify correct functionality, stable operation, and satisfactory occupant comfort. Testing shall include start-up, shutdown, mode changes, temperature response, and confirmation of proper airflow and equipment cycling.

- The Contractor shall provide end-user training upon completion of installation and testing. Training shall cover thermostat features, basic operating procedures, recommended settings, and simple troubleshooting steps appropriate for facility staff.

Terms and Conditions:

- Hours of operation Tuesday- Friday, 7:00 AM to 5:30 PM and closed on all recognized state and federal holidays.

- The Contractor is responsible to provide storage containers. If an onsite storage area is required, the Contractor shall confirm a storage location for any materials, fixtures, equipment, trailers, etc. stored on site during the term length of the contract. The location shall be approved by the Project Manager during the pre- construction meeting.

- The Contractor shall confirm a storage location for all materials stored on site during the term length of the contract. The location will be approved by the Project Manager prior to delivering.

- The Contractor shall contact, prior to mobilization and demobilization, facility point of contact which will be provided herein.

- The Contractor is responsible for disposal and storage of all materials being removed or installed throughout the project.

- The Contractor shall provide a construction work schedule (Gnant like) 48 hours prior to start of work detailing each task of work.

- All specification sheets and submittals must be pre-approved by the Project Manager prior to ordering.

- The Contractor shall warranty their workmanship and the completed project for a 1 year period. The 1 year period starts the date of the filing of the certificate of completion.

- The Contractor shall provide all associated warranty documents to the Project Manager upon completion and final payment.

- Weather days are included in the contract time.

- The Contractor shall provide all standard manufacturer warranty documentation for the new HVAC units, thermostats, and associated components in accordance with industry best practices. Warranty materials shall include, at minimum, manufacturer warranty certificates, registration confirmations (if applicable), coverage terms, and any required maintenance or operating conditions necessary to maintain warranty validity.

- All warranty documents shall be submitted to the Agency at project closeout in a complete, organized package. Documentation must clearly identify each installed unit and thermostat, including model numbers, serial numbers, installation dates, and warranty durations. The Contractor shall ensure that all manufacturer registration requirements are completed in a timely manner so that the Agency receives the full benefit of all applicable warranties.

- The Contractor is responsible for field verifying all dimensions and existing site conditions of work to be performed. The Contractor shall inspect and verify information provided herein on existing materials and equipment, etc. is correct and inform Project Manager of any errors or questions prior to commencement of work.

- The Contractor shall take all precautions necessary to prevent damages when delivering materials to site and provide covering to prevent rusting.

- The Contractor shall secure the building, and any sensitive items at the end of each workday in accordance with the designated unit POC.

- The Contractor shall take all necessary precautions to prevent damages during repairs, to include movement and parking of equipment on grass, other improved, or unimproved areas surrounding site.

- All work must comply with all applicable State and Local Safety and Environmental requirements. Occupational Safety and Health Administration (OSHA), National Electrical Code (NEC), Parish, City and State regulations will be required. The Contractor shall supply all employees with PPE.