State of Louisiana

Office of State Procurement

Jeff Landry

Governor

Taylor F. Barras

Commissioner of Administration

Division of Administration

1201 N. Third Street, Suite 2-160

Baton Rouge, Louisiana 70802-5243

Phone (225) 342-8010

Fax (225) 342-9756

May 8, 2026

Addendum No. 02

Your reference is directed to RFx Number 3000026122 for the Invitation to Bid (ITB) for the State of Louisiana – Generator Preventive Maintenance - LDWF, which is currently scheduled to open at 10:00 AM CT on May 12, 2026.

The following are Vendor’s Inquiries received and the State’s Responses:

Vendor’s Inquiry #1: To bid accurately, would it be possible to get the engine serial numbers for each unit to determine maintenance parts pricing?

State’s Response #1: The State has revised Attachment C – Price Sheet in its entirety which includes the addition of serial numbers for all generators.

Vendor’s Inquiry #2: I would like to submit the following for Clarification:

In Attachment B: Specifications IT states: The vendor must be an authorized service provider and service must be performed in accordance to the manufacturers recommended maintenance schedule. I would submit for review, that there is no Vendor that can meet this request. Meaning, we are the authorized Factory Industrial Generac Service provider for Louisiana. Cummins/Onan does their own. Generac does not authorize Onan/Cummins as an authorized Generac service provider; any more than Onan/Cummins would authorize us.

State Response #2 – The referenced requirement has been modified. Please see the revised Attachment B - Specifications.

The following changes are to be made to the referenced solicitation:

RFx Currently Reads: Scheduled to open at 10:00 AM CT on May 12, 2026.

RFx Changed to Read: Scheduled to open at 10:00 AM CT on May 19, 2026.

Attachment A, Page 7, Method of Award currently reads: Award to be made on an all or none basis to the overall lowest responsive, responsible bidder meeting the specifications outlined in this solicitation. The State reserves the right to reject individual items from the award.

Attachment A, Page 7, Method of Award changed to read: Awards are to be made on an all or none basis by location to the overall lowest responsive, responsible bidder meeting the specifications outlined in this solicitation. The State reserves the right to reject individual items from the award.

Attachment B, Page 1, Scope of Work/Services currently reads: The vendor must be an authorized service provider and service must be performed in accordance to the manufacturers recommended maintenance schedule.

Attachment B, Page 1, Scope of Work/Services changed to read: The vendor must provide services in accordance with the manufacturer’s recommended maintenance schedule.

Attachment C – Price Sheet – Pages 1-2 has been replaced in its entirety.

All else remains as on original Invitation to Bid.

This addendum is hereby officially made a part of the referenced solicitation.

Acknowledgement: If you have already submitted your bid and this Addendum does not cause you to revise your bid, you should acknowledge receipt of this Addendum by identifying your business name and by signing where indicated.  You may return this Acknowledgement by mail or delivery by hand or courier to: Office of State Procurement, 1201 N. 3rd Street, Ste. 2-160, Baton Rouge, LA  70802, or by fax to: (225) 342-9756.  The State reserves the right to request a completed Acknowledgement at any time.  Failure to execute an Acknowledgement shall not relieve the bidder from complying with the terms of its bid.

Addendum Acknowledged/No changes:

For:  ________________________  By:  __________________________

Revision: If you have already submitted your bid and this Addendum requires you to revise your bid, you must indicate any change(s) below, identify your business name and sign where shown.  Revisions shall be delivered prior to bid opening by mail or delivery by hand or courier to: Office of State Procurement, 1201 N. 3rd Street, Ste. 2-160, Baton Rouge, LA  70802, or by fax to: (225) 342-9756, and indicate the RFx number and the bid opening date and time on the outside of the envelope for proper identification.  Electronic transmissions other than by fax are not being accepted at this time.

Revisions received after bid opening shall not be considered and you shall be held to your original bid.

Revision:

For:  ________________________  By:  __________________________

By:	Donald Hunter

Office of State Procurement

Telephone No. 225-342-5484

Email:  donald.hunter2@la.gov