Attachment B – Specifications

RFx #3000025856

Emergency Base Camps

T #92764

- Background: Pursuant to the Robert T. Stafford Relief and Emergency Assistance Act, Department of Homeland Security (DHS)/Federal Emergency Management Agency (FEMA) are authorized to provide individual and public assistance under Presidential declarations of a disaster and emergency. It is the intent of the Division of Administration to establish a Firm Fixed Price Contract for the emplacement of Base Camps for emergency workers, search and rescue teams and civilian personnel resulting from a disaster pursuant to the Louisiana Homeland Security and Emergency Assistance and Disaster Act, R.S. 29:721, et seq.

- Minimum Qualifications: Firms submitting bids shall have a minimum of 2 years experience in Base Camp Logistics.

- Scope of Work: The contract(s) are to be for base camps. Contract(s) are to be used in the event of a declared emergency, by the Governor of the State of Louisiana. The Contractor shall provide total turn-key base camp support services inclusive of the following:

- Base camp site preparation

- Mobilization

- Installation

- Base camp management and operation

- Demobilization

The Contractor shall habituate all authorized camp occupants with temporary billeting structures, pole tents or frame tents, and other facilities with air conditioning and/or heating, and leveled hard floors, and providing as follows:

- Bedding and linens

- Kitchens/meal services

- Shower units with towels and washcloths

- Laundry Services

- Restrooms (toilets) with antibacterial liquid hand soap, hand towels and toilet paper

- Hand washing stations with antibacterial liquid hand soap and hand towels

- Certified potable water

- On-site removal of black and gray water and associated on-site sanitation systems

- Power generation and base camp lighting.

The Contractor will be responsible for all requisite ablution equipment and commodity reordering necessary to support the camp including, but not limited to:

- Kitchen/Food services

- Showers

- Laundries

- Restrooms

- Site Layout: The Contractor shall provide camp site layout in accordance with spacing and implement erosion controls in accordance with Environmental Protection Agency (EPA) Protocol 883-91-100. The Contractor shall perform all necessary site excavation to establish positive drainage and make site ready for placement of Contractor-provided equipment and assets. The Contractor shall maintain camp grounds on a periodic basis to include brush clearing, grass and brush cutting.

- Facilities Overview: The Contractor shall provide billeting in commercially available climate controlled facilities which include floors, doors, lights, sleeping cots and fire extinguishers in accordance with American National Standards for Sanitation (ANSI) Z.4.4, National Fire Protection Agency (NFPA) 102, CH 7,8 and 9 and NFPA 101. Such billeting shall be fully installed and ready for occupancy within 72 hours after purchase order. Changes to accommodate increases or decreases in camp population shall be completed within 24 hours after the notice has been received.

Tents provided shall typically be one or two type pole tents or frame tents. Alternate structures which meet or exceed these specifications may be substituted. All billet facilities shall be installed in accordance with referenced codes and manufacturers approved engineering data. All structure engineering data shall be maintained on file in the project site office. Air movement within structures shall be in accordance with ANSI Z.4.1.4. Pole tents shall be supported with large center poles and side poles.

Pole tents shall be anchored via double ropes and pins. The pins shall be driven into the earth 48” and the 5/8” diameter ropes shall have a tensile strength of 5,000 pounds. The double anchor points shall be spaced 7’6” on center around the perimeter of the tent. Pole tents shall comply with Louisiana Fire Codes and the NFPA for Flame Retardancy and NFPA 701 Flame Retarding Fabric Requirements. Frame tents shall be membrane structures engineered by the manufacturer providing a clear and open span from side to side. These tents shall be supported via aluminum frame members and shall be anchored to the ground with 48” stakes or with ¾” X 8” wedge bolts for concrete pavement locations. The Contractor should issue a certificate of compliance to demonstrate that frame tents shall be rated for a minimum Class C wind load 70 mph in accordance with ANSI/ASCE 7-93. Structures shall be in compliance with the following building code standards in the US: Uniform Building Code (UBC), Building Officials and Code Administrators (BOCA), Southern Building Code Congress International: Standard Building Code (SBCCI-SBC), and applicable Louisiana Building Codes. Frame tents shall meet or exceed Louisiana Code for Flame Retardancy and NFPA 701 Requirements. For privacy and to accommodate 24 hours a day, 7 days a week work schedules, windows are not required for membrane structures.

Flooring shall be comprised of 3/4” plywood or equivalent placed transversely on 4” X 6” stringers laid flat on the ground. Plywood shall be anchored via screws to prevent trip hazards. Alternate structures which meet or exceed these specifications may be substituted.

Flooring shall be within all interior portions of the tents to provide a firm level working or living area. Prior to placing floors on the ground, an entomology service shall be utilized to eliminate potential bug or insect hazards. Periodic screenings and repeat applications shall be provided as needed to ensure inactivity.

Tent lighting shall be provided at a rate of 20 foot candles and will be placed on timers for blackout times to accommodate sleep schedules. All lights shall be National Electric Code (NEC) and Underwriters Laboratory (UL) listed for outdoor and wet conditions. Cell phone charging areas shall be provided throughout the tents. Fire extinguishers shall be provided for each individual structure (tent) and sized appropriately for its occupancy and rated for Type A, B, or C fires. Special areas such as kitchens may require other rated type extinguishers appropriate for the specific location. All applicable Louisiana and NFPA codes and regulations will be strictly enforced throughout the base camp.

Sleeping cots shall be constructed of nylon and aluminum or equivalent and have a minimum 300lb capacity. A pillow, blanket, sheet and a pillow case (one per cot) shall be provided with each cot. Cots shall be placed so each occupant has approximately 50 sq. ft. of personal space within the tent. This accommodates areas to store personal belongings. Steel bunk beds with mattresses may be provided at higher occupancy sites that have a limited amount of floor space. Storage boxes, lockers or shelving for personal effects will be provided to ensure a neat, orderly environment.

- Environmental Control Units (ECU): The Contractor shall ensure that all HVAC shall be provided for all structures in sufficient capacities to cool tented areas to approximately 72° F from ambient temperatures of 95° F and heat to approximately 72° F from ambient temperatures of 40° F. All mobile HVAC units shall be operated on a digital thermostat control.

- Camp Lighting: The Contractor shall provide sufficient night lighting in the most commonly used base camp areas and around dining, shower, and restroom areas to permit safe movement of personnel.

- Hazardous Materials: The Contractor shall handle all hazardous substances and dispose of hazardous substances in accordance with governing laws and conditions. All hazardous materials will be handled by trained and licensed personnel.

- Code Adherence: The Contractor is responsible for adherence to applicable local, state, and federal building regulations and laws. The Contractor shall be responsible for acquiring all permits and approvals for construction and installation services provided. The Contractor shall be responsible for meeting manufacturer recommended installation specifications. The Contractor shall perform a local code review of the jurisdictional area where the camp is located and implement any requirements determined to be more stringent than the National Codes indicated in this statement of work.

- Safety Standards: The base camps shall be kept in compliance with applicable Occupational  Safety and Health Administration (OSHA) rules to include Code of Federal Regulations (CFR) 29, Part 1926, and all other local, state, and federal regulatory standards and conditions.

- Daily Logs: The Contractor shall maintain daily logs with mapping and addresses of all base camps it is operating under the contract.

- Badge System: The Contractor shall furnish photo identification badges for all camp occupants and Contractor employees requiring entry into the camp. Occupant identification will be used to access lodging, camp facilities, and meals. These identification cards shall be displayed on the outer clothing at all times the occupants are within the camp.

- Billeting Personnel Accountability: The Contractor shall provide a method for determining personnel sleep locations within the base camp. The Contractor shall provide appropriate billeting for the personnel assigned to the camp including but not limited to beds or cots to accommodate number of personnel assigned to camp. Separate areas for male/female and day/night shifts. HVAC provided in all structures. Each resident shall have access to their own individual locker that can accommodate a padlock. Beds and/or cots will be provided within each sleeping structure and include linens, blankets and pillows. In accordance with ANSI 4.4, a minimum of 50 square feet of space will be provided per occupant. The Contractor is responsible for accommodating individuals with special needs; this includes at a minimum the Americans with Disabilities Act and any other Federal, State, and Local codes.

- Dining Facility: The Contractor shall provide a Dining Facility for the personnel assigned to the camp. Food services will be accomplished through contract catering. Three meals per day will be served. An approved 14-day rotation meal plan will be established. Food service facilities must meet all required state public health code requirements to include commercial grade (restaurant) approved equipment, sealed floor, HVAC, bug screens and/or air curtain blowers, equipment and utensil sanitation, fire suppression, and hand wash stations in numbers appropriate for the size of camp. Camp catering must have the capacity to feed at least 25% more people than the number of camp occupants.

- Administration Facility: The Contractor shall provide administrative areas. This area shall be within tented facilities or office trailers. They house the office areas for the Contractor’s camp management and representatives. This shall also be the location for in-processing and out-processing of camp occupants by the Contractor and shall also be used for camp information boards. The Contractor shall provide separate administrative areas for camp management, resident check-in, credentialing, resource ordering, central security, and camp command element, copiers, fax, folding tables, chairs, administrative office supplies, and credentialing/badge system.

- Medical Clinic: This area will be used for outpatient sick calls and as an ambulance staging area for medical emergencies. Medical equipment and supplies will be provided by EMS or the State Health Agency. The Contractor shall provide a separate tent facility. Camp operations Types I –VII should include: eight beds w/linens, blankets, pillows, tables, chairs, divider wall, small refrigerator, hand sink, two IV poles, two gooseneck floor lamps, two folding pole stretchers w/ IV poles, two floor fans, medical waste can/bags, 12-110 volt outlets, and area for daily sick calls. The Contractor shall provide Advanced Life Support (ALS) Ambulance with a support tent, tables and chairs, and divider walls for sick calls for camp operations Type VIII.

- Morale, Welfare & Recreation (MWR): This area shall be a tented facility with lights, power and HVAC and flooring. This area shall also have tables and chairs for reading and doing personal paperwork (seating capacity 5% of camp occupants). The area shall have television capabilities for inhabitants to relax. The Contractor shall provide aerobic and strength training equipment (5% of camp capacity), TV, internet access (5% of camp capacity), cell phone charging stations as well as numerous magazines and newspapers. The Contractor shall provide separate tent facility to accommodate tables, chairs, two large screen TVs, recreational equipment, board and card games, and refreshments to accommodate the number of residents assigned to the camp. Attached to or adjacent to mobile units the Contractor should provide tables, chairs, TV, board and card games and refreshments for a minimum of 50 persons.

- Optional: Public Wireless Internet to extent possible. Four workstations and one printer.

Billeting Safety Specifications:

- Fire Safety: All billeting will come with a fire extinguisher, emergency exit lighting and smoke detectors. Camp occupants will be shown fire extinguisher locations. All personnel will be shown emergency egress and shown a Billet personnel staging area in the event of an emergency so as to maintain a proper headcount.

- Electrical Safety: Power distribution boxes will be placed against the external wall and away from normal foot traffic. All exposed wires will be taped down to prevent tripping and falls.

Kitchen / Food Services:

- Kitchen / Food Services Overview: The Contractor shall provide adequate kitchens and a dining facility at each base camp which shall comply with Louisiana State Division of Nutrition Assistance, or the US Food & Drug Administration and/or Food Service Programs like the US Army Technical Bulletin Med 530, Food Service Sanitation (or equivalent). The Contractor shall provide food preparation services to accommodate camp population. Camp population should not have to wait in line for meals for more than 20 minutes. All meals shall be prepared in accordance with the United States Army 14-Day Menu program or equivalent and may be enhanced based on individual chef specialties and skills. The Contractor shall prepare three meals per day (breakfast, lunch, dinner).

- Kitchen Specifications: The Contractor shall furnish the following:

- All necessary labor, including, but not limited to, complete management, control, transport, purchase, receipt, storage, issue, set up, handling, processing, packaging, preparation, food serving and cleanup at the kitchen and eating area site. All food and condiments.

- All cooking and serving equipment, serving utensils, eating dishes, and supplies.  Eating dishes shall be paper. All cold drink cups shall be 12-ounce or 16-ounce plastic cups. Cups for hot drinks may be paper or polystyrene foam.  If the cups are made of foam, they must be manufactured from Food and Drug Administration (FDA) sanctioned hydro-chlorofluorocarbons (HCFC) blowing agents.

- Disposable eating utensils (factory sealed in plastic, at least of medium weight) and serving utensils (factory sealed in plastic, wrapped in plastic wrap, or put in plastic bags) for hot or cold meals at remote camps and base camps.

- A small weighing scale for spot-check of minimum weight requirements.

- Hot and cold thermometers for monitoring of food temperatures.

- Food-grade plastic gloves for food service personnel.

- Current test strips for checking dish washing sanitizing solution.

- Phosphate-free, antibacterial liquid soap and paper towels for hand washing facilities.

- Waterproof tent(s) for the eating area(s) that are able to accommodate 50% of the headcount mobilization.

- Separate, sturdy, smooth tables and seating (in good condition) that will not collapse.

- Lighting shall be designed to meet or exceed FDA Food Code illumination levels for the serving and eating areas.

- Fly-proof/insect protection for all outer openings of the temporary food establishment including tents.

- Garbage cans and liners for inside the kitchen unit.

- All fuel and electricity for the kitchen, serving area and eating areas.

- Refrigeration and freezer units for the storage of meats and other perishables.

- The Contractor shall ensure the following:

- Certified potable water, initial supply of 1,500 gallons of potable water with recurring certified potable water reorders using an 8,000 gallon tanker.

- Gray water storage capacity of a minimum of 500 gallons.

- Gray water removal.

- Living accommodations and meals for the Contractor’s personnel.

- The Contractor shall provide enough properly sized and rated fire extinguishers, placed in the right locations for the hazards present, and ensure they are installed, inspected, and maintained in compliance with OSHA regulations and NFPA 10.

- Separation and rinsing of kitchen recyclable materials by type (i.e., glass in one container, plastic in another, aluminum in still another, etc.), when recycling is practiced at the base camp.

- Maintain all facilities used for meal preparation, serving, and cleanup in a sanitary condition in accordance with the current Food Code issued by the U.S. Department of Health and Human Services, U.S. Public Health Service, Food and Drug Administration.  A current copy of the Food Code shall be accessible in each kitchen unit.

- Ensure that employees are neat and clean in fact as well as in appearance.  All employees shall wear identification that distinguishes the Contractor represented.  All food services employees shall wear hair restraints, aprons, and any other apparel required by the Food Code at all times while on duty. Hair restraints shall include hair nets, caps, or other effective restraints. Long hair extending beyond a cap without additional restraint is not acceptable. Single-use, food-grade gloves shall be worn when serving meals.

- Ensure that employees cooking or handling food are free of communicable diseases. The Contractor shall train employees in the importance of hand washing as a means of preventing the spread of infection.

- Provide equipment and operate in accordance with all current federal, state, local laws or standards; OSHA regulations; the National Electrical Code (NEC); the Uniform Plumbing Code (UPC); federal and state potable water codes; the current Food Code issued by the U.S. Department of Health and Human Services; U.S. Public Health Service, Food and Drug Administration; and other contractual requirements stated herein.

- Ensure that no alcoholic beverages and/or controlled substances are taken to the services site, used by, or furnished to any person at the base camp(s). There shall be no use of tobacco products in the immediate area of food preparation or serving.

- Ensure that only the Contractor employees essential to the mission remain at the services site.

- Provide employees to maintain all self-service food bars. A minimum of one employee shall monitor and maintain the salad bar during the entire meal period.

- All food shall be prepared and cooked inside enclosed systems, which include the kitchen unit(s) and enclosed coffee systems, except food may be cooked and served from approved outdoor barbecues.

- All hot food, with the exception of beverages, shall be served from the kitchen unit(s).

- Kitchen Unit (Including All Ancillary Equipment):

- The kitchen unit shall be fully enclosed except when serving at the serving window (service opening shall not be larger than what is necessary to accommodate efficient serving). All doors and major openings shall be screened using 16 strands to the inch or greater mesh screens, properly designed and installed air curtains, or other effective means in accordance with the current Food Code issued by the U.S. Department of Health and Human Services, U.S. Public Health Service, Food and Drug Administration.

- All equipment shall be sealed to the floor to prevent moisture from getting under the equipment or be raised at least 6” off the floor by means of easily cleanable metal leg(s) and foot (feet).

- Equipment, including the interior of cabinet units or compartments, shall be constructed so as to have smooth, easily accessible, and easily cleanable surfaces. Equipment surface shall be free from channels, crevices, flanges, ledges, sharp or jagged edges, and other cleaning obstructions. Unfinished wooden surfaces are not permitted.

- Food contact surfaces shall be constructed of metal, high-pressure laminated plastics, wooden cutting boards, or laminated hardwood that are in compliance with the current Food Code issued by the U.S. Department of Health and Human Services, U.S. Public Health Service, Food and Drug Administration. These surfaces must be kept free of cracks, cuts, and other obstructions that would interfere with proper cleaning. (Wooden boards will be washed with hot, soapy water after each use. Plastic boards will be cleaned with a solution of two teaspoons of bleach and one quart water).

- All pipes, fittings, or hoses shall be compliant with applicable provisions of the FDA Food Code, National Sanitation Foundation/American National Standards Institute (NSF/ANSI) standards for potable water system components, and the International/Uniform Plumbing Code as adopted by the Authority Having Jurisdiction. All equipment shall preserve the potable water quality throughout the kitchen unit and peripheral equipment where water is stored and used. No galvanized pipe, fittings, or fixtures are allowed. Space around pipes, conduits, or hoses that extend through cabinets, floors, or outer walls shall be sealed. The seal shall be smooth and easily cleanable.

- Light bulbs, tubes, etc., shall be covered with completely enclosed plastic safety shields, approved shatterproof type bulbs or the equivalent. Light fixtures shall be installed so as to not constitute a hazard to personnel or food materials. All electrical receptacles not dedicated will be ground fault protected.

- Steam Tables (Electric or Gas): Steam tables shall be capable of holding at least four full sized hotel pans (12” x 20”). The unit shall be able to maintain hot food at a minimum of 140° F. The unit shall be used for serving only (not food preparation or reheating foods).

- Hand Washing Facilities:

- Hand washing facilities shall be provided within and in close proximity to food preparation area(s) to allow the Contractor’s employees to wash their hands, including the following areas at a minimum: inside the main kitchen area, and inside all food preparation areas at separate locations.

- The kitchen unit shall have either hot and cold water with mixing faucet or warm running water 101°F and be provided with paper towels and liquid soap which is antibacterial and phosphate–free.

- Ventilation Equipment:

- An electrically powered exhaust hood ventilation system shall be provided over all cooking equipment to adequately remove cooking odors, smoke, steam, grease and vapors.

- Grease filters (or other means of grease extraction) shall be of steel construction (or other approved material), and be readily accessible for cleaning.

- The ventilation equipment shall provide conditions that maintain safe temperature, humidity, airflow, and air quality for worker comfort and health, consistent with OSHA and the American Society of Heating, Refrigerating and Air Conditioning Engineers (ASHRAE) guidance of comfort to the employees.

- Waste Management:

- Waste receptacles shall be readily accessible. They shall be constructed so as to be smooth, nonabsorbent, and easily cleanable.

- Dumpsters for the Kitchen and Dining Facility will be supplied by the Contractor.

- Storage: Separate enclosed storage shall be provided for cleaning supplies, clothing, and insecticides. This storage shall not be located within food storage or food preparation areas.

- Sneeze Guards: Sneeze guards, to effectively shield food, shall be provided so as to intercept the direct line between the average person’s mouth and the food being displayed.

- Gray Water Storage: A minimum storage capacity of at least 500 gallons of gray water storage shall be provided. The storage container(s) shall have the size and description stenciled on the container in letters no less than 4” inches high (for example: “500 Gallon – Gray Water”).

- Refrigeration Storage Unit(s):

- Food in refrigeration storage units shall be stored in accordance with the current National Restaurant Association (NRA) Standards and Food Code issued by the U.S. Department of Health and Human Services; U.S. Public Health Service, Food and Drug Administration, which is a minimum of 6” inches off the floor or on easily movable dollies or racks (4” pallets are permissible). Placing food that is not in waterproof containers, directly on permanently installed corrugated floors in refrigeration storage units, does not comply with these standards.

- A minimum of 1,200 cubic feet of refrigeration storage space, capable of maintaining stored food at a temperature of 41° F or lower, and 512 cubic feet of freezer storage space capable of maintaining frozen food at 0° F is required.

- Refrigeration and freezer storage units shall each be equipped with a “min/max,” continuous graphing, or equivalent thermometer placed no further than 8 feet from the entrance being used. The Contractor is responsible for recording the minimum and maximum temperatures inside the refrigerator, in a logbook, at a minimum of three times per day, sometime between 6:00 a.m. and 11:00 p.m. Central Time.

The logbook shall be made accessible to Health Authorities at all times.

- Potable Water: Enough potable water trucks with “certified” potable water and equipment necessary to store a minimum of 1,500 gallons of potable water as often as required (kitchen use only).

- Equipment Maintenance: The Contractor is responsible for providing equipment fully operational which includes all fuel, oil, preventive maintenance and repair.

- Additional Safety Equipment: All equipment is required to meet current federal, state, and local laws or regulations, the NEC, the UPC, federal and state potable water codes, OSHA Standards, and other contractual requirements. Any steps or platforms shall have solid handrails, not chain link, in addition to other current OSHA standards for handrails and stairs (29 CFR 1910.23 – 1910.24).

- Food Services Specifications: The Contractor will provide well-prepared, properly seasoned with consideration of local culture, well balanced hot and special meals, sack lunches, and cold meals. All meals shall be consumed at the incident dining area except for sack lunches. The Contractor may elect to consolidate drinks and drink condiments, in a single location (service bar). The Contractor may also elect to consolidate desserts in a single location (dessert bar) and/or breakfast and dinner condiments in a single location (condiment bar).

A 14-day rotating menu program shall be provided. The menu may be enhanced based on the individual chef’s specialties, skills and cultural diversity. The Contractor shall prepare three meals per day (Breakfast, Lunch and Dinner), but be prepared to serve a midnight sack lunch for emergency workers. Coffee shall be made available on a 24 hour service bar. The Contractor shall prepare sack lunches. Lunch meals shall be prepared as bagged meals. Dinners shall be hot meals. The Contractor shall accommodate special meal needs such as vegetarian or other special dietary menu needs.

Standard menu items should be a variety for each type of meal; hot breakfasts, sack lunches and hot dinners and made available to each person assigned to the camp. The food shall be selected and cooked to minimize health hazards.

Breakfast: Should be a variety of but not limited to: eggs, meat, cereals, bread, hot cakes, french toast, waffles, slices of bread, potatoes, grits, milk, juices, coffee, water, fresh fruit, yogurts. The Contractor shall have available between the hours of 4:00 a.m. and 12:00 noon Central Time, cold cereal and milk.

Sack Lunch: Regular and vegetarian sack lunches shall be provided. They should include but are not limited to: Vegetarian sack lunches shall at a minimum be prepared for the lacto vegetarian classification level, and shall consist of the same quantities and items as regular sack lunches with the exception that no meat, fish, or poultry shall be included. Non-meat protein substitutes shall be used in vegetarian sack lunches in lieu of meat, fish, or poultry. Sack lunches shall consist of the following items at a minimum: Two Meat Sandwiches or Non-Meat Substitute for Vegetarian. Meat sandwiches shall be wrapped in plastic wrap or plastic bags. The Contractor may separately wrap individual sandwich items within each lunch. However, if meat is individually wrapped, it must be properly vacuum sealed. The meat sandwich shall contain at a minimum two 1 to 1½ oz. slices of bread. The meat sandwich shall contain a minimum of 3½ oz. sliced meat or a combination of sliced meat and cheese. No ground meat or vegetables (lettuce, tomatoes, and onions) will be placed on sandwiches. Vegetarian sandwiches to be made with non-meat substitutes and may include pre-prepared soy products. Condiments shall be individual packets and not put directly on the bread.

Lunch Variety Items should include but are not limited to: One large submarine sandwich, sandwich wrap, bagel sandwich or croissant sandwich; packaged peanuts, fruit, dried fruit, fruit juice, potato chips, pre-wrapped cookies, brownies, candy bars, packaged vegetables.

Hot Dinners: Hot dinners shall be prepared and served at the base camp. Dinners shall consist of the following standard menu items:

- Meat – should be a variety of steak, beef, beef and pork ribs, ground beef, pork, lamb, poultry, ham, fish, casseroles w/meat (without for vegetarians), spaghetti with meat sauce (without for vegetarians).

- Non-Meat Protein Dish – should include but is not limited to items such as bbq beans, veggie patty, vegetarian hot dog, tofu, beans, soybean products, cottage cheese, eggs, or equivalent.

- Vegetables – should include but is not limited to: green beans, carrots, potatoes (mashed or whole), broccoli, peas, corn, beans, rice, tomatoes.

Self-Service Salad Bar: A self-service salad bar shall contain but is not limited to two prepared salads, various types of leafy vegetables (such as green/purple cabbage, romaine or red leaf lettuce), fruit or fruit salad and an assortment of salad dressings (regular and/or low/non-fat). Salad toppings to include but are not limited to: kidney beans, garbanzo or pinto beans, carrots, mushrooms, celery, cauliflower, green/red bell peppers, broccoli, cheese, beets, olives, peas, tomatoes, eggs, cucumbers, pickles, or other fresh pickled, or marinated vegetables. Prepared salads to include but are not limited to: macaroni, carrot and raisin, potato, pea, jell-o, cottage cheese, coleslaw, fruit, rice, or pasta salads. Tossed salad such as romaine, endive, green or red leaf, iceberg, butter, or cabbage, and fruits such as but not limited to melons, peaches, grapes, bananas, strawberries, pears, applesauce, or seasonal fruit.

Dessert Bar: A self-service dessert bar shall contain a variety of cakes, cookies, pies, cobblers, puddings, pastries, or ice cream.

24 Hour Service Bar: The Contractor shall provide a 24-hour per day service bar to include, but not limited to the following items: hot regular coffee (caffeinated and decaffeinated). Flavored coffee may be served in addition to regular coffee at the Contractor’s option. Hot water, hot chocolate, tea bags (caffeinated and decaffeinated), iced tea (caffeinated and decaffeinated). Flavored tea may be served in addition to regular tea at the Contractor’s option.

Personnel will provide camp identification badges to receive meals or they will be required to pay for their meals. The Contractor is responsible for collecting payment for those meals from personnel who do not have a valid base camp identification badge. The Contractor shall accept cash and electronic payment by debit or credit card. Meal prices shall be established by the Contractor and shall not exceed the current military per diem meal rate for the applicable Louisiana location.

All hot meals should be served by the Contractor’s personnel. Salad bars, service bars, condiment bars, and dessert bars accompanying those meals may be self-service.

The Contractor shall be capable of providing meals at times other than the regularly scheduled meal periods when requested by the State of Louisiana. This requirement does not obligate the Contractor to operate the kitchen continuously on a 24-hour basis.

Second helpings at breakfast should not be counted as an additional meal. Second helpings at dinner shall not be counted as an additional meal unless an additional serving of meat is provided.

All self-service bars shall be continuously monitored and maintained by Contractor personnel during meal service.

At least one employee trained in safe food handling procedures shall be assigned to monitor and maintain the salad bar for the duration of the dinner meal period.

Sufficient tongs and utensils shall be provided to prevent the sharing of utensils between food items.

Food supplies shall be stored in dry storage, refrigerated storage, freezer storage, or approved transport vehicles, as required to maintain safe food temperatures, until prepared.

The Contractor shall provide meal counts for each meal to the designated point of contact at the activating agency via email on a daily basis.

Each Mobile Food Service Unit Kitchen Manager shall possess a current certificate of completion in food service management, food handling, and sanitation. Acceptable certifications include ServSafe or an equivalent certification by the Louisiana Department of Health.

Mobile Showers/Service

- Shower Operations Overview: The State should provide the Contractor with the headcount for the Incident prior to mobilization. The Contractor shall provide shower facilities at the ratio of one shower head to ten persons in accordance with ANSI 4.4. The Contractor Representative should meet daily to review head-count trends. Upon notification, the Contractor should provide all physical equipment and ancillary equipment necessary to be completely self-sustaining to include; potable water, gray water removal, waste management, power generation, propane and Contractor personnel sleep facilities for the duration of the operation and demobilization.

- Shower Specifications:

The Contractor shall furnish the following:

- All labor to include; but not limited to, complete management, control, transport, purchase, receipt, storage, issue, set up, handling, processing, drying towels (paper) and soap for dispensers.

- Garbage cans and liners for outside the shower unit.

- All fuel, electricity and water for the shower.

- Temporary waiting area with chairs and grass rugs sufficient to stage ten personnel.

- A 5 gallon water bucket with chlorine solution for flip-flops used for showering.

Contractors shall ensure the following:

- Certified Potable water initial supply of 1,500 gallons of potable water with recurring certified potable water reorders using a 6,000-8,000 gallon tanker.

- Gray water storage capacity of a minimum of 1,350 gallon bladder bags per shower.

- Gray water removal.

- Living accommodations and meals for the Contractor’s personnel.

- Properly sized and rated fire extinguishers, placed in the right locations for the hazards present, and ensure they are installed, inspected, and maintained in compliance with OSHA regulations and NFPA 10.

- Ensure that employees are neat and clean in fact as well as in appearance.  All employees should wear identification that distinguishes the Contractor represented.

- Provide equipment and operate in accordance with all current Federal, State, Local laws or standards; OSHA regulations; NEC; UPC; Federal and State potable water codes; the current Food Code issued by the U.S. Department of Health and Human Services; U.S. Public Health Service, Food and Drug Administration; and other contractual requirements stated herein.

- Ensure that no alcoholic beverages and/or controlled substances are taken to the incident, used by, or furnished to any person at the base camp(s).

- Ensure that only those Contractor employees essential to the mission remain at the base camp(s).

Shower Unit (Including All Ablution Equipment and Ancillary Support):

- The shower unit shall have the ability to be segregated by male and female and be fully enclosed except the shower access door.

- Equipment surface shall be free from channels, crevices, flanges, ledges, sharp or jagged edges, and other cleaning obstructions. Unfinished wooden surfaces are not permitted.

- All pipes, fittings, or hoses should comply with the appropriate codes. All equipment should preserve the potable water quality throughout the shower unit and peripheral equipment where water is stored and used. Space around pipes, conduits, or hoses that extend through floors or outer walls should be sealed. The seal should be smooth and easily cleanable.

- Light bulbs, tubes, etc., should be covered with completely enclosed plastic safety shields, approved shatterproof type bulbs or the equivalent. Light fixtures should be installed so as to not constitute a hazard to personnel. No electrical receptacles will be placed inside the showers.

Mobile Laundry/Services:

- Laundry Operations Overview: The Contractor shall provide laundry trailers to accommodate camp population. The Contractor Representative should meet daily to review head-count trends. Upon notification, the Contractor will provide all physical equipment and ancillary equipment necessary to be completely self-sustaining to include; potable water, gray water removal, waste management, power generation, propane, and Contractor personnel sleep facilities for the duration of the operation and demobilization.

- Laundry Specifications:

The Contractor shall furnish the following:

- All labor to include a fluff & fold service, control, transport, purchase, receipt, storage, issue, set up, handling, processing, laundry soap, bleach and laundry bags.

- Garbage cans and liners for outside the laundry unit.

- All fuel, electricity and water for each laundry unit.

The Contractor shall ensure the following:

- Certified potable water initial supply of 1,500 gallons of potable water with recurring certified potable water reorders using a 6,000-8,000 gallon tanker.

- Gray water storage capacity of a minimum of one 1,350-gallon bladder bag per laundry.

- Gray water removal.

- Living accommodations and meals for the Contractor’s personnel.

- Properly sized and rated fire extinguishers, placed in the right locations for the hazards present, and ensure they are installed, inspected, and maintained in compliance with OSHA regulations and NFPA 10.

- Ensure that employees are neat and clean in fact as well as in appearance.  All employees should wear identification that distinguishes the Contractor represented.

- Provide equipment and operate in accordance with all current Federal, State, Local laws or standards; OSHA regulations; the NEC; UPC; Federal and State potable water codes; the current Food Code issued by the U.S. Department of Health and Human Services; U.S. Public Health Service, Food and Drug Administration; and other contractual requirements stated herein.

- Ensure that no alcoholic beverages and/or controlled substances are taken to the Incident, used by, or furnished to any person at the Incident.

- Ensure that only those Contractor employees essential to the mission remain at the Incident.

Laundry Unit (Including All Ablution Equipment and Ancillary Support):

- Equipment surface should be free from channels, crevices, flanges, ledges, sharp or jagged edges, and other cleaning obstructions. Unfinished wooden surfaces are not permitted.

- All pipes, fittings, or hoses should comply with the appropriate codes. All equipment should preserve the potable water quality throughout the shower unit and peripheral equipment where water is stored and used. Space around pipes, conduits, or hoses that extend through floors or outer walls should be sealed. The seal should be smooth and easily cleanable.

- Light bulbs, tubes, etc., should be covered with completely enclosed plastic safety shields, approved shatterproof type bulbs or the equivalent. Light fixtures should be installed so as to not constitute a hazard to personnel.

Restroom Facilities:

- Restroom Facilities Overview - The Contractor should ensure sufficient restroom facilities in a manner that provides adequate health and safety as provided by ANSI Z4.3 and Z4.4

- Portable Restrooms Specifications - Self-contained for 100% of the National Incident Management System (NIMS) camp mobilization (ratio of at least one toilet to 10 persons,) in accordance with ANSI Z4.3 and Z4.4. Augmented by porta-lets in parking and auxiliary areas. Hand wash stations (sinks) ratio of one per 10 persons near restrooms, PLUS six per entry to dining halls. Servicing shall be daily for all restrooms and hand wash stations.

- Porta-Trailer Restrooms Specifications - Self-contained for 100% of the NIMS camp mobilization (ratio of at least one toilet per 20 persons, or one toilet and one urinal per 25 males) in accordance with ANSI Z4.3 and Z4.4. Augmented by porta-lets in parking and auxiliary areas. Hand wash stations (sinks) ratio of one per 10 persons in restrooms, PLUS six per entry to dining halls. Servicing shall be daily for all restrooms and hand wash stations.

- Male/Female Segregation – Assume 60% male and 40% female. The ratio may be adjusted by each base camp.

Security & Fencing:

- Security & Fencing Overview: The Contractor will provide full perimeter unarmed security personnel at all gates plus at least two roaming guards in accordance with the camp size – 24-hours per day. Security personnel may be contracted under the supervision of sworn law enforcement. In the event the State does not require security personnel, the Contractor should provide a temporary chain link fence at a minimum height of 6’ if the site is unsecured and without gates.

- Ablution Equipment Specifications: “Certified” potable water supply, showers, hand wash stations, laundry facilities, portable toilets, restrooms, and wastewater collection systems are to be provided by the Contractor at each camp. All water supply equipment is rated for potable water supply in accordance with ANSI/NSF 42, 53, & 61 standards. Water systems are installed and operated in accordance with American Water Works Association (AWWA) standards C900, C901 and NSF 14 for distribution systems and flexible lateral supply piping.

- All potable water must be “certified” by a Federal or State Agency prior to use. The Contractor will ensure that each tanker of water to be used is “certified” as potable and copies of all certificates maintained by the Contractor for a period of not less than 3 years.

- Should a State Health Official deem a specific water source as “potable” for continuous re-supply, the Contractor must get that certification in writing from the Health Official as well as name, organization, address and phone number.

- All gray water must be captured and removed from the base camp site. Gray water may be dumped in manholes or at a local lift station.

- All black water must be captured, contained and taken to a State-approved facility for disposal. The Contractor is responsible for any fees associated with that disposal.

# Operations Plan:

- Operations Plan Overview: The Contractor is to provide within 3 days of request an operations plan to include the following:

- Mobilization Plan– A written narrative, phase plan and Gantt charts demonstrating the Contractor’s mobilization plan. All ablution equipment and ancillary support to ensure a total turn-key base camp will be mobilized. If upon arrival, the Contractor deems any ablution equipment or ancillary support as unnecessary (i.e. certified potable water, sewer, etc.), that ablution equipment or ancillary support may be, 1) redirected to another base camp facility, or 2) demobilized.

- Operations Plan (Camp Management Plan) – A written narrative to demonstrate the management plan of all major components, to include daily reports shall be emailed to the designated point of contact at the activating agency.

- Camp Site Map (area required) – Provide an ideal situation schematic of the base camp setup including area requirements. This is subject to change depending on the nature of the disaster and location.

- Louisiana Subcontractors – The Contractor’s plan for use of Louisiana subcontractors during mobilization or a migration plan to incorporate vendors as part of the base camp.

- Quality Assurance Plan – Provide a Quality Assurance Plan (QAP).

- Key Personnel Staffing - Provide an organizational chart of personnel that will hold key roles at the base camp. The Contractor should fully identify key positions and the personnel by name that will fill them. The Contractor should demonstrate that the proposed key personnel have an understanding of the program scope and objectives, as well as successful previous experience in the delivery of similar services. The Contractor should include a rationale for the positions designated as key. The Contractor should demonstrate an understanding of the importance of assigning experienced, key personnel in the completion of the project. The Contractor should provide resumes for all proposed key personnel. Resumes should be limited to one page each.

- Demobilization plan - Provide a written narrative, phase plan and Gantt charts demonstrating the Contractor’s demobilization plan.

- Reclamation plan - Provide a written narrative demonstrating the Contractor’s reclamation plan & pricing.

- Qualifications: The Contractor is to provide within 3 days of request an operations plan to include the following:

- Disaster Response Summary of Experience – Provide a summary of disaster response experience and duration.

- Past Performance Reviews – Provide at least three letters of past experience summaries. The submitted past performance experiences are to be of contractual work that is similar to the requirements set forth in this solicitation.

- Reference - Provide three relevant state, corporate or organizational references of contractual work that is similar to the requirements set forth in this solicitation.

- Financial Statement - Include a letter of good standing from a reputable banking institution demonstrating the Contractor has met all their financial obligations and have adequate credit facilities in place to assure continued long-term operations.

- Legal Entity - The Taxpayer Identification Number (TIN) may be used by the State to collect and report on any delinquent amounts arising out of the Contractor’s relationship with the State (31 U.S.C. 7701(c) (3)). If the resulting contract is subject to the payment reporting requirements described in FAR 4.904, the TIN provided hereunder may be matched with IRS records to verify the accuracy of the Contractor’s TIN.

Company Name: _______________________________

TIN: _____________________________________

Type of Corporation: _______________________

State and Year of Incorporation:

__________________________________ /

___________________________________