State of Louisiana

Office of State Procurement

Jeff Landry

Governor

Taylor F. Barras

Commissioner of Administration

Division of Administration

1201 N. Third Street, Suite 2-160

Baton Rouge, Louisiana 70802-5243

Phone (225) 342-8010

Fax (225) 342-9756

May 5, 2026

Addendum NO. 01

Your reference is directed to RFx Number 3000025856 for the Invitation to Bid (ITB) for the State of Louisiana – Emergency Base Camps – Statewide which is currently scheduled to open at 10:00 AM CT on May 12, 2026.

The following changes are to be made to the referenced solicitation:

Attachment B, Page 18, Demobilization plan, currently reads:

Demobilization plan - Provide a written narrative, phase plan and Gantt charts demonstrating the Contractor’s demobilization plan.

Attachment B, Page 18, Demobilization plan, revised to read:

Demobilization plan - Provide a written narrative, phase plan and Gantt charts demonstrating the Contractor’s demobilization plan. The demobilization will need to occur within 72 hours after order to demobilize base camp.

____________________________________________________________________

The following are the Vendors’ Inquiries received by the deadline date of April 28, 2026 and the State’s Responses:

Vendor’s Inquiry #1: Billeting, Tent Flooring, and Entomology: Is the entomology service (initial pre-floor application and any periodic re-treatments) the responsibility of the Contractor, and should the cost be priced under Mobilization, Weekly Operations, or as a separate recurring service?

State’s Response #1: Yes, this is the responsibility of the Contractor. This would not be a separate recurring service and would need to be included in your overall pricing on Attachment C – Price Sheet, the cost should be priced under, Weekly Operations.

Vendor’s Inquiry #2: Tent Lighting and Fire Suppression: Is the State’s expectation that Class K fire extinguishers be provided in kitchen and cooking areas, in addition to Type A, B, or C extinguishers required throughout other camp structures?

State’s Response #2: See Attachment B – Specifications, page 3, “Fire extinguishers shall be provided for each individual structure (tent) and sized appropriately for its occupancy and rated for Type A, B, or C fires. Special areas such as kitchens may require other rated type extinguishers appropriate for the specific location. All applicable Louisiana and NFPA codes and regulations will be strictly enforced throughout the base camp.”

Vendor’s Inquiry #3: Camp Lighting: Does the State have a preferred type of exterior camp lighting (for example, LED light towers, fixed-mount area lights, generator-powered fixtures, or solar-hybrid units), or is the design left to the Contractor provided NEC and UL outdoor standards are met?

State’s Response #3: The Contractor may select the lighting system, provided it meets NEC and UL outdoor standards.

Vendor’s Inquiry #4: Badge and ID System: What information must appear on each photo ID badge? Will printed name and photograph suffice, or does the State require additional features such as a scannable QR code, barcode, RFID, or printed credential category?

State’s Response #4: Printed name and photograph will suffice.

Vendor’s Inquiry #5: Administration Facility: Can the State provide additional guidance on the expected administrative footprint and equipment quantities (office trailers, copiers, fax machines, workstations, badging stations) at each NIMS Type or camp size?

State’s Response #5: Requirements will vary based on event severity and the NIMs type/camp size.

Vendor’s Inquiry #6: Camp Availability and Mobilization Timing: The solicitation references both a 12 to 24 hour ARO availability standard and a 72-hour installation window, while Attachment B requests how many base camps will be available within 12 hours, 24 hours, and per day. Please clarify the following:

- How does the State define “available” for purposes of this solicitation? Does “available” mean a camp that is fully set up and 100% operational across all components (billeting, dining, ablutions, power, and security), or does it include partial operational capability (for example, billeting and potable water on line with food service and full ablutions tailing in within a stated window)?

- Should the questionnaire response be reported by NIMS camp Type or size, or as a single aggregate count regardless of size? If aggregate, what assumed Type or size should the response be based on?

- Which milestone governs the Mobilization Plan submitted under the Operations Plan: the 12 to 24 hour ARO availability standard, the 72-hour installation window, or both (with each applying to a different camp condition or NIMS Type)?

State’s Response #6:

- When activated all base camps shall be fully set up and 100% operational per Attachment B – Specifications, page 2, 5, Facilities Overview.

- The questionnaire should be reported by NIMS camp type.

- 72-hour installation window

Vendor’s Inquiry #7: Operations Plan, Demobilization: What is the State’s expected demobilization timeframe from notice to stand down through full site demobilization (separate from reclamation), and is there a maximum allowable demobilization window per NIMS camp Type?

State’s Response #7: 72 hours

Vendor’s Inquiry #8: Operations Plan and Qualifications, Submission Cadence: Is the Operations Plan (including the Mobilization, Camp Management, Site Map, Louisiana Subcontractors, QAP, Key Personnel, Demobilization, and Reclamation components) a one-time submission during the bid and award process, or is it expected to be re-submitted at the onset of each individual operational deployment or task order activation?

State’s Response #8: It will need to be resubmitted at the onset of each individual operational deployment or task order activation.

Vendor’s Inquiry #9: Qualifications: Attachment B, page 18, Number 2 says “The Contractor is to provide within 3 days of request” the Company’s qualifications. Does this suggest we are required to submit our qualifications (including summary of experience, past performance reviews, references, financial statement, etc.) on more than one occasion? Are we required to submit this information at each task order bid stage?

State’s Response #9: Provide this once, if requested, for evaluation purposes.

Vendor’s Inquiry #10: Billeting Alternatives, Hard-Sided and Trailer Options: Will the State accept hard-sided alternatives such as commercial-grade trailer-mounted housing, modular dormitory trailers, or container-based housing in lieu of, or in combination with, pole or frame tents? If acceptable, will the State weight or evaluate trailer-based offerings differently than tented options (favorable, unfavorable, or neutral) during bid evaluation?

State’s Response #10: The base camps shall be in accordance with the specifications outlined in Attachment B and alternatives will not be considered.

Vendor’s Inquiry #11: Will the State consider and accept proposed ancillary services not explicitly listed in the solicitation if they are submitted on a separate pricing sheet, clearly defined, and directly related to Emergency Base Camp operations?

State’s Response #11: No.

Vendor’s Inquiry #12: Will the State accept proposals that include multiple personnel housing solutions, such as Mobile Housing Units and tent-based accommodations? If so, may the proposer submit separate pricing sheets for each option, clearly distinguishing costs, along with supporting specifications, layouts, and illustrative materials (e.g., drawings or photos) for each proposed solution?

State’s Response #12: No.

Vendor’s Inquiry #13: Question: under Attachment B – Specifications, please clarify if the following documents are requested at the time of bid or within 3 days of a request?

- Qualifications: The Contractor is to provide within 3 days of request an operations plan to include the following:

- Disaster Response Summary of Experience – Provide a summary of disaster response experience and duration.

- Past Performance Reviews – Provide at least three letters of past experience summaries. The submitted past performance experiences are to be of contractual work that is similar to the requirements set forth in this solicitation.

- Reference - Provide three relevant state, corporate or organizational references of contractual work that is similar to the requirements set forth in this solicitation.

- Financial Statement - Include a letter of good standing from a reputable banking institution demonstrating the Contractor has met all their financial obligations and have adequate credit facilities in place to assure continued long-term operations.

State’s Response #13: See State’s Response #9.

Vendor’s Inquiry #14: Are the written operations plan(s) required to be submitted with the initial bid? If not, are they required within three (3) days of contract award or within three (3) days of contract activation?

State’s Response #14:  This would need to be submitted within 3 days of contract activation. Per Attachment B – Specifications, page 17, the operations plan will need to be emailed to the designated point of contact at the Agency.

Vendor’s Inquiry #15: May the contractor utilize mobile trailer configurations in lieu of tent structures?

State’s Response #15: No.

____________________________________________________________________

All else remains as on original Invitation to Bid.

____________________________________________________________________________

# This addendum is hereby officially made a part of the referenced solicitation.

Acknowledgement: If you have already submitted your bid and this Addendum does not cause you to revise your bid, you should acknowledge receipt of this Addendum by identifying your business name and by signing where indicated. You may return this Acknowledgement by mail or delivery by hand or courier to: Office of State Procurement, 1201 N. 3rd Street, Ste. 2-160, Baton Rouge, LA 70802, or by fax to: (225) 342-9756.The State reserves the right to request a completed Acknowledgement at any time. Failure to execute an Acknowledgement shall not relieve the bidder from complying with the terms of its bid.

Addendum Acknowledged/No changes:

For: 	 By:

Revision: If you have already submitted your bid and this Addendum requires you to revise your bid, you must indicate any change(s) below, identify your business name and sign where shown. Revisions shall be delivered prior to bid opening by mail or delivery by hand or courier to: Office of State Procurement, 1201 N. 3rd Street, Ste. 2-160, Baton Rouge, LA 70802, or by fax to: (225) 342-9756, and indicate the RFx number and the bid opening date and time on the outside of the envelope for proper identification, or by fax to: (225) 342-9756. Electronic transmissions other than by fax are not being accepted at this time

# Revisions received after bid opening shall not be considered and you shall be held to your original bid.

Revision:

For: 	 By:

By:	Christine Schwartzenburg

Office of State Procurement Telephone No. 225-342-6634

Email: Christine.Schwartzenburg@la.gov