**If bidding other than specified, please provide manufacturer’s specs for “or equal” items. **

Scope of Work:

The Contractor shall provide all labor, materials, equipment, supervision, and services necessary to remove and replace the two existing ITU chiller systems for the Eastern LA Mental Health System (ELMHS).

Location:

Eastern Mental Health Hospital

4502 Hwy 951

Jackson, LA 70748

Agency Contact

Jonathan Holley or Dylan Fury

225-634-0202

Specifications:

The Contractor shall be responsible for the following:

Demolition

- Remove existing chillers and associated components.

- Properly disconnect all piping, electrical, and controls.

- Haul off and legally dispose of all removed equipment.

Installation

- Install two Carrier 30RC080 or Equal 80 ton chillers in accordance with manufacturer’s recommendations.

Specify Brand/Model Bidding: ______________________

- Provide all pipe connections, including:

  - Chilled water supply and return

- Provide insulation for all new piping systems.

Hydronic Piping

- Furnish and install all required piping connections to integrate new chillers.

- Modify existing piping as required for proper system operation.

- Provide insulation on all piping per specifications.

HVAC Insulation

- Insulate all piping associated with chiller installation.

- Insulation shall comply with project specifications and energy code requirements.

Electrical

- Disconnect existing electrical service to chillers.

- Reconnect electrical service to new equipment.

- Verify proper voltage, phase, and operation.

Instrumentation and Controls for Electrical Systems

- Disconnect and reconnect HVAC controls.

- Ensure full integration with existing building control systems.

- Verify proper system communication and functionality.

Factory Start-Up

- Provide manufacturer-authorized startups for both chillers.

Testing

- Perform operational checks to confirm:

  - Proper cooling performance

  - System balance and flow

  - Control functionality

The following items are specifically excluded from this Contract:

- Cutting and patching

- Roofing work

- Special systems (non-HVAC)

- Fireproofing for HVAC penetrations

- Structural modifications required for equipment installation

- Concrete housekeeping pads

General Terms/Conditions:

- The Contractor shall coordinate all work with Owner and facility operations.

- The Contractor shall maintain continuous operation of adjacent systems where required.

- The Contractor shall submit shop drawings and product data for approval prior to installation.

- All equipment shall be new and installed according to the manufacturer’s recommendations.

- Work shall comply with all applicable Louisiana codes and FP&C standards.

- The Contractor shall provide temporary services as required to maintain facility operation.

- The Contractor shall maintain site safety, security, and cleanliness.

- The Contractor shall provide system startup and operational testing.

- The Contractor shall submit operation and maintenance manuals.

- The Contractor shall provide training to Owner’s personnel.

- The Contractor shall deliver warranties and closeout documentation.