LOUISIANA

DEPARTMENT OF TRANSPORTATION AND DEVELOPMENT

SPECIFICATIONS

LED HIGH-MAST LUMINAIRES

DESCRIPTION

This specification sets forth the requirements for LED high-mast luminaires.

REQUIREMENTS

Fixtures must be high-mast luminaires with cast aluminum housings, 480V input voltage, a wide T5 distribution, double fuses and integral electronic drivers.

Luminaires shall have a maximum wattage of 760W, minimum 110,000 to maximum 112,000 lumens.

The correlated color temperature shall be 4000K and the color rendering index shall be 70.

Luminaires shall be surge rated for 10kV/5kA.

APPROVED BRANDS AND MODELS

Holophane, Catalog No. HMLED4-P6-40K-XVOLT-HGR-AW-DFD

Current, Catalog No. ERHM-03-5-11-VW-7-40-N-1-4B-GRAY-F

Lumec, Catalog No. HFP-730W360LED-740-G1-5W-480-DMG-F2-GY3

Or Equal